| DĖL ATSAKYMŲ Į TIEKĖJŲ KLAUSIMUS Siunčiame atsakymus į tiekėjų klausimus pirkime: 2026-VKJ-163-Turbogeneratoriaus SIEMENS 1DU2054-8AF02-Z aptarnavimo, remonto, techninės priežiūros paslaugos, įskaitant paslaugų suteikimui reikalingas medžiagas ir atsargines dalis. Siekdami išvengti turinio interpretacijų, tiekėjų klausimus cituojame tiksliai taip, kaip buvo pateikti Centrinės viešųjų pirkimų informacinės sistemos (toliau – CVP IS) priemonėmis (tekstas neredaguotas). | REGARDING THE RESPONSES TO SUPPLIERS' QUESTIONS We are sending responses to suppliers questions in an ongoing procurement of 2026-VKJ-163-Maintenance, repair, and technical servicing of the SIEMENS 1DU2054-8AF02-Z turbo generator, including materials and spare parts necessary for service provision. To avoid interpretations of the content, we quote the questions of the suppliers exactly as they were submitted via the Central Procurement Information System (hereinafter - CPP IS) (text is not edited). |
| --- | --- |

| - Klausimas: Prašome patikslinti, kvalifikacinį reikalavimą Nr.1. Tiekėjas turi teisę verstis elektros įrenginių iki 15 kV eksploatavimo darbais, kadangi tokiems darbams VERT atestatas nėra išduodamas. Prašome paaiškinti, ar tiekėjas atitiks kvalifikacinį reikalavimą, jei pateiks VERT atestatą, kuriame nurodyta - 5. Elektros perdavimo linijų iki 400 kV įtampos eksploatavimo darbai. Pažymime, kad VERT atestatai, suteikiantys teisę verstis elektros įrenginių eksploatavimo darbais, išduodami tik iki 10 kV. - Atsakymas: Patiksliname, kad pagal Nutarimą Nr. O3E-1388 „Dėl Energetikos įrenginių įrengimo ir eksploatavimo veiklos atestatų išdavimo tvarkos aprašo patvirtinimo“ priede Nr. 3 pateiktą sąrašą elektros įrenginių eksploatavimo darbais laikomas tinkamas bet kuris juridio asmens turimas teisės verstis veikla pažymėjimas, kurio vardinė įtampa ne mažesnė nei 15 kV. Pavyzdžiui, jei tiekėjas turi teisę verstis veikla „Elektros perdavimo linijų iki 400 kV įtampos eksploatavimo darbai“, toks dokumentas būtų laikomas atitinkančiu keliamą kvalifikacijos reikalavimą. Papildomai atkreipiame dėmesį, kad sprendimas dėl tiekėjo atitikties keliamiems kvalifikacijos reikalavimams priimamas tik gavus ir įvertinus konkrečius tiekėjo kvalifikacijos atitiktį įrodančius dokumentus. | - Question: Please clarify Qualification Requirement No. 1, "The Supplier must be entitled to carry out operation and maintenance works on electrical installations up to 15 kV," as a VERT certificate/attestation for such specific activities is not issued. Please confirm whether a Supplier would be considered compliant with this qualification requirement if it submits a VERT attestation stating: "5. Operation and maintenance works of electrical transmission lines up to 400 kV." We would also like to note that VERT attestations granting the right to perform operation and maintenance works on electrical installations are issued only up to 10 kV. - Answer: We would like to clarify that, in accordance with Annex No. 3 to Resolution No. O3E-1388 “On the Approval of the Description of the Procedure for Issuing Certificates for the Installation and Operation of Energy Facilities”, any certificate held by a legal entity granting the right to carry out electrical equipment operation activities with a rated voltage of not less than 15 kV shall be considered acceptable for the purposes of electrical equipment operation works. For example, if a supplier holds a certificate granting the right to perform “Operation Works of Electricity Transmission Lines up to 400 kV”, such certificate would be considered as meeting the qualification requirement. In addition, please note that the final decision regarding a supplier’s compliance with the qualification requirements is made only after the supplier’s specific qualification compliance documents have been submitted and assessed. |
| --- | --- |

| Vadovaujantis Bendrųjų pirkimų sąlygų (BPS) nuostatomis, nukeliamas paraiškų pateikimo terminas. Informacija apie patikslintą terminą pateikiama CVP IS . | According to the provisions of the General Procurement Conditions (GPC), the deadline for submitting Application is extended. Information about the updated deadline is provided in the CPP IS. |
| --- | --- |

| Strateginių pirkimų projektų vadovė Gintarė Alonderytė, Mob. +370 682 98053 | Strategic Procurement Project Manager Gintarė Alonderytė, phone no. +370 682 98053 |
| --- | --- |