German Joint Support and Enabling Service Headquarters Stationing / Infrastructure Branch Hardthöhe Fontainengraben 150 53123 Bonn

Statement of Requirements

SOR ZAP 103

Functional area

“Vehicle parking areas ZAPALSKIAI”

Long-term Infrastructure of the Bundeswehr
as Part of Stationing a DEU Brigade in Lithuania

| Facility: | ZAPALSKIAI, LTU |  |
| --- | --- | --- |
| Location: | ZAPALSKIAI, LTU |  |
| Prepared by: | DEU Joint Support and Enabling Service Headquarters, Planning / Organisation Division, Stationing / Infrastructure Branch KdoSKBPlgOrgStatInfra@bundeswehr.org |  |
|  | Tel. (Bw mil.): | 90 - 3402 - 1976 |
|  | Tel. (civ.): | +49 (0) 2285504 – 1976 |

Table of Contents

1.	Infrastructure Requirements	2

1.1.	Functional area parking area	2

1.1.1.	Introductory note / general and functional description	2

1.1.2.	Space and area requirements	2

1.1.3.	Functional associations	5

2.	Annexes	5

2.1.	Space and area requirement plan (StruElem)	5

2.2.	Annexes – Room and area logbooks (individual and equipment-related structural and technical requirements)	5

# Infrastructure Requirements

## Functional area parking area

### Introductory note / general and functional description

For the ZAPALSKIAI (ZAP) materiel depot site, a parking area including an open area, vehicle hangars and protective roofs for parking materiel depot and munitions depot vehicles is required.

For the construction of demand-oriented infrastructure for “vehicle” parking areas on Bundeswehr facilities, the infrastructure requirement outlines described below are mandatory. They are derived exclusively from the standard infrastructure regulations.

The ZAP materiel depot parking area is divided into the following requirements:

- vehicle protective roof,

- vehicle hangar,

- open area.

The above-mentioned infrastructure requirements in the facility are to be realised within the military restricted area and connected to the road network. The requirements are specified in annex 2.

### Space and area requirements

Only standard infrastructure is required for the functional area in question:

Quality and quantity of the required room, area and structural/technical requirements are described IAW annex 2.2 of the respective room logbooks.

| Standard infrastructure | [m²] |
| --- | --- |
| Vehicle protective roof | 105 |
| Vehicle hangars | 210 |
| Open spaces | 254 |
|  | 569 |

The following room logbook shows the parking space vehicle protective roof.

It provides weather-protected parking for vehicles.

The protective roof is to be connected to the road network via a manoeuvring area.

(4_1_03_01 RBu Kfz-Schutzdach- Protective roof)

Figure 1, room sketch "vehicle protective roof"

| Fahrstreifen | Traffic lane |
| --- | --- |
| Vorfelder | Manoeuvring area |
| Schutzdach | Protective roof |

The following room sketch shows the parking area vehicle hangar.

It provides weather-protected parking for vehicles and protects them from unauthorised access.

The vehicle hangar is to be connected to the road network via a manoeuvring area.

(4_1_03_02 RBu KFz-Abstellhalle-vehicle hangar)

Traffic lane

Manoeuvring area

Traffic lane

Traffic lane

Manoeuvring area

Figure 2, room sketch “vehicle hangar”

| gesamt | total |
| --- | --- |
| je 96m2 | 96 m2 each |

The following room sketch shows the parking area open area.

It provides an open parking area for vehicles.

The open area is to be connected to the road network via a manoeuvring area.

(4_1_03_03 RBu Kfz-Freiflächen-open area)

Traffic lane

Manoeuvring area

Parking area (open space)

Figure 3, room sketch “open area”

### Functional associations

In general:

- The ZAP materiel and munition depot area requirements (4_1_01_MatNdlg / SOR ZAP 101 and 4_1_02_MunNdlg / SOR ZAP 102) are consolidated into one parking area within the materiel depot area.

- The parking area is to be in close proximity to and in the line of sight of the guard area.

# Annexes

## Space and area requirement plan (StruElem)

- 4_1_03_00_space requirement_Abstellbereiche ZAP

## Annexes – Room and area logbooks (individual and equipment-related structural and technical requirements)

Annexes:

- 4_1_03_01 RBu Kfz-Schutzdach-Protective roof

- 4_1_03_02 RBu Kfz-Abstellhalle-Vehicle hangars

- 4_1_03_03 RBu Kfz-Freiflächen-Open area