The cleaning items room is used for storing cleaning agents and cleaning equipment as well as for any pre- and post-work activities performed by cleaning personnel.

## Room layout plan (example)

- Example

## Structural and technical space requirements

- Room size approx. 6 m² on the ground floor

- Room size approx. 4 m² on the upper floors

| Item | Quantity | Specifications | Remarks |
| --- | --- | --- | --- |
| Room temperature |  | At least 18° C to a maximum of 26° C | Adjustable temperature ranges |
| Lighting |  | At least 200 lx |  |
| Power supply | 1 | Type F sockets (CEE 7/3 – double-pole sockets with protective earth contact, AC, 16 A, 250 V, 50 Hz) | 1x socket next to door for general electrical supply of the room |
| Door |  | Internal door | Standard size |
| Floor |  | Medium light / medium dark | Abrasion-resistant, suitable for mopping (e. g., linoleum, light grey, marbled/textured) |
| Walls/ceilings |  | Light-coloured paint | Wipeable wall along the worktop, sink and cooktop |
| Water supply | 1 |  | Cold water / sink |
| Wastewater disposal | 1 |  | Rinsing/cleaning water |

## Furnishings:

| Item | Quantity | Remarks |
| --- | --- | --- |
| Cleaning equipment cabinet | 1 | Two-door |
| Shelf | 1 | 100 cm x 200 cm x 80 cm |
| Chair | 1 | Non-upholstered |
| Coat hook board | 1 | Coatrack |