## Room layout plan

Figure 1, sketch of helicopter landing area with marshalling area

| Bereitstellungszone | Marshalling area |
| --- | --- |

Figure 2, sketch of marshalling area

## Structural and technical space requirements:

- Level surface, approx. 50 m x 50 m = 2,500 m²,

- as low-dust as possible,

- concrete, 1 MN / m2,

- windsock with wind direction indicator,

- no infrastructure / vegetation within a radius of 50 m,

- access road, width: 4 m, load category 1.0,

- cargo marshalling area, approx. 7.5 m x 5 m, 10 kN/m²

| ID no. | Item | Quantity | Specifications | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Takeoff / landing site 50 m x 50 m | 1 | Paved, level, low-dust | Load-bearing capacity: 1 MN/m² |

## Furnishings:

n/a