## Annex 4 to the Procurement Terms" Tender Form"

TENDER

FOR GENERATORS for the Armed Forces of Bosnia and Herzegovina

PROCUREMENT

(date)

(location)

To the Public Institution Central Project Management Agency

- INFORMATION ABOUT THE SUPPLIER:

| Name of supplier (In the case of a group of suppliers, the names of all members of the group: Responsible partner: Partner No. 1: Partner No. 2, etc.:) |  |
| --- | --- |

- INFORMATION ON THE ECONOMIC OPERATORS ON WHOSE CAPACITY THE SUPPLIER RELIES TO MEET THE CONTRACTING AUTHORITY'S QUALIFICATION REQUIREMENTS

(to be completed if the supplier uses the capacities of other economic operators as specified in Chapter 9 of the General Part of the Procurement Conditions “Relying on the capacity of entities”)

| No. | Name, legal entity code, address of the economic operator | Description of the part of the subject-matter of the contract to be subcontracted |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |

- INFORMATION ON KNOWN SUBCONTRACTORS AND THE PARTS OF THE CONTRACT TO BE SUBCONTRACTED

(to be completed if the supplier uses sub-suppliers)

| No. | Name, legal entity code, address of the subcontractor | Description of the part of the subject-matter of the contract to be subcontracted |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |

- DETAILS OF THE MEMBERS OF THE SUPPLIER'S MANAGEMENT BOARD, SUPERVISORY BOARD

(To be completed if the supplier, which is a legal person, has a collegiate management or supervisory body member(s) or other person(s) with the right to represent or control the supplier, to take a decision on its behalf, to enter into a contract, or an accountant(s) or other person(s) with the right to draw up and sign the supplier's accounting documents (Article 46(2)(2) of the LPP).)*

| No. | Name, surname | Occupation |
| --- | --- | --- |
| 1 | 2 | 3 |

*This information does not need to be submitted with the proposal. The supplier will be obliged to provide this information on request of the contracting authority.

The Supplier will be required to provide documentation confirming that the persons (if any) referred to in this table do not have the grounds for exclusion provided for in Article 46(1) of the LPP.

- PRICE OF THE TENDER

| No. | Object of procurement | Quantity | Unit price EUR excl. VAT | Price EUR excl. VAT (3x4) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 5.1. | Mobile generators | 4 units |  |  |
| Tender price in EUR excluding VAT (sum of values in column 5) |  |  |  |  |
| VAT rate (to be completed if applicable) |  |  |  | 0 |
| Tender price EUR incl. VAT * |  |  |  |  |

* This price includes all costs and all taxes (excluding costs and/or taxes related to the importation of goods).

- Technical and other requirements of the Goods offered by the supplier

Manufacturer's name and model of the goods offered by the Supplier - _________________________.

Please be aware that the supplier's selection of a manufacturer must evaluate the manufacturer's compliance with national security requirements, specifically whether the manufacturer has any cooperation with Russia, Belarus and other countries or territories referred to in article 92(15) of the Law on Public Procurement of the Republic of Lithuania. Additionally, once a potential winner is identified, the Contracting Authority will consult the competent authorities if the supplier or manufacturer has interests that may pose a threat to national security. If a positive determination is made, the supplier will be excluded from the procurement process. For example, there have been instances where tenderers were excluded from procurement because they offered goods from Chinese manufacturers, who were deemed to have interests that may pose a threat to national security.

| No. | Feature | Technical specification requirement | Documents confirming compliance with the requirement | The exact parameters of the offered product (if applicable, tick the relevant boxes / indicate the information requested) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1. | General requirements for the object of procurement |  |  |  |
| 1.1. | Object of procurement | Mobile electric generator sets, comprised of diesel generators with trailer chassis. The chassis could be integral part of generator frame or generator could be rigidly attached to separate trailer. Generators set must be designed to be towed by vehicle on and off road. All generators should be manufactured and configured in accordance with the requirements set out below. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Supplier must also provide manufacturer's technical documentation (catalogs, brochures) and/or product manufacturer's declarations (if the manufacturer's technical documentation does not fully reflect the compliance of the offered product with the requirements of the technical specification) or other equivalent documents proving the compliance of the offered product with the technical requirements. | 1) ☐ We confirm that the mobile generator sets we offer are manufactured and configured in accordance with the requirements set in the Technical specification. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirements: _____________. |
| 1.2. | Delivery location | Sarajevo, Bosnia and Herzegovina *The exact delivery addresses will be communicated to the supplier at the time of execution of the contract. | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) ☐ The mobile generator sets will be delivered to Sarajevo, Bosnia and Herzegovina. |
| 1.3. | Quantity | 4 generators | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) The quantity of generator sets we offer: ____. |
| 1.4. | Manufacturing the equipment | The equipment must be new and unused. Used or used and refurbished generators or transport trailers (if trailer is not integral to the generator) cannot be offered. All generators must be of the same manufacturer and model and equipped with the same equipment. | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) ☐ We confirm that the generators, trailers, and all ancillary equipment are new and unused. ☐ All generators will be of same manufacturer and model and equipped with the same equipment. |
| 1.5. | Warranty | Generators must be covered by a warranty of at least 24 months or at least 1 000 engine hours, whichever comes first. 1. Unless generators and transport trailers/chassis are made by a separate manufacturers, all equipment must be covered by manufacturer’s warranty. 2. If generator and transport trailers/chassis are manufactured as separate components, trailer/chassis must have trailer manufacturer’s warranty no shorter than 24 months. 3. The warranty of the generator must be provided by the Supplier and/or by the manufacturer and/or its representative in the service location indicated in the territory Bosnia and Herzegovina, and if there are no service stations of the Supplier, manufacturer or its representative in the indicated territory, the equipment shall be transported and returned by the Supplier for warranty service at its own expense from the Beneficiary's places of deployment. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) The supplier submits the following supporting documents: 2.1) For the paragraph No. 1, The supplier shall submit with the tender a manufacturer's certificate, declaration or other document proving compliance with the requirement. 2.2) For paragraph No. 2, if trailers are manufactured separately, The supplier shall submit with the tender a trailer manufacturer's approval, declaration, certificate, or other document confirming that the trailer is covered by the manufacturer's warranty. 2.3) For paragraph No. 3 Supplier shall provide location of service centers in Bosnia and Herzegovina or other means of ensuring service and maintenance of trailer, as required by the established requirement | 1) The warranty for the generators we offer is __ months and _____ engine hours, whichever comes first. The generators and transport trailers/chassis /will be (tick the appropriate): ☐ made by separate manufacturers (indicate document, that confirms trailer/chassis trailer manufacturer’s warranty no shorter than 24 months) ☐ made by the same manufacturer The warranty will be provided (tick the appropriate): ☐ in the service station indicated in the territory Bosnia and Herzegovina (Indicate which submitted document confirms compliance______); ☐ generator sets will be delivered to the service station for servicing and maintenance at the Supplier's expense from the Beneficiary's deployment locations. 2.1) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirement: _____________. 2.2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirement: _____________. 2.3) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirement: _____________. |
| 1.6. | Documentation to be supplied with the generators | Each generator must be supplied with printed maintenance and user manual in English and/or one of the official languages of the beneficiary | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) ☐ we confirm that we will provide together with the goods printed maintenance and user manual in English and/or one of the official languages of the beneficiary. |
| 2. | Technical requirements for trailers for mobile generator |  |  |  |
| 2.1. | Functional characteristics of mobile generator | Mobile generator should have the following functional characteristics: - Capable of supplying 3 phase AC current at 400 V +/- 10 % 50 Hz nominal voltage. - Capable of supplying 1 phase AC current at 230 V +/- 10 % 50 Hz nominal voltage. - Able to be stored and autonomously operated in outdoor conditions. - Generator set should be capable of towing speed of no less than 90 km/h. - Generator must be capable of operating in temperature limits from -20° to + 40° C. - Generator or trailer must be equipped with lifting points, suitable for lifting whole generator set. - Generator must be equipped with no less than 2 grounding rods and grounding cable. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Supplier must also provide manufacturer's technical documentation (catalogs, brochures) and/or product manufacturer's declarations (if the manufacturer's technical documentation does not fully reflect the compliance of the offered product with the requirements of the technical specification) or other equivalent documents, confirming compliance with requirements in paragraphs No.1 through 7. | 1) We confirm that: (tick all that apply): ☐ 1. Generators is capable of supplying 3 phase AC current at 400 V +/- 10 % 50 Hz nominal voltage ☐ 2. Generators is capable of supplying 1 phase AC current at 230 V +/- 10 % 50 Hz nominal voltage ☐ 3. Generator set is able to be stored and autonomously operated in outdoor conditions. ☐ 4. Generators set is capable of towing speed of __ km/h. ☐ 5. Generators is capable of operating in temperature limits from -20° to + 40° C. ☐ 6. Generator or trailer is equipped with lifting points, suitable for lifting whole generator set. ☐ 7. Generator is equipped with __ grounding rods and grounding cable. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirements No. 1 to 7: _____________. |
| 2.2. | Equipment of mobile generator | The mobile generator must be so equipped that it can be used for its intended purpose on the territory of the Bosnia and Herzegovina without any additional equipment. The parameters of the measuring instruments, gauges and read outs on the generator shall be in the metric system (SI units). Markings on the controls and gauges on the generator should be in English or one or one of the official languages of the beneficiary. | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) We confirm that: (tick all that apply): ☐ the mobile generator we offer is so equipped that it can be used for its intended purpose on the territory of the Bosnia and Herzegovina without any additional equipment. ☐ the parameters of the measuring instruments, gauges and read outs on the generator are in the metric system (SI units). ☐ markings on the controls and gauges on the generator are in _______ language. |
| 2.3. | Generated power | Mobile generator must be capable of generating no less than 100 kW of power when used as primary power source | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Manufacturer’s technical documentation, drawings or brochure or approvals or other equivalent documents, confirming compliance with requirement must be provided. | 1) Power of the generator, when used as primary power source is _________ kW. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirement: _____________. |
| 2.4 | Fuel type | Mobile generator must be equipped with diesel engine | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Manufacturer’s technical documentation, drawings or brochure or approvals or other equivalent documents, confirming compliance with requirement must be provided. | 1) ☐ We confirm that mobile generator is powered by diesel engine. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirement: _____________. |
| 2.5 | Fuel consumption | Fuel consumption at 75% Load must not exceed 25 l/h. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Manufacturer’s technical documentation, drawings or brochure or approvals or other equivalent documents, confirming compliance with requirement must be provided. | 1) Fuel consumption at 75% load is _________ l/h. 2) Indicate which document submitted and the specific place in it confirms compliance with the requirement: _________. |
| 2.6 | Fuel capacity | Generator must be equipped with internal fuel tank of capacity no smaller than 300 l. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Manufacturer’s technical documentation, drawings or brochure or approvals or other equivalent documents, confirming compliance with requirement must be provided. | 1) Fuel tank capacity is _________ l. 2) Indicate which document submitted and the specific place in it confirms compliance with the requirement: _________. |
| 2.7 | Noise level | Maximum sound pressure, when generator is operating at 75% load must not exceed 75 db(A) at 7 m. distance. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Manufacturer’s technical documentation, drawings or brochure or approvals or other equivalent documents, confirming compliance with requirement must be provided. | 1) Sound pressure, when generator is operating at 75% load is _________ db(A) at 7 m. distance. 2) Indicate which document submitted and the specific place in it confirms compliance with the requirement: _________. |
| 2.8 | Electrical outlets | Generator must be equipped with following electric outlets: - No less than 2 230V 16A sockets CEE 7/3 standard (“Schucko” type). - No less than 1 400V 16A 3 phase socket IEC 60309 standard. - No less than 1 400V 32A 3 phase socket IEC 60309 standard. - No less than 1 400V 63A 3 phase socket IEC 60309 standard. - No less than 1 400V 125A 3 phase socket IEC 60309 standard. - No less than 1 400V Bus bar for wire connection. - All electric outlets must be equipped with separate switches with circuit breakers. - All electric outlets must have covers to protect from ingress of dust when not in use. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Supplier must also provide manufacturer's technical documentation (catalogs, brochures) and/or product manufacturer's declarations (if the manufacturer's technical documentation does not fully reflect the compliance of the offered product with the requirements of the technical specification) or other equivalent documents, confirming compliance with requirements in paragraphs No.1 through 8. | 1) We confirm that: (tick all that apply): ☐ 1. Generator is equipped with ___ 230V 16A sockets CEE 7/3 standard (“Schucko” type). ☐ 2. Generator is equipped with ___ 400V 16A 3 phase socket IEC 60309 standard. ☐ 3. Generator is equipped with ___ 400V 32A 3 phase socket IEC 60309 standard. ☐ 4. Generator is equipped with ___ 400V 63A 3 phase socket IEC 60309 standard. ☐ 5. Generator is equipped with ___ 400V 125A 3 phase socket IEC 60309 standard. ☐ 6. Generator is equipped with ___ 400V 63A bus bar for wire connection. ☐ 7. All electric outlets are equipped with separate switches with circuit breakers. ☐ 8. All electric outlets have covers to protect from ingress of dust when not in use. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirements No. 1 to 8: _____________. |
| 2.9 | Construction of the generator | Generator must have following construction: - Engine of the generators must be liquid cooled. - Engine of the generator must have 12 v. electric system and electric starter. - The generator must be equipped with enclosed outer housing, made from metal (steel, aluminum, or other comparable metal), that is weatherproof. - The generator must be equipped with a control panel for controlling generator functions. - Generator must be equipped with voltage regulation system. - The generator must be equipped with gauges or read out monitor for oil pressure, coolant temperature, run time, engine RPM and fuel level. - Generator mut be equipped with lockable access doors for the engine, generator, and control panel. Doors, that close the control panel must have transparent window that enables to see read outs of the gauges or read out monitor without opening the door. - Generator must be equipped with lockable fuel filler cap (either mounted behind lockable access doors, or equipped with lockable cap). - Generator mut be equipped with an automatic safety shutdown system, that shuts down the engine in case of low engine oil pressure, overspeed of engine or engine overheating. - The generator must be equipped with an emergency shut off switch, mounted on the outside of the housing and clearly marked. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Supplier must also provide manufacturer's technical documentation (catalogs, brochures) and/or product manufacturer's declarations (if the manufacturer's technical documentation does not fully reflect the compliance of the offered product with the requirements of the technical specification) or other equivalent documents, confirming compliance with requirements in paragraphs No.1 through 10. | 1) We confirm that: (tick all that apply): ☐ 1. Generator engine is liquid cooled. ☐ 2. Engine of the generator has 12 V. electric system and electric starter ☐ 3. Generators is equipped with enclosed outer housing, made from metal (___), that is weatherproof. ☐ 4. Generator is equipped with a control panel for controlling generator functions. ☐ 5. Generator is equipped with voltage regulation system. ☐ 6. Generator is equipped with gauges or read out monitor for oil pressure, coolant temperature, run time, engine RPM and fuel level. ☐ 7. Generator is equipped with lockable access doors for the engine, generator, and control panel. Doors, that close the control has transparent window that enables to see read outs of the gauges or read out monitor without opening the door ☐ 8. Generators is equipped with lockable fuel filler cap (☐ mounted behind lockable access doors ☐ equipped with lockable cap). ☐ 9. Generator is equipped with automatic safety shutdown system, that shuts down the engine in case of low engine oil pressure, overspeed of engine or engine overheating. ☐ 10. Generator is equipped with an emergency shut off switch, mounted on the outside of the housing and clearly marked. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirements No. 1 to 10: _____________. |
| 2.10 | Overall weight | Mobile generator with trailer/ chassis, prepared for use and with fuel must weigh no more than 3500 kg. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Manufacturer’s technical documentation, drawings or brochure or approvals or other equivalent documents, confirming compliance with requirement must be provided. | 1) Mobile generator with trailer/ chassis prepared for use and with fuel has the weight of _________ kg. 2) Indicate which document submitted and the specific place in it confirms compliance with the requirement: _________. |
| 2.11. | Chassis/ trailer | Mobile generator must have integrated chassis or be rigidly mounted on trailer with following features: - Capable of transporting generator prepared for use and fully fueled. - Designed and certified for road use (equipped with certified coupling device and necessary lighting equipment for use on the territory of Bosnia and Herzegovina). - Equipped with no less than 2 axles with suspension (leaf springs, torsion bar or other comparable suspension) and fenders. - Equipped with automated overrun brake system. - Equipped with parking brake system. - Equipped with 24 V electric system. - Equipped with ring coupling with 76 mm (3’) NATO eyelet lunette ring (or equivalent). Coupling height of the lunette ring must be adjustable in range from– 800 to 1100 mm. (+- 5 %). - Equipped with electrical connection for lighting equipment – 12 pin. STANAG 4007 connector (or equivalent). - Equipped with manually raisable caster wheel, mounted on tow bar. - Equipped with no less than 4 manually raisable stabilizing legs, mounted near the corners of the trailer/ chassis. | 1) The supplier declares compliance with this requirement in column 5 of this table. 2) Supplier must also provide manufacturer's technical documentation (catalogs, brochures) and/or product manufacturer's declarations (if the manufacturer's technical documentation does not fully reflect the compliance of the offered product with the requirements of the technical specification) or other equivalent documents, confirming compliance with requirements in paragraphs No.1 through 10. | 1) The generator (tick the appropriate): ☐ has integrated chassis ☐ is rigidly mounted on the separate trailer We confirm that chassis/ trailer: (tick all that apply): ☐ 1. is capable of transporting generator prepared for use and fully fueled. ☐ 2. is designed and certified for road use (equipped with certified coupling device and necessary lighting equipment for use on the territory of Bosnia and Herzegovina) ☐ 3. equipped with ___ axles with suspension (___) and fenders. ☐ 4. is equipped with an automated overrun brake system. ☐ 5. is equipped with a parking brake system. ☐ 6. is equipped with 24 V electric system. ☐ 7. is equipped with ring coupling with 76 mm (3’) NATO eyelet lunette ring (or equivalent). Coupling height of the lunette ring is adjustable in range from– 800 to 1100 mm. (+- 5 %). ☐8. is equipped with electrical connection for lighting equipment – 12 pin. STANAG 4007 connector (or equivalent). ☐ 9. is equipped with manually raisable caster wheel, mounted on tow bar. ☐ 10. is equipped with ___ manually raisable stabilizing legs, mounted near the corners of the trailer/ chassis. 2) Indicate which document(s) submitted and the specific place(s) in it(s) confirms compliance with the requirements No. 1 to 10: _____________. |
| 2.12. | Tyres | Generator chassis/ trailer must be equipped with non-studded M+S category tires, rated for the weight of loaded trailer. Trailer must be equipped with spare wheel of same size and with the same tire as fitted to trailer. | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) ☐ We confirm that chassis/ trailer of the mobile generator will be equipped with non-studded M+S category tires, rated for the weight of loaded trailer. |
| 2.13. | Color of the equipment | Generator with the chassis/ trailer should be of following color: - Frame, axle, tow bar, rims, and other major elements of trailer/chassis construction, made of metal (except from small part such as fittings, connectors and latches) must be painted in matte black or dark camouflage pattern, or other dark matte color line with the dark color scheme used in the military. - Generator’s outer housing (except from small part such as fittings, connectors, sockets, and latches) must be painted in matte black or dark camouflage pattern, or other dark matte color in line with the dark color scheme used in the military. - If fenders are made from metal, they must be painted in the same color as the frame. If the fenders are made from other material (PVC, plastic, composite, or other material), they must be made from material of matte black, or other dark matte color line with the dark color scheme used in the military and not be externally painted. - If generator will be marked with manufacturer markings or other information, the lettering and other marking should be applied in matte color corresponding to the range of dark colors used by the military. | 1) The supplier declares compliance with this requirement in column 5 of this table. | 1) We confirm that: (tick all that apply): ☐ 1. Frame, axle, tow bar, rims, and other major elements of trailer/chassis construction, made of metal (except from small part such as fittings, connectors and latches) will be painted in matte black or dark camouflage pattern, or other dark matte color line with the dark color scheme used in the military. ☐ 2. Generator’s outer housing (except from small part such as fittings, connectors, sockets, and latches) will be painted in matte black or dark camouflage pattern, or other dark matte color in line with the dark color scheme used in the military. ☐ 3. Fenders of the chassis/trailer are made from metal and painted in the same color as the frame. ☐ 3. the fenders are made from other material (PVC, plastic, composite, or other material),and are made from material of matte black, or other dark matte color line with the dark color scheme used in the military and not externally painted. ☐ 4. manufacturer markings and other information will be applied in matte color corresponding to the range of dark colors used by the military. |

- REQUIRED DOCUMENTS AND CONFIDENTIALITY INFORMATION

Unless otherwise specified, all documents shall be submitted with the tender by means of CPP IS:

| No. | Document | Does the document contain confidential information? (Yes / No) | Explanation of what specific information in the document is confidential and why |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1. | The joint operating agreement (in the case of a proposal submitted by a group of economic operators) |  |  |
| 2. | The power of attorney or other document authorising the submission and/or signing of the tender and other documents (if the tender is not submitted by the head of the supplier, or by the head of the members of a group of economic operators, or of subcontractors, or by the head of the economic operators on whose capacity the supplier relies) |  |  |
| 3. | If the supplier uses economic operators, evidence that these resources will be available for the entire duration of the contractual obligations |  |  |
| 4. | Signed ESPD in pdf format (Annex 3 "ESPD" to the Purchase Conditions). *A separate ESPD to be completed by: - supplier; - each member of the group of suppliers (in the case of a group of suppliers); - each economic operator on whose capacity the supplier relies in accordance with Article 49 of the LPP (if any) (excluding quasi-suppliers) |  |  |
| 5. | Technical and / or other documents confirming the compliance of the goods offered by the supplier with the requirements of the Technical Specification |  |  |
| 6. | Other documents, if required by the Procurement Terms |  |  |

- SUPPLIER’S DECLARATION

By signing this tender, I certify that:

- I am familiar with the procurement documents, as well as with the applicable laws of the Republic of Lithuania, sub-legislative legal acts, which regulate the procedure for conducting public procurements and which may have an impact on any relations between the contracting authority and the supplier, arising out of and/or related to this procurement;

- I accept the conditions and procedures set out in the Procurement Terms;

- The data and information provided in the tender documents are correct and include everything necessary for the proper performance of the contract;

- The contract will be carried out only by persons entitled to carry out the relevant activities;

- The tender shall be valid for the period specified in the relevant clause of Section 1 of the Special Conditions of Contract;

- In the event of a change in the declared circumstances, I undertake to inform the Contracting Authority immediately.

- SUPPLIER’S DECLARATION ON REQUIREMENTS RELATED TO SAFEGUARDING NATIONAL SECURITY INTERESTS

By signing this tender, I certify that:

- The supplier, its subcontractors, the economic entities whose capacities are relied upon, or persons controlling them, and the goods offered by the supplier (including their manufacturers) do not pose a threat to the national security of the beneficiary state;

- The supplier, the subcontractor, the economic entities whose capacities are relied upon, the manufacturer of the goods offered by the supplier (including their components, packaging) or the persons controlling them are legal persons who are not registered in the states or territories listed in paragraph 15 of Article 92 of the Law on Public Procurement;  the supplier, the subcontractor, the economic entities whose capacities are relied upon, the manufacturer of the goods offered by the supplier (including their components, packaging) or the persons controlling them are natural persons who are not permanently resident in the states or territories specified in the list provided for in paragraph 15 of Article 92 of the Law on Public Procurement or who hold citizenship of these states; the goods (including their components, packaging) do not originate or the services are not provided from the states or territories listed in paragraph 15 of Article 92 of the Law on Public Procurement; the specified entities do not have an interest likely to pose a threat to national security; I am not aware that the circumstances specified in clause 4-5 of paragraph 2 (1) of Article 45 of the Public Procurement Law exist in relation to the subjects specified in clause 1-2 of paragraph 2 (1) of Article 45 of the Law on Public Procurement. This item shall apply in the event of mobilisation, war, a state of emergency or when the Government of the Republic of Lithuania, having assessed the risk that the factors which led to the declaration of mobilisation, the imposition of martial law or a state of emergency, pose a threat to national security, has adopted a decision on the application of the provision of Paragraph 21 of Article 45 of the Law on Public Procurement; the supplier, its subcontractor, the economic operator whose capacities are relied upon, is not operating in the countries or territories referred to in the list referred to in paragraph 15 of Article 92 of the Law on Public Procurement and is not a member of, or the head of a group of economic operators any member of which operates in the countries or territories referred to in the list referred to in paragraph 15 of Article 92 of the Law on Public Procurement, another member of a management or supervisory body or any other person(s) having the right to represent or control the supplier, a subcontractor, an economic operator whose capabilities are relied upon, to take a decision on its behalf or to conclude a contract, and does not participate in the activities of groups of economic operators and/or economic operators as such.

- the supplier I represent does not have a Russian involvement exceeding the limits laid down in Article 5k of Council Regulation (EU) No 833/2014 of 31 July 2014 concerning restrictive measures in view of the actions of Russia to destabilise the situation in Ukraine, as amended by Council Regulation (EU) No 2022/576 of 8 April 2014 on Ukraine's sanctions against Ukraine. In particular, I confirm that:

(a) the supplier I represent (and none of the members of the supplier group) is not a Russian citizen or a natural or legal person, entity or body established in Russia;

(b) the supplier I represent (and none of the members of the supplier group) is not a legal person, entity or body which is owned, directly or indirectly, by more than 50 % by an entity referred to in point (a) of this paragraph;

(c) neither I nor the company I represent is a natural or legal person, entity or body acting on behalf of, or at the direction of, an entity referred to in paragraph (a) or (b);

(d) the entities listed in points (a) to (c) are not involved as subcontractors, suppliers or entities whose capacities are relied on by the supplier represented by me where they account for more than 10% of the contract value.

- The supplier, the sub-suppliers I have used or will use in the future, the entities whose capacities I rely on and/or will rely on, the manufacturers of goods (and their components) are not subject to international sanctions implemented in the Republic of Lithuania, as defined in the Law on International Sanctions of the Republic of Lithuania.

| (Title of the Supplier's or his authorised representative's position) |  | (Signature) |  | (Name, surname) |
| --- | --- | --- | --- | --- |

The prices in the tender shall be rounded to two decimal places.

Goods and/or services supplied to/in Bosnia and Herzegovina are subject to 0% tax. VAT because:

- goods and/or services under this Contract are financed within the framework of the European Peace Facility Contribution Agreement No. EPF/2023/12 by the European Peace Facility, established by the EU Council Decision (CFSP) 2021/509, and CPMA, named “Assistance measure under the European Peace Facility to strengthen the capacities of the Armed Forces of Bosnia and Herzegovina” (hereinafter the Project), with the purpose to provide a financial contribution to finance the implementation of the assistance measure to strengthen the capacities of the Armed Forces of Bosnia and Herzegovina. As this Project is financed from the funds of the European Union (European Peace Facility Fund), legally is considered by Bosnia and Herzegovina as a project within the Framework Agreement on Financial Partnership between the European Union and Bosnia and Herzegovina on special arrangements for the implementation of Union financial assistance to Bosnia and Herzegovina under the Instrument for Pre-accession Assistance (IPA III, Official Gazette BiH – International Treaties, 7/22), where customs and tax exemptions are referred to in Article 28; Instruction on the procedure for exercising customs and tax exemptions in accordance with the Framework Agreement on financial partnership between European Commission and Bosnia and Herzegovina on special arrangements for the implementation of Union financial assistance to Bosnia and Hercegovina within the instrument for pre-accession assistance, endorsed by the Indirect taxation authority of Bosnia and Hercegovina (dated 03 March 2023, Ref. no. 01-02-247-10/23), officially published in the Official Gazette BiH 16/23 on 10 March 2023, should apply.

- transaction is VAT exempt according to Article 146(1)(a) of Council Directive 2006/112/EC of 28 November 2006;

- if the purchased goods will be exported to Bosnia and Herzegovina, all export procedures and documents relating to the export of the purchased goods are handled and signed by the Supplier. In this respect, the Supplier will issue an invoice at a 0% VAT rate.

The maximum amount of funds available for procurement is specified in clause 1.16 of the Special part of the Procurement conditions. If a tender exceeds this maximum amount, the tender will be rejected.