## RDK atsakymai tiekėjams
ATSAKYMAI Į RINKOS KONSULTACIJOS DALYVIŲ KLAUSIMUS IR KOMENTARUS
Eil. Nr. | Pranešimo gavimo data CVP IS | Nuoroda į pirkimo dokumentus (jei pateikta) | Tiekėjo pranešimo tekstas / teksto dalis | Perkančiosios organizacijos atsakymas
1 | 2024-02-07 | Technical specification | RDK Q: Do you have any comments or questions on the draft technical specification? In the specifications DCM4CHEE is mentioned: can you explain which version of DCM4CHEE is meant here? And how are these DCM4CHEE instance related to the local PACS systems in the clinics/hospitals? | DCM4CHEE 4.3.0 is used. Virtual PACS (DCM4CHEE instance) for each hospital/clinic that sends medical images to MedVAIS is created on separate virtual machines. More in depth explanation on the DCM4CHEE relation with clinics/hospitals is provided in requirements for procurement object document, chapter 2.3.1. System logical model, MedVAIS subsystem.
2 | 2024-02-07 |  | RDK Q: Are the objectives and expected results set out in the technical specification clear and understandable? We miss a detailed description of the working features of the current MedVais. These should be provided in the RfP for those features that should be kept. | Description of current situation was updated (section 2.3.1 and link to integration documentation added for more information).
3 | 2024-02-07 |  | RDK Q: Is the timeframe for the provision of services set out in the technical specification sufficient/too long? If not, what do you think should be the deadline for the provision of services? Please justify your answer. We could not find an overall schedule. We may have searched wrongly. If so, our apologies. | Terms and provisions are provided in technical specification 3.10. "Term of provisions of services". Stages of services are detailed in requirements for procurement object document chapter 6.4. Requirements for service stages and software development iterations.
4 | 2024-02-07 |  | RDK Q: What additional conditions would you suggest to be included in the technical specification? Please provide reasoned comments and questions, indicating specific points and/or parts of the text. Most imaging and workflow-based solutions are expected to comply with global standards like IHE (Integrating the Healthcare Enterprise). We did see some of those requirements (like ATNA), but did not see the generic workflow specifications (for instance related to DICOMMWL, radiology workflow, IOCM, HL7, patient update management etc). | Description of current situation was updated (section 2.3.1 and link to integration documentation added for more information), where DICOM and FHIR protocols are provided.
5 | 2024-02-07 |  | RDK Q: Which terms and conditions of the contract would have a material impact on your interest/ability to participate in the intended procurement? The average annual operating income. The current requirement is above our 3-year average annual revenue income and would block us from participating. | The average annual operating income requirement was reduced according to market consultation recommendations.
6 | 2024-02-07 |  | Financial and economic capacity qualif. req: 1) Does your company's average annual operating income in the last 3 financial years meet the value set out in the requirement? No, it does not. 2) In your opinion, is the requirement imposed too high and/or restrictive of competition? Yes, we think the requirement is too restrictive. We have proven very successfully that we can deliver solutions like MedVais without having the revenue requirements as posed. In our opinion, revenue is not a good criterium for success. If you consider that the requirement is too high and/or restrictive of competition, please justify the answer: why do you think so and what would you propose the value of the indicator? The restriction rules out innovative and motivated companies with the right technology. In general, larger organizations tend to be slower, more bureaucratic and less flexible when providing these kind of solutions. We believe we have proven that. We believe that this parameter should not be set at all, but IF you really want, 1M€ should be more than enough. | The average annual operating income requirement was reduced according to market consultation recommendations.
7 | 2024-02-13 | Description of the desired state of the solution No. 39 | RDK Q: Are the objectives and expected results set out in the technical specification clear and understandable? Yes, at a high level but it is not clear what expected outcome the customer wants for example. 39. The existing report of medical images is not structured, i.e. the data fields are not connected with the classifiers and the values of the variables unified in them, which unreasonably prolongs the processes of creating it. Does the customer want to rework the report and make them into structured report or CDA level 3 documents The existing algorithm for linking medical images and reports is not effective in terms of the organization of activities and should therefore be adjusted accordingly in order to reduce the administrative burden on PHCI providing medical images. Does this mean that the current database is inconsistent? | Information on both questions was updated in requirements for procurement object document, description of current situation: - Medical image report currently is implemented using FHIR resources and it is structured. Based on evolving needs it lacks some fields while others are not using classifiers to ease user workflow. - Medical image report generation process was added. - Medical image report and ImagingStudy related works will be separated to the second purchase object in this tender.
8 | 2024-02-13 | Technical specification section 2.3.1 | RDK Q: Are the service phases and their details set out in the technical specification clear and understandable? The word phases is not used in the technical specification (we did a search), what is the customer referring to? 2.3.1 The Service provider shall provide himself with the means and technical equipment necessary for the provision of the Services; What does this sentence mean? | Phases were meant as stages described in chapter 6.4 "Requirements for service stages and software development iterations". With point 2.3.1 it is meant that contracting authority will not supply service provider with physical workstations or other technical equipment needed for provision of services.
9 | 2024-02-13 |  | RDK Q: What additional conditions would you suggest to be included in the technical specification? Please provide reasoned comments and questions, indicating specific points and/or parts of the text. Clarify service provider obligations regarding support and maintenance The service provider is required to provide consultations, but the scope, frequency, and format (e.g., written reports, meetings, workshops) are not clearly defined. Should the supplier demonstrate compliance with ISO 27001 or similar security standards? Define API and interoperability standards. Since the system integrates with ESPBI IS, it is essential to outline API standards, communication protocols, and data exchange formats. It is unclear how changes to the contract, scope, or specifications will be handled during the project lifecycle. The document states that the act is signed after all services are provided, but it does not define testing, verification, or validation steps | Support and maintenance is described in requirements for procurement object document chapter 6.6. Further, precise details must be agreed as per PR-80. API uses - FHIR RESTful; XML data format; DICOM based protocols. As for communication it is HTTPS, Rest and to some extent SOAP. Compliance with ISO 27001 is needed as stated in Requirements for the application of safety legislation (PR-101), Data security requirements for provision of services (PR-102), Requirements for the application of standards (NFR-115). Change management - general process of changes for described services is provided in Chapter 6. Requirement for service provisions, part 6.8 Requirements for change management. Testing, verification, validation - these stages and their details are provided in Chapter 6. Requirement for service provisions, part 6.4 Requirements for service stages and software development iterations (testing, acceptance testing and others) before the acceptance-transfer stage. Testing stages together with other details will be agreed in more detail during initial phase, where Provision of services will discussed further and agreed upon.
10 | 2024-02-13 |  | RDK Q: What conditions would you suggest removing from the technical specification? Please provide reasoned comments and questions, indicating specific points and/or parts of the text. Would it be more efficient to include only the most relevant and procurement-specific legal references to avoid excessive legal text? Could you please describe the technical needs without referring to the law. This document should be more clarified and streamlined, reduce unnecessary legal reference and provide greater flexibility for the vendors while still ensuring compliance and security | E. health information system, business processes and related personal data is bound to different legal terms. Taking single chapter or part of a law might leave important aspects of it.
11 | 2024-02-13 | Technical specification section 7.2 | RDK Q: What conditions would you suggest removing from the technical specification? Please provide reasoned comments and questions, indicating specific points and/or parts of the text. Section 7.2 The requirement for specific software versions (e.g., JDK21, .NET 4.8, PHP 8.0, jQuery v3.7.1) may unnecessarily restrict Market participant who use alternative or newer technologies. | Section 7.2 was updated. Versions of provided software packages or libraries were only given as an example. Latest versions at the time of development must be used.
12 | 2024-02-13 | Technical specification section 10.1 | RDK Q: What conditions would you suggest removing from the technical specification? Please provide reasoned comments and questions, indicating specific points and/or parts of the text. Section 10.1 Should this requirement be removed or clarified to focus only on proprietary software or third-party dependencies? | Requirement was removed.
13 | 2024-02-13 | Functional requirements No. 1-2 | Functional requirements: Reading the documents we are confused what the customer wants us to deliver. FR_1 ESPBI IS (MedVAIS) must be able to receive and process a medical image list query from the HIS through API. FR_2 ESPBI IS (MedVAIS) must be able to receive and process a medical image download request submitted from the HIS by through API. Why from HIS and not from PACS? Why via an API and not via the DICOM, HL7 or IHE standards? | Updated requirements by removing HIS. API is meant broadly, medical image transfer must be done using DICOM protocols. Requirements for procurement object document is updated with current situation with used protocols (DICOM, FHIR)
14 | 2024-02-13 | Functional requirements Requirements related to the modernization of the medical image report | Functional requirements related to the modernization of the medical image report The requirements outline key functionalities but lack details on how the existing system currently handles medical image reports, the requirements are vaguely defined, with missing details on the existing systems capabilities, technical constraints, and user needs. • No mention of which DICOM fields need to be mapped to which report fields. • Unclear if the legacy system already supports DICOM parsing or if additional middleware is required. • No performance considerations (e.g., will this apply to high-volume workflows?). | Description of current situation was updated (section 2.3.1 and link to integration documentation added for more information), where DICOM and FHIR link is provided. Medical image report works will be separated to the second purchase object in this tender.
15 | 2024-02-13 |  | Linking Medical Image Reports to Other Documents The embedding, two-way linkage and the integration in both specialist portal and web services • Lacks definition on document types and formats (e.g., PDF, HL7 CDA, FHIR). • How should updates to linked documents be handled? (Does an update to the report also update linked documents?) • Security and access control are not addressed who can link/unlink documents? And how is this done | Description of current situation was updated (section 2.3.1 and link to integration documentation added for more information), where DICOM and FHIR link is provided. Medical image report works will be separated to the second purchase object in this tender.
16 | 2024-02-13 |  | Validation Rules for Adding Arrivals & Referrals No details on the specific validation rules (e.g., max number of linked visits? Specific conditions for referral acceptance?). | This specific question is related to the validation rules for medical image report, which is implemented as FHIR composition. After market consultation, it has been decided to move FHIR based functionalities to second purchase object in this tender.
17 | 2024-02-13 |  | Linking a Single Report to Multiple Studies • No mention of whether this is a one-to-many or many-to-many relationship (Can one study also have multiple reports?). • Could introduce data integrity issues (e.g., conflicting findings in linked studies). • How should linked studies be displayed in the specialist portal? | Many-to-many relationship is required. Currently national e. health system provides specialist and patient portals, where functionalities regarding medical imaging and reports will be integrated (no need to provide separate portal in this procurement). After market consultation, it has been decided to move FHIR based functionalities to separate purchase object in this tender.
18 | 2024-02-13 |  | Report Structure Update • No specifics on what statistical data should be moved. • Does the report format need to be standardized across all users? • Unclear if the report is generated in a structured format (like HL7/FHIR) or as a free-text document (like PDF). • Unclear if the current legacy studies have to be converted into a structured form | Description of current situation was updated (section 2.3.1 and link to integration documentation added for more information). After market consultation, it has been decided to move FHIR based functionalities to second purchase object in this tender.
19 | 2024-02-13 | Non-functional requirement No. 1 | Criteria for the implementation of non-functional requirements NFR_1 The Service provider must realize all the requirements of the specification. This is optimistic and might not be technically feasible or cost-effective. Again, here the relation between price and demand is rather unrealistic. While these enhancements will improve system efficiency, integrating all changes at once may be challenging within the existing system. Would you be open to prioritizing the most critical features first and implementing others later? To ensure compliance with regulations, could you specify the exact legal requirements that must be met? We can then determine the most cost-effective way to implement these without unnecessary complexity. DICOM metadata extraction can be automated to some extent, but full automation depends on the systems ability to process metadata. Can the system read Dicom tags? | Changes which may occure during the provision of services will be according to the procedure described in chapter 6.8. "Requirements for change management". This will allow to manage unforeseen details. Work scope and schedule will be discussed in the first stages of the contract, where prioritization of functionalities can be agreed upon. Current system is able to use DICOM metadata for later functionalities (for example creation of ImagingStudy resource), which is described further in updated description of current situation.
20 | 2024-02-13 | Non-functional requirements Requirements for the System architecture | 5.2. Requirements for the System architecture It is good to see that the customer indicates to use DICOM, HL7, FHIR and IHE (ATNA) standard, but fails to show on what standards the current system is based. Are these standards and principles already in use? | Description of current situation was updated (section 2.3.1 and link to integration documentation added for more information). Currently DICOM services (DIMSE) are used to send medical images from hospital PACS to MedVAIS. Medical image report is implemented by a composition of FHIR resources.
21 | 2024-02-13 | Non-functional requirements Requirements for technology | Requirements for technology Extracting metadata from DICOM files is possible, but full automation depends on the legacy systems ability to process metadata. If additional middleware is required, this could introduce additional cost and integration complexity. While linking reports to other documents is technically possible, we need to define which document types are involved, how they should be linked, and whether updates should be synchronized across documents. Applying validation rules is straightforward, but the lack of clear constraints (e.g., maximum number of linked visits or documents) makes it difficult to determine implementation complexity. While updating the report layout is achievable, a complete redesign may require adjustments to existing templates and printing/export functions. | Information in requirements for procurement object document, description of current situation was updated. Medical image report currently is implemented using FHIR resources and it is structured. Signed PDF report is saved. Medical image report and ImagingStudy related works will be considered part of separate purchase object in this tender. This separation is provided in updated documentation.
22 | 2024-02-13 | Non-functional requirements Requirements for system availability | Requirements for system availability Market participant product already supports structured DICOM metadata extraction, which can populate relevant report fields automatically. However, the extent of automation depends on how metadata is currently stored and whether your system supports standardized mapping. Market participant product offers a vendor-neutral archive (VNA) and enterprise imaging platform, enabling structured linking between medical image reports and other clinical documents. However, existing system constraints may impact direct integration. Validation Rules for Adding Arrivals & Referrals Market participant product provides workflow automation tools that can apply validation rules for linking documents. However, defining specific constraints (e.g., max linked visits) is essential for implementation. Market participant product enterprise reporting solution allows structured reports to reference multiple imaging studies. However, performance considerations must be evaluated to ensure smooth handling of large data sets. Market participant product enables customizable report layouts through structured reporting, ensuring clinical details are prioritized while statistical information remains accessible. However, reformatting reports across an entire system requires validation to avoid disrupting existing workflows. Do legacy reports have to be restructured? | After market consultation, it has been decided to remove FHIR based functionalities from purchase of MedVAIS modernization. That means that Report data modernization (which currently is and going forward will be FHIR based) is moved to separate purchase object.
23 | 2024-02-13 | Non-functional requirement No. 52 | Monitoring Software Integration (NFR_52) • Feasibility: Market participat product operates in a controlled healthcare IT environment, with built-in monitoring capabilities. However, integration with third-party monitoring tools like Zabbix or OpenTelemetry is not natively supported out-of-the-box. Market participat uses Nagios as the standard tool however other tools can be integrated and must be configured (effort = costs) | Monitoring of digital e. health system (including MedVAIS) is a unified process using a single tool. Requirement for Service provider to prepare and describe points where currently used tool could be linked - remains.
24 | 2024-02-13 | Non-functional requirement No. 113 | UML 2.0 for Design Documentation (NFR_113) • Market participant uses UML for architecture and system design documentation. • UML is useful but not always the best approach for every documentation aspect (e.g., workflow diagrams may be better represented in BPMN). • Strict enforcement of UML for all diagrams may add unnecessary complexity. | Requirement was updated to also include BPMN 2.0 where needed.
25 | 2024-02-13 | Requirements for service provision No. 77 | PR-77 is a problem – if we do not have remote access to our systems, we cannot meet these reaction times The main conditions for mandatory warranty: 1. reaction time to the problem (problem logged and forwarded for resolution) – no more than 15 minutes. 2. Time it takes to resolve the problem: a. elimination of critical malfunctions – no more than 1 hour from the reception of the notification in the agreed manner. b. elimination of non-critical malfunctions – no more than 4 working hours from the reception of the notification in the agreed manner 3. if the error cannot be resolved within the prescribed period, another time for the resolution of the error shall be agreed with the Contracting Authority, with a justification for the time needed. | Service level agreement details are going to be agreed upon in details as mentioned in the chapter 6.6. Requirements for warranty - "The detailed procedure for warranty (methods of communication, procedures for installing updates, etc.) must be agreed with the Contracting Authority described in the warranty supervision regulation prepared by the Service Provider"