Supplement 2. Document 26.

Rack technical specification.

RACK SPECIFICATION  (1000x600x1800mm)

The stand – profile tube 25x25x2 mm. The shelves – 0.8 mm sheet steel. The step of changing the shelf height – within the interval [+50;-50]. Painting – grey powder polymer enamel (the shelves must withstand a load of no less than a static 170 kg per one metre of shelf length).

Colour – grey.