## 1. Creation of buildings. Needs
Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Project name |  | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility |  | Kairiai military town
| Type of construction |  | New construction
| Annex to terms & conditions |  | Annex 2 Specifications
| Supplement |  | Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Supplement document (worksheet) |  | worksheet 1. Needs
Item No. | The name of the room/space/functional block | Total number of places | Phones connected to the KATT | Computer networks are connected to the unit's network 2 | Computer networks are connected to the KAS network 1 | Number of computerised workstations | Approximate area (sq. m) (if needed to determine) | The significance level of the room/space/functional block (A, B, C and D) | Description of special requirements for premises/areas (if applicable) | The area of the premises/space/functional block in square metres proposed by the Candidate/Participant | numbering of premises according to the explanations on the drawings proposed by the Candidate/Participant | Cost of development of the solution proposed by the Candidate / Participant (EUR excl. VAT) | Furniture/equipment inventory |  |  |  | Possible optimisation proposed by the Candidate – additional solutions to those in the Specification (reference to the Tender document, section, paragraph, clause). Price (EUR excl. VAT) This section is to be completed only for the Initial Tender | REMARKS
[13 empty] | Description of the building's furniture/equipment inventory needs and Special Requirements (if any) | The planned furniture/equipment inventory is purchased by *PS, **PS, or VS | The price of furniture and equipment proposed by the Candidate/Participant for the investor (which is purchased by the Private Entity) (*PS, **PS)) (EUR excl. VAT) | Cost for the installation of the furniture and equipment inventory proposed by the Candidate/Participant (*PS, **PS) (EUR excl. VAT)
| To be completed by the Public entity (PE). When submitting the Tender, the information “To be completed by the Candidate/Participant" may be suspplemented by the Candidate/Participant | To be completed by Public entity | To be completed by Public entity | To be completed by Public entity | To be completed by Public entity | To be completed by Public entity | To be completed by Public entity | To be completed by Public entity | To be completed by Public entity | to be completed by Candidate / Participant | to be completed by Candidate / Participant | to be completed by Candidate / Participant | To be completed by Public entity | To be completed by Public entity | to be completed by Candidate / Participant | to be completed by Candidate / Participant | To be completed by the candidate (only applicable for Initial Tender)
1. | Control post (main)
1.1. | On-duty room | 3 | 2 | - | 3 | 3 | 18 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" EAS remote workstation requirements and type 2 room Communication devices planned for interaction with personnel entering/driving into the premises. |  |  |  | Provide for office furniture sets No. 3 – (3 pcs) (according to document 28 of Supplement 2 of Annex 2 of the Terms) | *PS
1.2. | Inspection room | - | - | - | - | - | 12 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room (motion sensors are not planned for sanitary facilities), Video surveillance – general monitoring of building access points and interior entrances Access control system for rooms – not planned. Alarm management from the guardroom console |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.3. | Visitor room | - | - | - | - | - | 35 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.4. | Sanitary facilities rooms | - | - | - | - | - | 4 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.5. | Auxiliary room | - | - | - | - | - | 6 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.6. | Recreation room (with kitchenette) | - | - | - | - | - | 12 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.7. | San. Assembly with shower | - | - | - | - | - | 4 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.8. | Inventory storage room | - | - | - | - | - | 6 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
1.9. | Technical rooms | - | - | - | - | - | 4 | A | The areas of technical rooms are provided as estimates; the exact area of the rooms is determined by the Private Entity. Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room.
1.10. | Electronic security systems switch room | - | - | - | - | - | 6 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 4 room.
1.11. | Switching room (communication distribution point) | - | - | - | - | - | 4 | A
1.12. | Corridor | - | - | - | - | - | 22 | C | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room, Video surveillance – general monitoring of access to the building and building entrances inside the corridor, Access control system – Access must be provided at all exterior entrance doors to the building, allowing personnel direct access to the security office control window (further access to the corridor is controlled by access control). |  |  |  | Provide all equipment and furniture required for the room's functionality. | *PS
1.13. | Other. Proposed by the Candidate / Participant. | [7 empty] | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
Total building area
The price must match the price of part of the Facility of Supplement 2.1, document 1, worksheet 1
[12 empty] | Total (EUR, excl. VAT) |  |  |  |  | Total cost of the optimisation solutions (EUR excl. VAT). Cost of additional work or savings
2. | Control post (backup) |  | 2 | 0 | 3 | 3 | 88
2.1. | On-duty room | 3 | 2 | - | 3 | 3 | 18 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" EAS remote workstation requirements and type 2 room Communication devices planned for interaction with personnel entering/driving into the premises. |  |  |  | Provide for office furniture sets No. 3 – (3 pcs) (according to document 28 of Supplement 2 of Annex 2 of the Terms) | *PS
2.2. | Inspection room | - | - | - | - | - | 12 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room (motion sensors are not planned for sanitary facilities), Video surveillance – general monitoring of building access points and interior entrances Access control system for rooms – not planned. Alarm management from the guardroom console |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
2.3. | Sanitary facilities rooms | - | - | - |  |  | 4 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
2.4. | Auxiliary room | - | - | - |  |  | 6 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
2.5. | Recreation room (with kitchenette) | - | - | - | - | - | 12 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality | *PS
2.6. | Technical rooms | - | - | - | - | - | 4 | A | The areas of technical rooms are provided as estimates; the exact area of the rooms is determined by the Private Entity. Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room.
2.7. | Electronic security systems switch room | - | - | - | - | - | 6 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 4 room.
2.8. | Switching room (communication distribution point) | - | - | - | - | - | 4 | A
2.9. | Corridor | - | - | - | - | - | 22 | C | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room, Video surveillance – general monitoring of access to the building and building entrances inside the corridor, Access control system – Access must be provided at all exterior entrance doors to the building, allowing personnel direct access to the security office control window (further access to the corridor is controlled by access control). |  |  |  | Provide all equipment and furniture required for the room's functionality. | *PS
2.10. | Other. Proposed by the Candidate / Participant. | [7 empty] | The Candidate/Participant may supplement their Tender with the solutions that do not contradict the Specifications or are not assessed by the Public Entity (PE)
Total building area
The price must match the price of part of the Facility of Supplement 2.1, document 1, worksheet 1
[12 empty] | Total (EUR, excl. VAT) |  |  |  |  | Total cost of the optimisation solutions (EUR excl. VAT). Cost of additional work or savings
3. | Checkpoint (technical fleet)
3.1. | On-duty room | 3 | 2 | - | 3 | 3 | 18 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room (motion and glass break sensors are not planned in sanitary facilities), Video surveillance – general monitoring of access to the building and building entrances, Access control system for rooms – not planned. Alarm system control from a corridor panel |  |  |  | Provide for office furniture sets No. 3 – (3 pcs) (according to document 28 of Supplement 2 of Annex 2 of the Terms) | *PS
3.2. | Recreation room (with kitchenette) | - | - | - | - | - | 10 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality. | PS
3.3. | San. Assembly with shower | - | - | - | - | - | 3.5 | C |  |  |  |  | Provide all equipment and furniture required for the room's functionality. | PS
3.4. | Inventory storage room | - | - | - | - | - | 6 | C |  |  |  |  | Two shelving units to be provided (according to document 26 of Supplement 2 of Annex 2 of the Terms) | *PS
3.5. | Technical rooms | - | - | - | - | - | 10 | C
3.6. | Electronic security systems switch room | - | - | - | - | - | 4 | A | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 4 room.
3.7. | Switching room (communication distribution point) | - | - | - | - | - | 4 | A
3.8. | Corridor | - | - | - | - | - | 11 | C | Security systems are installed in accordance with document 36 of Supplement 2.1 "Requirements for the installation of electronic security systems" Type 1 room Video surveillance – general monitoring of access to the building and building entrances, Access control system for rooms – not planned. Installed in the corridor near the guard room 2 pcs. Smart key issuance system cabinet (for 300 vehicle keys). A certified stationary breathalyser with facial recognition system to be installed in the corridor near the guard room (2 units).
3.9. | Other. Proposed by the Candidate / Participant. | [7 empty] | The Candidate/Participant may supplement their Tender with the solutions that do not contradict the Specifications or are not assessed by the Public Entity (PE)
Total building area
The price must match the price of part of the Facility of Supplement 2.1, document 1, worksheet 1
[12 empty] | Total (EUR, excl. VAT) |  |  |  |  | Total cost of the optimisation solutions (EUR excl. VAT). Cost of additional work or savings
REMARKS:
1. The Public Entity fills in the specifications, object data, and design task taking into account the features and purpose of the object.
2. The Public Entity provides known special requirements and descriptions of objects, rooms, spaces, functional blocks, and infrastructure. If descriptions are not provided in the Public Entity tables, the Candidate/Participant must submit their tenders in accordance with applicable regulations, standards, and other legal acts.
3. The Candidate/Participant may propose and suggest possible optimisations in their solutions (by suggesting to supplement the Specifications, justifying the benefits of the proposals and their impact on the price of the Tender).
4. The Public Entity classifies rooms/ spaces/ functional blocks by significance levels into functional sector significance levels A, B, C, and D (Specifications section "Functional sectors").
5. The areas provided in the table are approximate and may change depending on the implementation of regulatory acts and the requirements of the Specifications.
6. The technological rooms must be equipped with an air conditioning system, ensuring the proper operating conditions for the equipment installed in these rooms. Parameters are selected according to the recommendations of computer network equipment manufacturers. Temperature deviations in the rooms must be automatically recorded in the Registration Tool.
7. The size of technological premises indicated in the table is approximate, it is adjusted by evaluating the planned equipment quantities to be installed. The size of the room must allow easy access to the switchgear cabinets and equipment maintenance.
10. Technological rooms should not be located beneath sanitary facilities or in other areas where there is a high risk of flooding.
11. If necessary to clarify the solutions, the Participant may add rows to their table.
12. * The PS must provide for a one-time furniture purchase and warranty maintenance for a period of 5 years
13 The PS must provide equipment/furniture that is mandatory (or necessary) for the proper functioning (use) of buildings/premises, in accordance with legal acts/regulations, the Private Entity’s solutions, etc., including their further technical maintenance throughout the entire Contract period

## 2. Development of buildings. Co
Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility | Kairiai military town
| Type of construction | New construction
| Annex to terms & conditions | Annex 2 Specifications
| Supplement | Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Supplement document (worksheet) | worksheet 2. Development of buildings. Construction
Item No. | Building part/ System/ Area | Special requirements for constructions (if applicable) | Control point (main)
|  |  | Description of solutions proposed by the Candidate/Participant (reference to the annex of the Tender: Section, part, item of the Tender). | Cost of development of the solution proposed by the Candidate / Participant (EUR excl. VAT) | Possible optimisation proposed by the Candidate – additional solutions to those in the Specification (reference to the Tender document, section, paragraph, clause). Price (EUR excl. VAT) This section is to be completed only for the Initial Tender | REMARKS
| To be completed by the Public entity (PE). When submitting the Tender, the information “To be completed by the Candidate/Participant" may be suspplemented by the Candidate/Participant | to be filled by the Public Entity (if specific requirements are known and applied | to be completed by Candidate / Participant | to be completed by Candidate / Participant | To be completed by the candidate (only applicable for Initial Tender)
1. | Building structures and other elements
1.1. | Foundations | The Participant provides information on selected foundation type, including structures, insulation, and finishing materials etc.
1.2. | Plinth installation | The Participant provides information on plinth type, including structures, insulation, and finishing materials etc.
1.3. | Load-bearing external walls, structures | The Participant provides information on external wall solutions, including structures, insulation, and finishing layers etc.
1.4. | Non-load-bearing external walls, structures
1.5. | Slabs on the ground. | The Participant provides information on floor slab solutions, including structures, insulation, and finishing layers etc.
1.6. | Floor slabs between levels
1.7. | Roof | The participant provides information about the roof structure, insulation types and layers, and finishes. Rainwater collection and drainage system, roof protective railings, walkways, protective grilles, snow-retaining grilles, fire escape ladders etc.
1.8. | Load-bearing internal walls | The control point premises must be planned in such a way that the flow of guards and visitors crosses as little as possible. At the main entrance, a personal belongings inspection room must be provided, which must be monitored from the guard room. A glass partition must be installed between these rooms. Access to other rooms from the entrance must be restricted by a turnstile, with additional hinged, lockable security bars at least 2.1 meters high. A separate sanitary facility for visitors must be provided in the visitors' room. The Participant provides information on internal wall solutions, including structures, insulation, and finishing layers etc.
1.9. | Non-load-bearing internal walls | The Participant provides information on internal wall solutions, including structures, insulation, and finishing layers etc.
1.10. | Structural elements | The Participant provides information on stairs, ramps, balconies, and loggia structures, including coatings etc.
1.11. | Partitions | The Participant provides information on Partition types, structures, finishes etc.
1.12. | Floor coverings and finishes. | The Participant provides information on floor type, structures, finish. The main room groups are distinguished – corridors, halls, administrative rooms, service rooms, and technical auxiliary rooms etc.
1.13. | Wall finish | The interior wall finishes can be minimal (for example, where construction regulations allow, walls can be unplastered and painted or impregnated), but they must meet the room's intended use. Walls in building rooms may be impregnated with clear liquids or impregnating paints. The wall covering (according to the type of covering) must match the room’s purpose, be resistant to damp cleaning, and where necessary, resistant to chemicals used for disinfecting. Where walls are to be painted, they must be painted with eco-friendly paints. Walls may also be coated with other high-quality and suitable coverings matching the purpose of the room. In sanitary units, the walls must be covered with ceramic tiles, and the cabin walls must be elevated from the floor and made of chipboard (MDP) or laminated panels (HPL), both with an aluminium frame. The participant provides descriptions of wall construction types, frame infills, and finishes etc.
1.14. | Ceiling finishing | The Participant provides information on ceiling types, structures, finishes etc.
1.15. | External doors, windows, and showcases | External doors – armoured with electromagnetic locks, internal doors – solid-core. The Participant provides information on windows, showcases, doors, gates, including sills, trims, fittings, drive mechanisms, micro-ventilation elements, and other installed components.
1.16. | Skylights | The Participant provides information on skylights, roof hatches, including trims, fittings, drive mechanisms, ventilation elements, and other installed components.
1.17. | Internal doors and windows | The control point windows must be protected from access, and window visibility from the outside must be limited. Steel bars must be installed on windows, made of 45x6 mm steel strips, with a maximum spacing of 400 mm between them. Steel rods with a diameter of no less than 16 mm must be inserted into the bars every 150 mm. Opening grille fastening rods must be secured to the wall at a depth of no less than 200 mm. The Participant provides information on interior room windows, showcases, doors, gates, including sills, trims, fittings, drive mechanisms, and other installed components.
1.18. | Sun protection | The Participant provides information on roller blinds, awnings, and shutters, including drive mechanisms etc.
1.19. | Special built-in elements | The Participant provides information on grilles, railings, handrails, decorative and covering elements (light well covers, foot cleaning grates) et al).
1.20. | Other
1.21. | Other. Proposed by the Candidate / Participant. | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
2. | Building internal engineering systems
2.1. | Heating systems and equipment | It is necessary to install heat consumption metering. Measuring devices must have a continuous scanning function. The possibility of adapting the heating installation for the functional separation of the military unit facility must be planned, taking into account the ability to normalise the temperature in different areas and rooms of the military unit facility by location and time, as well as the momentary increase or loss of heat, separately measuring heat consumption in separated facilities, and smoothly adjusting parameters to ensure continuous adaptation to demand, including at different times of the day. Areas where underfloor heating will be installed must be planned in such a way that they do not interfere with future furniture attachment. The participant provides a description – heat supply, heating system, heat production, heating pipelines etc. Radiators, underfloor heating, radiant heating systems etc. Metering.
2.2. | Ventilation systems and equipment | Provide room ventilation. The Participant provides information on air supply and extraction units, with or without air treatment functionality, ventilation equipment, technical air system ventilation systems, ducts and pipelines, ventilation openings and grilles, cooling systems, ducts and pipelines.
2.3. | Cooling (air conditioning) systems and equipment | Provide room cooling. The Participant provides information on selected cooling (air conditioning) system and equipment.
2.4. | Water supply and sewage systems and equipment | Evaluate and plan for the connection of water and wastewater systems. The Participant provides information on water supply pipelines, sanitary fixtures, filters, drinking water supply, metering etc.
2.5. | Water metering installation | The Participant provides information on water metering etc.
2.6. | Cold water system | The Participant provides information on the proposed cold water supply system.
2.7. | Hot water systems and equipment | The Participant provides information on water supply pipelines, sanitary fixtures, filters, hot water supply, metering etc.
2.9. | Domestic wastewater systems and equipment | The participant provides a description – wastewater pipelines, wastewater collection facilities, wastewater treatment facilities Wastewater treatment plants
2.10. | Surface water drainage, rainwater systems, and devices | The participant provides a description – wastewater pipelines, wastewater collection facilities, wastewater treatment facilities etc.
2.11. | Plumbing appliances | Sanitary equipment must be aesthetic, durable, modern, and suitable for the functional area in which it is installed, and must comply with sanitary requirements. Sanitary infrastructure must be equipped with soap dispensers, hand dryers, paper towel dispensers, toilet paper dispensers, and automatically switched on and off lights. The Participant provides information on sanitary appliances, equipment, and systems.
2.13. | Other equipment | The Participant provides information on other equipment not included in the listed water supply and wastewater disposal systems.
2.14. | Electrical systems and equipment | Artificial lighting must be coordinated with surveillance equipment spaces and arranged so as not to dazzle the video surveillance cameras. The private partner must aim to reduce the number of lighting source models used. All equipment must be accessible for cleaning and maintenance, especially in high locations. Outdoor lighting must be controlled from the room. The lighting of auxiliary rooms must be distributed according to functional zones, but the lighting of zones related to event functions must be centralized and controlled from a dedicated room. In the building's premises, all installed control and protection devices must have a label indicating the schematic dependency and purpose. There must be a label with the name of the recipients and the line's purpose in the internal part of the door panel, on the panel by the devices. The Participant provides information on high and/or medium voltage distribution equipment. Electric power generators, including cooling, exhaust gas and fuel supply systems, central battery and uninterruptible power supply equipment, and photovoltaic systems. Cables, wires, secondary distributors, routing systems, installation devices. Fixed lights, including electric lamps. Lightning protection, lightning rod, and grounding systems. Electricity metering.
2.15. | Security alarm systems and devices | The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems"; The Participant provides information on protection alarm system and equipment.
2.16. | Access control systems and devices. | If card readers are installed outdoors, they must be mechanically sturdy and resistant to atmospheric conditions. In an emergency (power failure), control-operated doors must be unlockable with a key. The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems". The Participant provides information on electromagnetic or mechanical locks. Access control system and devices.
2.18. | Video surveillance systems and equipment | The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems". The Participant provides information on video surveillance cameras, video recording, storage, and display equipment.
2.19. | Computer and telephone networks | When designing telecommunications and computer networks and installing premises for primary equipment, the Cyber Defence Service of the Lithuanian Armed Forces (LK KGV ITT) must be provided with equipment room layouts, communication cables, networks, switching blocks, workstations, power and grounding system schemes in electronic format. When designing and constructing buildings and installing Equipment for Networks 1 and 2, representatives from the Cyber Defence Service of the Lithuanian Armed Forces (LK KGV ITT) must take part, in addition to other officials. The participant independently selects a communication provider required for PS needs and/or IP TV service provision. VS organizes the connection and service provision of the Ministry of Defence data transmission network. The Participant provides information on purpose of communication network, switch cabinet locations in the building, network switches, accessories, and other equipment.
2.20. | Automation systems and devices | A closed (local) building management system must be installed, allowing both monitoring and control of the main engineering system parameters. The accounting data analysis and processing software must be installed, designed for processing water, heat, electricity, and other meter data, generating reports, data analysis, and forecasting future needs. With the help of the installed systems, it must be possible to monitor and record the main microclimate parameters of at least five typical rooms (spaces). Meter readings must be transmitted automatically. The storage of copies of the transmitted telemetry data must be ensured. The Participant provides information on automated systems, control and monitoring devices, programming devices, sensors and actuators, communication intersection stations, and software for automated stations.
2.21. | Smoke extraction systems and equipment | Not applicable.
2.22. | Fire systems, fire detection systems, and equipment | The Participant provides information on fire detection and fire alarm systems.
2.23. | Fire extinguishing systems and equipment | The fire water supply system must comply with the applicable standards. The private partner must design an adequate number of external fire-fighting measures, considering the changes in the water supply system and fire safety standards. The private partner, considering the number of users in a specific Military Unit Object, must ensure appropriate evacuation conditions, ensuring that users can quickly and safely leave the danger zone or the area where a fire has occurred. Also, the appropriate structure, dimensions, and other technical fire safety measures must be ensured. The Participant provides information on fire suppression systems and devices.
2.24. | Gas pipeline system and equipment | The Participant provides information on gas pipeline networks, boilers, system and other equipment, metering.
2.26. | Renewable energy systems and devices are installed in the building. The system and equipment installed in the area are not evaluated here; such information is provided in the "Territory" worksheet before the field of engineering networks and systems. | The participant provides descriptions of systems and equipment, technical parameters, and details of the proposed installed equipment (location in the building, power ratings, specifications, etc.).
2.27. | Other equipment
3. | Other. Proposed by the Candidate / Participant. | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
|  |  |  | Total (EUR, excl. VAT) | Total cost of the optimisation solutions (EUR excl. VAT). Cost of additional work or savings
REMARKS:
1. The Public Entity fills in the specifications, object data, and design task taking into account the specific features and purpose of the object part.
2. The Public Entity provides known special requirements and descriptions of objects, rooms, functional blocks, and infrastructure. If descriptions are not provided in the Public Entity tables, the Candidate/Participant must submit their tenders in accordance with applicable regulations, standards, and other legal acts.
3. The Candidate may propose and suggest possible optimisations (by suggesting to supplement the Specifications, justifying the benefits of the proposals and their impact on the price of the Tender).
4. Where possible and rational, the cost of creating a facility or other part of a building should be detailed by isolating individual parts or components of the building and specifying the anticipated cost of each respective part or component.

## 4. Development of buildings. Co
Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility | Kairiai military town
| Type of construction | New construction
| Annex to terms & conditions | Annex 2 Specifications
| Supplement | Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Supplement document (worksheet) | worksheet 4. Development of buildings. Construction
Item No. | Building part/ System/ Area | Special requirements for constructions (if applicable) | Control point (main)
|  |  | Description of solutions proposed by the Candidate/Participant (reference to the annex of the Tender: Section, part, item of the Tender). | Cost of development of the solution proposed by the Candidate / Participant (EUR excl. VAT) | Possible optimisation proposed by the Candidate – additional solutions to those in the Specification (reference to the Tender document, section, paragraph, clause). Price (EUR excl. VAT) This section is to be completed only for the Initial Tender | REMARKS
| To be completed by the Public entity (PE). When submitting the Tender, the information “To be completed by the Candidate/Participant" may be suspplemented by the Candidate/Participant | to be filled by the Public Entity (if specific requirements are known and applied | to be completed by Candidate / Participant | to be completed by Candidate / Participant | To be completed by the candidate (only applicable for Initial Tender)
1. | Building structures and other elements
1.1. | Foundations | The Participant provides information on selected foundation type, including structures, insulation, and finishing materials etc.
1.2. | Plinth installation | The Participant provides information on plinth type, including structures, insulation, and finishing materials etc.
1.3. | Load-bearing external walls, structures | The Participant provides information on external wall solutions, including structures, insulation, and finishing layers etc.
1.4. | Non-load-bearing external walls, structures
1.5. | Slabs on the ground. | The Participant provides information on floor slab solutions, including structures, insulation, and finishing layers etc.
1.6. | Floor slabs between levels
1.7. | Roof | The participant provides information about the roof structure, insulation types and layers, and finishes. Rainwater collection and drainage system, roof protective railings, walkways, protective grilles, snow-retaining grilles, fire escape ladders etc.
1.8. | Load-bearing internal walls | The control point premises must be planned in such a way that the flow of guards and visitors crosses as little as possible. At the main entrance, a personal belongings inspection room must be provided, which must be monitored from the guard room. A glass partition must be installed between these rooms. Access to other rooms from the entrance must be restricted by a turnstile, with additional hinged, lockable security bars at least 2.1 meters high. A separate sanitary facility for visitors must be provided in the visitors' room. The Participant provides information on internal wall solutions, including structures, insulation, and finishing layers etc.
1.9. | Non-load-bearing internal walls | The Participant provides information on internal wall solutions, including structures, insulation, and finishing layers etc.
1.10. | Structural elements | The Participant provides information on stairs, ramps, balconies, and loggia structures, including coatings etc.
1.11. | Partitions | The Participant provides information on Partition types, structures, finishes etc.
1.12. | Floor coverings and finishes. | The Participant provides information on floor type, structures, finish. The main room groups are distinguished – corridors, halls, administrative rooms, service rooms, and technical auxiliary rooms etc.
1.13. | Wall finish | The interior wall finishes can be minimal (for example, where construction regulations allow, walls can be unplastered and painted or impregnated), but they must meet the room's intended use. Walls in building rooms may be impregnated with clear liquids or impregnating paints. The wall covering (according to the type of covering) must match the room’s purpose, be resistant to damp cleaning, and where necessary, resistant to chemicals used for disinfecting. Where walls are to be painted, they must be painted with eco-friendly paints. Walls may also be coated with other high-quality and suitable coverings matching the purpose of the room. In sanitary units, the walls must be covered with ceramic tiles, and the cabin walls must be elevated from the floor and made of chipboard (MDP) or laminated panels (HPL), both with an aluminium frame. The participant provides descriptions of wall construction types, frame infills, and finishes etc.
1.14. | Ceiling finishing | The Participant provides information on ceiling types, structures, finishes etc.
1.15. | External doors, windows, and showcases | External doors – armoured with electromagnetic locks, internal doors – solid-core. The Participant provides information on windows, showcases, doors, gates, including sills, trims, fittings, drive mechanisms, micro-ventilation elements, and other installed components.
1.16. | Skylights | The Participant provides information on skylights, roof hatches, including trims, fittings, drive mechanisms, ventilation elements, and other installed components.
1.17. | Internal doors and windows | The control point windows must be protected from access, and window visibility from the outside must be limited. Steel bars must be installed on windows, made of 45x6 mm steel strips, with a maximum spacing of 400 mm between them. Steel rods with a diameter of no less than 16 mm must be inserted into the bars every 150 mm. Opening grille fastening rods must be secured to the wall at a depth of no less than 200 mm. The Participant provides information on interior room windows, showcases, doors, gates, including sills, trims, fittings, drive mechanisms, and other installed components.
1.18. | Sun protection | The Participant provides information on roller blinds, awnings, and shutters, including drive mechanisms etc.
1.19. | Special built-in elements | The Participant provides information on grilles, railings, handrails, decorative and covering elements (light well covers, foot cleaning grates) et al).
1.20. | Other | The Participant provides information on gas pipeline networks, boilers, system and other equipment, metering.
1.21. | Other. Proposed by the Candidate / Participant. | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
2. | Building internal engineering systems
2.1. | Heating systems and equipment | It is necessary to install heat consumption metering. Measuring devices must have a continuous scanning function. The possibility of adapting the heating installation for the functional separation of the military unit facility must be planned, taking into account the ability to normalise the temperature in different areas and rooms of the military unit facility by location and time, as well as the momentary increase or loss of heat, separately measuring heat consumption in separated facilities, and smoothly adjusting parameters to ensure continuous adaptation to demand, including at different times of the day. Areas where underfloor heating will be installed must be planned in such a way that they do not interfere with future furniture attachment. The participant provides a description – heat supply, heating system, heat production, heating pipelines etc. Radiators, underfloor heating, radiant heating systems etc. Metering.
2.2. | Ventilation systems and equipment | Provide room ventilation. The Participant provides information on air supply and extraction units, with or without air treatment functionality, ventilation equipment, technical air system ventilation systems, ducts and pipelines, ventilation openings and grilles, cooling systems, ducts and pipelines.
2.3. | Cooling (air conditioning) systems and equipment | Provide room cooling. The Participant provides information on selected cooling (air conditioning) system and equipment.
2.4. | Water supply and sewage systems and equipment | Evaluate and plan for the connection of water and wastewater systems. The Participant provides information on water supply pipelines, sanitary fixtures, filters, drinking water supply, metering etc.
2.5. | Water metering installation | The Participant provides information on water metering etc.
2.6. | Cold water system | The Participant provides information on the proposed cold water supply system.
2.7. | Hot water systems and equipment | The Participant provides information on water supply pipelines, sanitary fixtures, filters, hot water supply, metering etc.
2.9. | Domestic wastewater systems and equipment | The participant provides a description – wastewater pipelines, wastewater collection facilities, wastewater treatment facilities Wastewater treatment plants
2.10. | Surface water drainage, rainwater systems, and devices | The participant provides a description – wastewater pipelines, wastewater collection facilities, wastewater treatment facilities etc.
2.11. | Plumbing appliances | Sanitary equipment must be aesthetic, durable, modern, and suitable for the functional area in which it is installed, and must comply with sanitary requirements. Sanitary infrastructure must be equipped with soap dispensers, hand dryers, paper towel dispensers, toilet paper dispensers, and automatically switched on and off lights. The Participant provides information on sanitary appliances, equipment, and systems.
2.13. | Other equipment | The Participant provides information on other equipment not included in the listed water supply and wastewater disposal systems.
2.14. | Electrical systems and equipment | Artificial lighting must be coordinated with surveillance equipment spaces and arranged so as not to dazzle the video surveillance cameras. The private partner must aim to reduce the number of lighting source models used. All equipment must be accessible for cleaning and maintenance, especially in high locations. Outdoor lighting must be controlled from the room. The lighting of auxiliary rooms must be distributed according to functional zones, but the lighting of zones related to event functions must be centralized and controlled from a dedicated room. In the building's premises, all installed control and protection devices must have a label indicating the schematic dependency and purpose. There must be a label with the name of the recipients and the line's purpose in the internal part of the door panel, on the panel by the devices. The Participant provides information on high and/or medium voltage distribution equipment. Electric power generators, including cooling, exhaust gas and fuel supply systems, central battery and uninterruptible power supply equipment, and photovoltaic systems. Cables, wires, secondary distributors, routing systems, installation devices. Fixed lights, including electric lamps. Lightning protection, lightning rod, and grounding systems. Electricity metering.
2.15. | Security alarm systems and devices | The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems"; The Participant provides information on protection alarm system and equipment.
2.16. | Access control systems and devices. | If card readers are installed outdoors, they must be mechanically sturdy and resistant to atmospheric conditions. In an emergency (power failure), control-operated doors must be unlockable with a key. The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems". The Participant provides information on electromagnetic or mechanical locks. Access control system and devices.
2.18. | Video surveillance systems and equipment | The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems". The Participant provides information on video surveillance cameras, video recording, storage, and display equipment.
2.19. | Computer and telephone networks | When designing telecommunications and computer networks and installing premises for primary equipment, the Cyber Defence Service of the Lithuanian Armed Forces (LK KGV ITT) must be provided with equipment room layouts, communication cables, networks, switching blocks, workstations, power and grounding system schemes in electronic format. When designing and constructing buildings and installing Equipment for Networks 1 and 2, representatives from the Cyber Defence Service of the Lithuanian Armed Forces (LK KGV ITT) must take part, in addition to other officials. The participant independently selects a communication provider required for PS needs and/or IP TV service provision. VS organizes the connection and service provision of the Ministry of Defence data transmission network. The Participant provides information on purpose of communication network, switch cabinet locations in the building, network switches, accessories, and other equipment.
2.20. | Automation systems and devices | A closed (local) building management system must be installed, allowing both monitoring and control of the main engineering system parameters. The accounting data analysis and processing software must be installed, designed for processing water, heat, electricity, and other meter data, generating reports, data analysis, and forecasting future needs. With the help of the installed systems, it must be possible to monitor and record the main microclimate parameters of at least five typical rooms (spaces). Meter readings must be transmitted automatically. The storage of copies of the transmitted telemetry data must be ensured. The Participant provides information on automated systems, control and monitoring devices, programming devices, sensors and actuators, communication intersection stations, and software for automated stations.
2.21. | Smoke extraction systems and equipment | Not applicable.
2.22. | Fire systems, fire detection systems, and equipment | The Participant provides information on fire detection and fire alarm systems.
2.23. | Fire extinguishing systems and equipment | The fire water supply system must comply with the applicable standards. The private partner must design an adequate number of external fire-fighting measures, considering the changes in the water supply system and fire safety standards. The private partner, considering the number of users in a specific Military Unit Object, must ensure appropriate evacuation conditions, ensuring that users can quickly and safely leave the danger zone or the area where a fire has occurred. Also, the appropriate structure, dimensions, and other technical fire safety measures must be ensured. The Participant provides information on fire suppression systems and devices.
2.24. | Gas pipeline system and equipment
2.26. | Renewable energy systems and devices are installed in the building. The system and equipment installed in the area are not evaluated here; such information is provided in the "Territory" worksheet before the field of engineering networks and systems. | The participant provides descriptions of systems and equipment, technical parameters, and details of the proposed installed equipment (location in the building, power ratings, specifications, etc.).
2.27. | Other equipment
3. | Other. Proposed by the Candidate / Participant. | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
|  |  |  | Total (EUR, excl. VAT) | Total cost of the optimisation solutions (EUR excl. VAT). Cost of additional work or savings
REMARKS:
1. The Public Entity fills in the specifications, object data, and design task taking into account the specific features and purpose of the object part.
2. The Public Entity provides known special requirements and descriptions of objects, rooms, functional blocks, and infrastructure. If descriptions are not provided in the Public Entity tables, the Candidate/Participant must submit their tenders in accordance with applicable regulations, standards, and other legal acts.
3. The Candidate may propose and suggest possible optimisations (by suggesting to supplement the Specifications, justifying the benefits of the proposals and their impact on the price of the Tender).
4. Where possible and rational, the cost of creating a facility or other part of a building should be detailed by isolating individual parts or components of the building and specifying the anticipated cost of each respective part or component.

## 3. Development of buildings. Co
Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility | Kairiai military town
| Type of construction | New construction
| Annex to terms & conditions | Annex 2 Specifications
| Supplement | Supplement 2.1 document 9 "Technical requirements for the creation of control points"
| Supplement document (worksheet) | worksheet 3. Development of buildings. Construction
Item No. | Building part/ System/ Area | Special requirements for constructions (if applicable) | Control point (main)
|  |  | Description of solutions proposed by the Candidate/Participant (reference to the annex of the Tender: Section, part, item of the Tender). | Cost of development of the solution proposed by the Candidate / Participant (EUR excl. VAT) | Possible optimisation proposed by the Candidate – additional solutions to those in the Specification (reference to the Tender document, section, paragraph, clause). Price (EUR excl. VAT) This section is to be completed only for the Initial Tender | REMARKS
| To be completed by the Public entity (PE). When submitting the Tender, the information “To be completed by the Candidate/Participant" may be suspplemented by the Candidate/Participant | to be filled by the Public Entity (if specific requirements are known and applied | to be completed by Candidate / Participant | to be completed by Candidate / Participant | To be completed by the candidate (only applicable for Initial Tender)
1. | Building structures and other elements
1.1. | Foundations | The Participant provides information on selected foundation type, including structures, insulation, and finishing materials etc.
1.2. | Plinth installation | The Participant provides information on plinth type, including structures, insulation, and finishing materials etc.
1.3. | Load-bearing external walls, structures | The Participant provides information on external wall solutions, including structures, insulation, and finishing layers etc.
1.4. | Non-load-bearing external walls, structures
1.5. | Slabs on the ground. | The Participant provides information on floor slab solutions, including structures, insulation, and finishing layers etc.
1.6. | Floor slabs between levels
1.7. | Roof | The participant provides information about the roof structure, insulation types and layers, and finishes. Rainwater collection and drainage system, roof protective railings, walkways, protective grilles, snow-retaining grilles, fire escape ladders etc.
1.8. | Load-bearing internal walls | The control point premises must be planned in such a way that the flow of guards and visitors crosses as little as possible. At the main entrance, a personal belongings inspection room must be provided, which must be monitored from the guard room. A glass partition must be installed between these rooms. Access to other rooms from the entrance must be restricted by a turnstile, with additional hinged, lockable security bars at least 2.1 meters high. A separate sanitary facility for visitors must be provided in the visitors' room. The Participant provides information on internal wall solutions, including structures, insulation, and finishing layers etc.
1.9. | Non-load-bearing internal walls | The Participant provides information on internal wall solutions, including structures, insulation, and finishing layers etc.
1.10. | Structural elements | The Participant provides information on stairs, ramps, balconies, and loggia structures, including coatings etc.
1.11. | Partitions | The Participant provides information on Partition types, structures, finishes etc.
1.12. | Floor coverings and finishes. | The Participant provides information on floor type, structures, finish. The main room groups are distinguished – corridors, halls, administrative rooms, service rooms, and technical auxiliary rooms etc.
1.13. | Wall finish | The interior wall finishes can be minimal (for example, where construction regulations allow, walls can be unplastered and painted or impregnated), but they must meet the room's intended use. Walls in building rooms may be impregnated with clear liquids or impregnating paints. The wall covering (according to the type of covering) must match the room’s purpose, be resistant to damp cleaning, and where necessary, resistant to chemicals used for disinfecting. Where walls are to be painted, they must be painted with eco-friendly paints. Walls may also be coated with other high-quality and suitable coverings matching the purpose of the room. In sanitary units, the walls must be covered with ceramic tiles, and the cabin walls must be elevated from the floor and made of chipboard (MDP) or laminated panels (HPL), both with an aluminium frame. The participant provides descriptions of wall construction types, frame infills, and finishes etc.
1.14. | Ceiling finishing | The Participant provides information on ceiling types, structures, finishes etc.
1.15. | External doors, windows, and showcases | External doors – armoured with electromagnetic locks, internal doors – solid-core. The Participant provides information on windows, showcases, doors, gates, including sills, trims, fittings, drive mechanisms, micro-ventilation elements, and other installed components.
1.16. | Skylights | The Participant provides information on skylights, roof hatches, including trims, fittings, drive mechanisms, ventilation elements, and other installed components.
1.17. | Internal doors and windows | The control point windows must be protected from access, and window visibility from the outside must be limited. Steel bars must be installed on windows, made of 45x6 mm steel strips, with a maximum spacing of 400 mm between them. Steel rods with a diameter of no less than 16 mm must be inserted into the bars every 150 mm. Opening grille fastening rods must be secured to the wall at a depth of no less than 200 mm. The Participant provides information on interior room windows, showcases, doors, gates, including sills, trims, fittings, drive mechanisms, and other installed components.
1.18. | Sun protection | The Participant provides information on roller blinds, awnings, and shutters, including drive mechanisms etc.
1.19. | Special built-in elements | The Participant provides information on grilles, railings, handrails, decorative and covering elements (light well covers, foot cleaning grates) et al).
1.20. | Other
1.21. | Other. Proposed by the Candidate / Participant. | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
2. | Building internal engineering systems
2.1. | Heating systems and equipment | It is necessary to install heat consumption metering. Measuring devices must have a continuous scanning function. The possibility of adapting the heating installation for the functional separation of the military unit facility must be planned, taking into account the ability to normalise the temperature in different areas and rooms of the military unit facility by location and time, as well as the momentary increase or loss of heat, separately measuring heat consumption in separated facilities, and smoothly adjusting parameters to ensure continuous adaptation to demand, including at different times of the day. Areas where underfloor heating will be installed must be planned in such a way that they do not interfere with future furniture attachment. The participant provides a description – heat supply, heating system, heat production, heating pipelines etc. Radiators, underfloor heating, radiant heating systems etc. Metering.
2.2. | Ventilation systems and equipment | Provide room ventilation. The Participant provides information on air supply and extraction units, with or without air treatment functionality, ventilation equipment, technical air system ventilation systems, ducts and pipelines, ventilation openings and grilles, cooling systems, ducts and pipelines.
2.3. | Cooling (air conditioning) systems and equipment | Provide room cooling. The Participant provides information on selected cooling (air conditioning) system and equipment.
2.4. | Water supply and sewage systems and equipment | Evaluate and plan for the connection of water and wastewater systems. The Participant provides information on water supply pipelines, sanitary fixtures, filters, drinking water supply, metering etc.
2.5. | Water metering installation | The Participant provides information on water metering etc.
2.6. | Cold water system | The Participant provides information on the proposed cold water supply system.
2.7. | Hot water systems and equipment | The Participant provides information on water supply pipelines, sanitary fixtures, filters, hot water supply, metering etc.
2.9. | Domestic wastewater systems and equipment | The participant provides a description – wastewater pipelines, wastewater collection facilities, wastewater treatment facilities Wastewater treatment plants
2.10. | Surface water drainage, rainwater systems, and devices | The participant provides a description – wastewater pipelines, wastewater collection facilities, wastewater treatment facilities etc.
2.11. | Plumbing appliances | Sanitary equipment must be aesthetic, durable, modern, and suitable for the functional area in which it is installed, and must comply with sanitary requirements. Sanitary infrastructure must be equipped with soap dispensers, hand dryers, paper towel dispensers, toilet paper dispensers, and automatically switched on and off lights. The Participant provides information on sanitary appliances, equipment, and systems.
2.13. | Other equipment | The Participant provides information on other equipment not included in the listed water supply and wastewater disposal systems.
2.14. | Electrical systems and equipment | Artificial lighting must be coordinated with surveillance equipment spaces and arranged so as not to dazzle the video surveillance cameras. The private partner must aim to reduce the number of lighting source models used. All equipment must be accessible for cleaning and maintenance, especially in high locations. Outdoor lighting must be controlled from the room. The lighting of auxiliary rooms must be distributed according to functional zones, but the lighting of zones related to event functions must be centralized and controlled from a dedicated room. In the building's premises, all installed control and protection devices must have a label indicating the schematic dependency and purpose. There must be a label with the name of the recipients and the line's purpose in the internal part of the door panel, on the panel by the devices. The Participant provides information on high and/or medium voltage distribution equipment. Electric power generators, including cooling, exhaust gas and fuel supply systems, central battery and uninterruptible power supply equipment, and photovoltaic systems. Cables, wires, secondary distributors, routing systems, installation devices. Fixed lights, including electric lamps. Lightning protection, lightning rod, and grounding systems. Electricity metering.
2.15. | Security alarm systems and devices | The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems"; The Participant provides information on protection alarm system and equipment.
2.16. | Access control systems and devices. | If card readers are installed outdoors, they must be mechanically sturdy and resistant to atmospheric conditions. In an emergency (power failure), control-operated doors must be unlockable with a key. The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems". The Participant provides information on electromagnetic or mechanical locks. Access control system and devices.
2.18. | Video surveillance systems and equipment | The general requirements of the system are described in Suplement 2.1 document 36 "Requirements for Electronic Protection Systems". The Participant provides information on video surveillance cameras, video recording, storage, and display equipment.
2.19. | Computer and telephone networks | When designing telecommunications and computer networks and installing premises for primary equipment, the Cyber Defence Service of the Lithuanian Armed Forces (LK KGV ITT) must be provided with equipment room layouts, communication cables, networks, switching blocks, workstations, power and grounding system schemes in electronic format. When designing and constructing buildings and installing Equipment for Networks 1 and 2, representatives from the Cyber Defence Service of the Lithuanian Armed Forces (LK KGV ITT) must take part, in addition to other officials. The participant independently selects a communication provider required for PS needs and/or IP TV service provision. VS organizes the connection and service provision of the Ministry of Defence data transmission network. The Participant provides information on purpose of communication network, switch cabinet locations in the building, network switches, accessories, and other equipment.
2.20. | Automation systems and devices | A closed (local) building management system must be installed, allowing both monitoring and control of the main engineering system parameters. The accounting data analysis and processing software must be installed, designed for processing water, heat, electricity, and other meter data, generating reports, data analysis, and forecasting future needs. With the help of the installed systems, it must be possible to monitor and record the main microclimate parameters of at least five typical rooms (spaces). Meter readings must be transmitted automatically. The storage of copies of the transmitted telemetry data must be ensured. The Participant provides information on automated systems, control and monitoring devices, programming devices, sensors and actuators, communication intersection stations, and software for automated stations.
2.21. | Smoke extraction systems and equipment | Not applicable.
2.22. | Fire systems, fire detection systems, and equipment | The Participant provides information on fire detection and fire alarm systems.
2.23. | Fire extinguishing systems and equipment | The fire water supply system must comply with the applicable standards. The private partner must design an adequate number of external fire-fighting measures, considering the changes in the water supply system and fire safety standards. The private partner, considering the number of users in a specific Military Unit Object, must ensure appropriate evacuation conditions, ensuring that users can quickly and safely leave the danger zone or the area where a fire has occurred. Also, the appropriate structure, dimensions, and other technical fire safety measures must be ensured. The Participant provides information on fire suppression systems and devices.
2.24. | Gas pipeline system and equipment | The Participant provides information on gas pipeline networks, boilers, system and other equipment, metering.
2.26. | Renewable energy systems and devices are installed in the building. The system and equipment installed in the area are not evaluated here; such information is provided in the "Territory" worksheet before the field of engineering networks and systems. | The participant provides descriptions of systems and equipment, technical parameters, and details of the proposed installed equipment (location in the building, power ratings, specifications, etc.).
2.27. | Other equipment
3. | Other. Proposed by the Candidate / Participant. | The Candidate / Participant may add to the Solution / Tender its own solutions that are not in conflict with the Specification or not evaluated by the Public Entity (PE)
|  |  |  | Total (EUR, excl. VAT) | Total cost of the optimisation solutions (EUR excl. VAT). Cost of additional work or savings
REMARKS:
1. The Public Entity fills in the specifications, object data, and design task taking into account the specific features and purpose of the object part.
2. The Public Entity provides known special requirements and descriptions of objects, rooms, functional blocks, and infrastructure. If descriptions are not provided in the Public Entity tables, the Candidate/Participant must submit their tenders in accordance with applicable regulations, standards, and other legal acts.
3. The Candidate may propose and suggest possible optimisations (by suggesting to supplement the Specifications, justifying the benefits of the proposals and their impact on the price of the Tender).
4. Where possible and rational, the cost of creating a facility or other part of a building should be detailed by isolating individual parts or components of the building and specifying the anticipated cost of each respective part or component.