## 1. Services
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility: | Kairiai military town
| Annex to terms & conditions | Annex 2. Specifications
| Supplement | Annex 3. Service specifications
| Desktop | 1 worksheet. Services
Item No. | Services | Preliminary annual service provision cost (EUR excl. VAT) | Total amount for the contract period (EUR excl. VAT) | REMARKS
|  | to be completed by Participant | to be completed by Participant
1. | General services (see 3.2 section 3.2.1-3.2.3)
1.1. | Administration and contract supervision. Private entity's provision of operational data to the Public Entity. Consultations on the use of contracts provided.
1.2. | Other services (accounting, leasing...)
2. | Special services (see Worksheets 2-6 of Supplement 3)
2.1. | Technical maintenance services. Technical maintenance and fault rectification of the infrastructure elements and appurtenances within the area. (see Worksheet 2 of Supplement 3)
2.2. | Cleaning and waste management services (see Worksheet 3 of Supplement 3)
2.3. | Maintenance and cleaning of the area and green zones (see Worksheet 4 of Supplement 3).
2.4. | Municipal services (see Worksheet 5 of Supplement 3).
2.5. | Registration tool services (see Worksheet 6 of Supplement 3)
2.6. | Proposed by the Participant
2.7.
Total (EUR, excl. VAT)
NOTES:
1. The list of buildings and services of the facility is provisional and may be specified during the Procurement (negotiation) process. If necessary, the Public Entity has the right to withdraw from part of the Services in the Procurement (negotiation).
2. The list of buildings and services of the facility is supplemented by the Participant according to their Proposal and may be specified during the Procurement (negotiation) process. If necessary, the Public Entity has the right to withdraw from part of the Services in the Procurement (negotiation).
3. Detailed information on service provision and a detailed description of the services, as an annex to the service provision proposal, must be provided in the "Facility Creation, Service Provision Plan" under the specific service description.

## 2. Technical supervision
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility: | Kairiai military town
| Annex to the Terms | Annex 2 Specifications
| Supplement | Annex 3. Service specifications
| Desktop | 2 worksheet. Technical maintenance services
The scope of technical maintenance services, their frequency, detailed service description, and price.
Code | System/Area | Services | The frequency, detailed description, and price of services offered by the Participant in the facility. | [29 empty] | The total annual price for the services offered by the Participant (EUR excl. VAT) | Total amount for the contract period (EUR excl. VAT) | REMARKS
|  |  | Barrack buildings |  | Sports complex buildings |  | Warehouse buildings |  | Garage buildings and carport structures |  | Repair workshop buildings |  | Headquarters buildings |  | Ramovė (officers' club) buildings |  | Canteen buildings |  | Health centre buildings |  | Control point buildings |  | Buildings/structures for washing stations and fuel stations. |  | Antenna field buildings/structures |  | Laundry, domestic service building |  | Lifting/descending building |  | Territory
|  |  | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description
|  |  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant
ŠVS | Heating and cooling systems and equipment | The heating and cooling systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
VKS | Ventilation and air conditioning systems and equipment | The ventilation and air conditioning systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
KVS | Hot water systems and equipment | Hot water systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
PE | Water supply systems and equipment | The water supply systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
NS | Domestic wastewater systems and equipment | Sewerage systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
SAN | Plumbing devices | Plumbing devices operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
LS | Rainwater drainage systems and equipment | The rainwater drainage systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
ES | Electrical systems and equipment | Electrical systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
ASS | Security alarm systems and devices | Security alarm systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
JKS | Access control systems and equipment | The access control systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
VSS | Video surveillance systems and equipment | Video surveillance systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
TRS | Telecommunications and communication information transmission systems and equipment | Telecommunications and technical information transmission systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
AS | Automation systems and devices | Automation systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
VDŠS | Ventilation and smoke extraction systems and equipment | The ventilation and smoke extraction systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
PGGS | Fire protection, fire detection, and fire extinguishing systems and equipment | The fire protection and fire extinguishing systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
DS | Gas pipeline system and equipment | Gas pipeline systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
KL | Passenger lifts | Passenger lift systems and equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
TKL | Technical, freight lifts, hoists, and conveyor equipment | Technical, freight lifts, hoists, and conveyor equipment operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
SNS | Special use equipment (e.g., gates/barriers/drying equipment, vehicle washing equipment, etc.) | Special use other furniture, equipment operates as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding system use.
STP | Maintenance of buildings (including roads) and their elements | The building and its elements operate as intended
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding building use.
TIP | Maintenance of infrastructure elements and appurtenances within the area | The infrastructure elements of the area operate as intended. Continuous monitoring.
Periodic technical and operational maintenance, records in inspection logs.
Specialised technical and operational maintenance, records in inspection logs.
Consultations are provided regarding building use.
VAT | Emergency services for all systems | Emergency services are provided 24/7 (relevant agreements are in place with emergency services or in-house resources are available).
PSVV | Implementation of fire safety activities | a. Compliance with fire safety regulations; b. Maintenance and control of fire safety equipment; c. Preventive fire safety inspections to identify potential fire hazards; d. Regular emergency evacuation drills; e. Establishment and updating of fire safety rules, implementation of procedures, and signage in all horizontal movement zones, as well as staircases and lifts; f. Management of fire safety alarms; g. Organization of fire safety audits every 2 years with the help of an independent auditor.
M | Training of the operator's employees responsible for safety management, including: 4 (four) hours of training per year for relevant employees | The training sessions will be related to: j. Fire protection and fire safety measures; k. Technical equipment in the territory; l. Regulation requirements related to fire safety; m. Use of fire extinguishers during live fire exercises with different types of equipment; n. Emergency intervention manoeuvres inside buildings.
BA* | Furniture *PS | Furniture suitable for use and functioning as intended, meeting manufacturer specifications
BA** | Furniture **PS | Furniture suitable for use and functioning as intended, meeting manufacturer specifications
| Proposed by the Participant | Proposed by the Participant
BMS | Building automated control systems (TAPA) BMS) | Proposed by the Participant
The total area of the facility's buildings (group of buildings) and territory (sq. m). The area of the territory is calculated excluding the building area. Filled in by the Participant.
The price of technical maintenance services per 1 sq.m. per year in the specified buildings (group of buildings) and territory (EUR excl. VAT)
The total price of technical maintenance services per year in the specified buildings (group of buildings) and territory (EUR excl. VAT)
Total (EUR, excl. VAT)
NOTES:
1. The list of services is indicative and may be specified during the procurement (negotiation) process. If necessary, the Public Entity has the right to withdraw from part of the Services.
2. Services during the Contract period must be carried out as specified in the Private entity's Technical Maintenance Services Plan.
3. Services must be carried out following the STR 1.07.03:2017 “Regulation for technical and operational maintenance of buildings. The procedure for the formation of new real estate cadastre Facilities” and other applicable laws and regulations governing the maintenance of engineering systems and equipment
4. General and technical maintenance of buildings, engineering systems, and equipment, and elimination of identified faults or malfunctions are carried out continuously and in accordance with the specified frequency through scheduled and/or legally required inspections.
Systems and equipment operate as intended – the private entity must assess the technical maintenance of buildings, engineering systems, and territorial infrastructure elements, their full servicing and repair, elimination of identified defects, and if necessary, implement additional measures to ensure their operation and functioning as intended. Continuous monitoring – entries in the building’s technical maintenance log, noting the inspections and checks performed, defects or dangerous deformations observed, or the absence thereof, and the planned measures for eliminating identified defects. During continuous monitoring, the building structures are visually inspected, defects, accident hazards are recorded, and measures for their elimination are proposed. The condition of the engineering systems and devices, fire safety devices and measures, and the sanitary condition of the premises and environment must be visually inspected. Continuous monitoring does not include periodic and specialized inspections.
Periodic and specialized inspections of buildings include:
Periodic inspections – monitoring and servicing performed according to the manufacturer's instructions and specifications. The condition of the engineering systems and devices, fire safety devices and measures, and the sanitary condition of the premises and environment must be visually inspected. Annual inspections, where the inspection of the building, its individual structures, and engineering systems and equipment are carried out before the winter season begins and/or after the winter season ends (depending on the building and engineering system usage specifics). Entries are made in inspection logs.
Specialized inspections – at the decision of the Government or Private entity, or in accordance with specific regulations, aimed at obtaining conclusions about the building, engineering systems, or equipment in a certain aspect, or conducting an audit (energy, economic, or other). Entries are made in inspection logs. Extraordinary inspections, which are carried out after natural disasters (fires, floods, hurricanes, etc.), the collapse of the building or its individual structures, and other phenomena, and/or engineering system failures that have caused dangerous situations for people's safety and deformations of building structures, as well as when there is a change in the technical supervisor of the Public Entity or Private entity. Entries are made in inspection logs.
5. The service frequency proposed by the Private Entity, periodicity:
| The frequency of the services proposed by the Participant in the cleaning services plan. When offering the service frequency, the Private entity must provide additional information, including the expected working hours when the service is to be provided and any other additional conditions (if such are anticipated). |  | Continuously
1 time per week
3 time per week
5 time per week
7 time per week
1 time a month
2 times per month
1 time a year
2 times per year
4 times per year
According to the need
| If the Participant plans otherwise and/or it is not planned to implement and/or there is no such service/system/area |  | Not implemented
| The participant may propose other service scopes and/or frequencies. |  | Proposed by the Participant
6. Detailed information on service provision and a detailed description of the services, as an annex to the service provision proposal, must be provided in the "Facility creation, Service provision plan" next to the description of the specific service (Technical maintenance services).
7. In the case of fault elimination and/or emergency response, the facility (or its parts) must be restored to its design capacity.
8. * The PS must provide for a one-time furniture purchase and warranty maintenance for a period of 5 years
9. **The PS must provide equipment/furniture that is mandatory (or necessary) for the proper functioning (use) of buildings/premises, in accordance with legal acts/regulations, the Private Entity’s solutions, etc., including their further technical maintenance throughout the entire Contract period

## 3. Cleaning services
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility: | Kairiai military town
| Annex to the Terms | Annex 2 Specifications
| Supplement | Annex 3. Service specifications
| Desktop | 3 worksheet. Cleaning services
The scope of cleaning and waste management services, their frequency, detailed service descriptions, and pricing.
Code | System/Area | Services | Premises | The frequency of services proposed by the Participant in the facility, detailed descriptions of the proposed services, and their pricing | [27 empty] | The proposed annual cost for service provision by the Participant (EUR excl. VAT) | Total amount for the contract period (EUR excl. VAT) | REMARKS
|  |  |  | Barrack buildings |  | Sports complex buildings/structures |  | Warehouse buildings |  | Garage buildings and carport structures |  | Repair workshop buildings |  | Headquarters buildings |  | Ramovė (officers' club) buildings |  | Canteen buildings |  | Health centre buildings |  | Control point buildings |  | Buildings/structures for washing stations and fuel stations. |  | Antenna field buildings/structures |  | Laundry, domestic service building |  | Lifting/descending building
|  |  |  | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description | Service frequency | Service description
|  |  |  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant
VV LA | Staircases, corridors, halls | Floor cleaning by damp method or with a scrubbing machine. Vacuuming dirt and moisture-absorbing mats and replacing worn-out mats.
Floor surface stripping and waxing, carpet chemical cleaning.
Dust and other dirt cleaning/partial cleaning* from unloaded and manually accessible furniture/equipment surfaces.
Cleaning/partial cleaning of handrails, door handles, light switches, and other frequently used surfaces*.
Cleaning/ partial cleaning of glass partitions* from both sides to remove fingerprints, dust, and other dirt.
Cleaning/partial cleaning of walls, ceilings, light fixtures, sockets, and other stained surfaces*.
Emptying trash bins, changing bags.
Thorough general cleaning of all surfaces
Other. Proposed by the Participant
VV AD | Administrative and common use areas | Floor cleaning by damp method or with a scrubbing machine. Vacuuming dirt and moisture-absorbing mats and replacing worn-out mats. | work offices.
|  | Floor surface stripping and waxing, carpet chemical cleaning. | Accommodation, sleeping quarters
|  | Dust and other dirt cleaning/partial cleaning* from unloaded and manually accessible furniture/equipment surfaces. | recreation
|  | Cleaning/partial cleaning of door handles, light switches, and other frequently used surfaces*. | visitors
|  | Cleaning/ partial cleaning of glass partitions* from both sides to remove fingerprints, dust, and other dirt. | on-duty
|  | Cleaning/partial cleaning of walls, ceilings, light fixtures, sockets, and other stained surfaces*. | Meetings, gatherings, training rooms
Sports hall
Cinema hall
for religious ceremonies
exhibitions, museums
changing rooms
Medical point
personal hygiene.
Power supply (excluding production)
café
control point passage
Emptying trash bins, changing bags.
Thorough general cleaning of all surfaces
Other. Proposed by the Participant
VSV SE | Special purpose rooms | Floor cleaning by damp method or with a scrubbing machine. Vacuuming dirt and moisture-absorbing mats and replacing worn-out mats. | weapons storage and cleaning
|  | Floor surface stripping and waxing, carpet chemical cleaning. | document storage (archives)
|  | Dust and other dirt cleaning/partial cleaning* from unloaded and manually accessible furniture/equipment surfaces. | garages
|  | Cleaning/partial cleaning of door handles, light switches, and other frequently used surfaces*. | workshop
|  | Cleaning/ partial cleaning of glass partitions* from both sides to remove fingerprints, dust, and other dirt. | storage
|  | Cleaning/partial cleaning of walls, ceilings, light fixtures, sockets, and other stained surfaces*. | washing stations
Switching communications and protection
server room
Emptying trash bins, changing bags, disinfecting trash bins.
Thorough general cleaning of all surfaces
Other. Proposed by the Participant
SA | Sanitary hygiene rooms | Floor cleaning with wet methods and disinfection | Sanitary rooms (toilets)
|  | Floor covering scrubbing and waxing | showers, washbasins
|  | Cleaning/partial cleaning* of dust, fingerprints, and other dirt from glass/mirrors/furniture/equipment surfaces. | changing room
|  | Cleaning/partial cleaning of door handles, light switches, and other frequently used surfaces* | Laundry
|  | Cleaning/partial cleaning of walls, ceilings, light fixtures, sockets, and other stained surfaces*. | footwear and clothing dryers
sauna
Provision/replenishment of hygiene supplies (liquid soap, paper towels, etc.) in sanitary hygiene rooms, maintenance of hygiene product holders. The purchase and management of such goods must be carried out continuously.
Emptying trash bins, changing bags.
Thorough general cleaning of all surfaces
Other. Proposed by the Participant
LF | Lifts and lift landings | Floor cleaning with wet methods.
Floor covering scrubbing and waxing.
Cleaning/partial cleaning* of dust, fingerprints, and other dirt from glass/mirrors/equipment surfaces.
Thorough general cleaning of all surfaces.
Other. Proposed by the Participant
PP | Auxiliary rooms | Floor cleaning by damp method or with a scrubbing machine. Vacuuming dirt and moisture-absorbing mats and replacing worn-out mats. | Cleaning materials storage room
Floor surface stripping and waxing, carpet chemical cleaning.
Dust and other dirt cleaning/partial cleaning* from unloaded and manually accessible furniture/equipment surfaces.
Cleaning/partial cleaning of door handles, light switches, and other frequently used surfaces*.
Cleaning/ partial cleaning of glass partitions* from both sides to remove fingerprints, dust, and other dirt.
Cleaning/partial cleaning of walls, ceilings, light fixtures, sockets, and other stained surfaces*.
Emptying trash bins, changing bags, disinfecting trash bins.
Thorough general cleaning of all surfaces.
Other. Proposed by the Participant
TP | Technical rooms | Floor cleaning by damp method or with a scrubbing machine. Vacuuming dirt and moisture-absorbing mats and replacing worn-out mats. | technical corridors
|  | Floor surface stripping and waxing, carpet chemical cleaning. | technical equipment for electricity, heating, ventilation, and water supply systems
Dust and other dirt cleaning/partial cleaning* from unloaded and manually accessible furniture/equipment surfaces.
Cleaning/partial cleaning of door handles, light switches, and other frequently used surfaces*.
Cleaning/ partial cleaning of glass partitions* from both sides to remove fingerprints, dust, and other dirt.
Cleaning/partial cleaning of walls, ceilings, light fixtures, sockets, and other stained surfaces*.
Emptying trash bins, changing bags, disinfecting trash bins.
Thorough general cleaning of all surfaces.
Other. Proposed by the Participant
VP | All rooms | Rooms to be disinfected, sanitized, and deratised.
Cleaning of building windows and showcases from the outside and inside
Cleaning services on demand
Facades and their elements
Other. Proposed by the Participant
| Proposed by the Participant | Proposed by the Participant
Total area of the facility's buildings (group of buildings) (sq. m). Filled in by the Participant.
The price of cleaning services per 1 sq. m. per year in the specified buildings (group of buildings). (EUR excl. VAT)
The total cost of cleaning services per year in the specified buildings (group of buildings). (EUR excl. VAT)
Total (EUR, excl. VAT)
NOTES:
1. The list of services is indicative and may be specified during the procurement (negotiation) process. If necessary, the Public Entity has the right to withdraw from part of the Services.
2. Services during the contract period must be provided as outlined in the Private entity’s Cleaning Service Provision Plan.
* Maintaining cleanliness – only the cleaning/partial cleaning of dirty surfaces to ensure that rooms, equipment, and furniture remain clean.
3. The service frequency proposed by the Private Entity, periodicity:
| The frequency of services proposed by the Participant in the cleaning service provision plan. The Private Entity, when proposing service periodicity, must additionally specify the expected working hours, during which the service is expected to be provided, as well as other additional conditions. |  |  | Continuously
1 time per week
3 time per week
5 time per week
7 time per week
1 time a month
2 times per month
1 time a year
2 times per year
4 times per year
According to the need
| If the Participant plans otherwise and/or it is not planned to implement and/or there is no such service/system/area |  |  | Not implemented
| The participant may propose other service scopes and/or frequencies. |  |  | Proposed by the Participant
4. Detailed information on service provision and a detailed description of the services, as an annex to this Service Provision Proposal, must be provided in the "Facility creation, Service provision plan" next to the description of the specific service (Cleaning services).

## 4. Area maintenance services
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility: | Kairiai military town
| Annex to the Terms | Annex 2. Specifications
| Supplement | Annex 3. Service specifications
| Desktop | 4 worksheet. Maintenance services for the area and green zones
The scope of maintenance services for the area and green zones, their frequency, detailed service descriptions, and pricing.
Code | System/Area | Services | Service frequency | A detailed description of the services (service delivery solutions and scope in the area (units, m²)) | The service provision cost (EUR) per year | The total cost of service provision per year (EUR excl. VAT) | Total amount for the contract period (EUR excl. VAT) | REMARKS
|  |  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant
TR | Maintenance of the military unit's area and green zones | Cleaning and maintenance of pedestrian zones and pathways, including, but not limited to, the removal of stones, glass, municipal waste, and debris, and maintaining cleanliness and order.
Cleaning and maintenance of the roadway, parking lots, and parade grounds, including, but not limited to, the removal of stones, glass, municipal waste, and debris, and maintaining cleanliness and order.
Cleaning and maintenance of the special heavy machinery roadways
Cleaning and maintenance of sports and recreational courts
Cleaning and maintenance of outdoor staircases
Maintenance of the network and barbed wire fences
Cleaning and maintenance of building roofs, canopies above entrances
Snow or other weather-related obstacles must be removed from roads and paths to ensure safe entry and exit from the building at all times. When ice forms, roads and other areas must be treated with an ice-melting mixture.
Snow clearing during the winter season and, if necessary, snow collection, loading, and disposal.
Lawn maintenance service
Meadow maintenance service
Landscaping: Lawn, flowerbed, tree, and shrub maintenance, tree pruning and cutting, shrub trimming and shaping, plant fertilisation. Trees and shrubs must be maintained in good condition, not obstructing the normal use of the complex and not posing a safety hazard. Plants growing near windows must not reach the height of the windowsills. Remove wilted plants and replace them with new ones. Good condition of hedges and flowerbeds must be maintained by removing or eliminating weeds and dirt.
Green waste management according to applicable regulations. Sorting of green waste, removal, cleaning, and disposal of leaves, branches, and plants.
Waste sorting and management (paper, packaging, household waste).
Sorting and management of technical waste (electronic, metal, chemical, oil waste).
Maintenance of trash containers. If necessary, trash containers must be washed and disinfected.
Maintenance of shelters, benches, monuments, sculptures, informational boards, nameplates, and other structures. Periodically remove accumulated snow, water, dust, and other dirt.
Cleaning and maintenance of water bodies.
| Proposed by the Participant | Proposed by the Participant
NOTES:
1. The list of services is indicative and may be specified during the procurement (negotiation) process. If necessary, the Public Entity has the right to withdraw from part of the Services.
2. Services during the contract period must be provided as outlined in the Private entity’s Area and Green Zones Maintenance Service Provision Plan.
3. The service frequency proposed by the Private Entity, periodicity:
| The frequency of services proposed by the Participant in the Area and Green Zones Maintenance Service Provision Plan. The Private Entity, when proposing service periodicity, must additionally specify the expected working hours, during which the service is expected to be provided, as well as other additional conditions. |  | Continuously
1 time per week
3 time per week
5 time per week
7 time per week
1 time a month
2 times per month
1 time a year
2 times per year
4 times per year
According to the need
| If the Participant plans otherwise and/or it is not planned to implement and/or there is no such service/system/area |  | Not implemented
| The participant may propose other service scopes and/or frequencies. |  | Proposed by the Participant
4. Detailed information on service provision and a detailed description of the services, as an annex to this Service Provision Proposal, must be provided in the "Facility creation, Service provision plan" next to the description of the specific service (Area and Green Zone Maintenance Services).

## 5. Municipal services
Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
Facility: | Kairiai military town
Annex to the Terms | Annex 2. Specifications
Supplement | Annex 3. Service specifications
Desktop | 5 worksheet. Municipal services
The Participant proposes the following annual and cumulative energy consumption indicators for the Facility.
Facility | [6 empty] | REMARKS
System/Area | Consumption variables at 100% load. | Annual energy production from renewable energy sources (installed on the land plot). | Annual energy quantities purchased under contracts from centralized city networks. | Annual indicators (actual consumption) | Cumulative indicators for the contract period | Measurement unit
|  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant
Military settlement | Total area of buildings | to be completed by Participant |  |  |  | m2
Military settlement | Total heated area of buildings | to be completed by Participant |  |  |  | m2
1. Heating (HVAC) | Total thermal energy required for heating, ventilation, and cooling of the building’s premises (HVAC) | to be filled by the Participant | to be filled by the Participant | to be filled by the Participant | to be filled by the Participant | kWh
| thermal energy from city networks | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh
| electricity for heating / converted from electricity to thermal energy | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (electricity)
|  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (thermal energy)
| electricity for cooling / converted from electricity to thermal energy | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (electricity)
|  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (thermal energy)
| electricity for ventilation / converted from electricity to thermal energy | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (electricity)
|  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (thermal energy)
| gas for heating / converted from gas to thermal energy | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | m³ (gas)
|  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (thermal energy)
| Thermal energy from... Proposed by the Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh / kWh
2. Hot water | Total calculated normative hot water demand for the Facility | to be filled by the Participant | to be filled by the Participant | to be filled by the Participant | to be filled by the Participant | m3
| Thermal energy (hot water) from city networks | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh
| Electricity for hot water preparation / converted from electricity to thermal energy. | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh / kWh
|  | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (electricity)
| Thermal energy from... (other energy sources, if applicable). Proposed by the Participant) | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh (thermal energy)
3. Electricity. | Total electricity consumption for the Facility | to be filled by the Participant | to be filled by the Participant | to be filled by the Participant | to be filled by the Participant | kWh
| Total electricity demand for building technical equipment (Private entity’s installed building internal engineering systems, other engineering systems, equipment, etc., excluding building premises lighting and HVAC components). | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh
| Electricity consumption for the Facility’s employees’ computers, office equipment, household appliances, telephones, and employees’ electrical equipment | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh
| Total electricity demand for room lighting in buildings | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh
| Total electricity demand for the territory (excluding building engineering systems and building premises lighting) | to be completed by Participant | to be completed by Participant | to be completed by Participant | to be completed by Participant | kWh
NOTES:
1. When submitting the energy consumption indicators in the table "Annual energy production from renewable energy sources," the Participant includes the quantities of energy produced from renewable energy sources installed on the Private entity’s land plot during the contract period (solar modules, solar collectors, geothermal heating, etc.). As an example: Electricity generated from solar modules installed by the Private entity or obtained from another renewable energy source is included in the energy consumption indicator table "Annual energy production from renewable energy sources" and is not accounted for in the energy indicators for which the Public Entity will pay municipal utility fees for the Facility's energy consumption, purchased under contracts from centralized networks.
2. The Participant separately provides the energy demand quantities for "Annual energy quantities purchased under contracts from centralized city networks," i.e., purchased under contracts from centralized city networks (heat and hot water from the city heating networks, electricity from ESO, etc.).
3. If the Participant provides additional energy production sources on the Facility (gas boiler, etc.), a description and the intended system must be additionally provided (Proposed by the Participant)
4. The Participant provides municipal service energy indicators based on design calculations and Specifications. Energy indicators are required by the Public Entity to assess forecasted municipal utility fees and the energy (engineering) system application principles proposed by the Participant for the Military Base.
5. The overall heating (HVAC) system energy indicators must include heating, ventilation, and cooling indicators.

## 6. RĮ
| Project name | Development of a military campus infrastructure in Klaipėda district, Kairiai
| Facility: | Kairiai military town
| Annex to the Terms | Annex 2. Specifications
| Supplement | Annex 3. Service specifications
| Desktop | 6 worksheet. Registration tool services
Code | System/Area | Services | Proposed Solution by the Participant | Proposed service creation cost per year by the Participant (EUR excl. VAT) | Total amount for the contract period (EUR excl. VAT) | REMARKS
|  |  | to be completed by Participant | to be completed by Participant | to be completed by Participant
RĮ | Registration tool | The registration tool must be integrated into the internal Public Entity computer communication network. Its functions must use an intranet connection and separate technical building computer/telephone communication networks. The registration tool is provided by the Private entity and must be updated and maintained for at least the duration of the Contract. If the PS needs to receive faults into its fault registration system, data exchange is carried out through an intermediate server managed by the VS with internet access (provided by the Public Entity).
The Private entity must ensure that the requirements of the World Wide Web Consortium (W3C) are adhered to. (TAPA) World Wide Web Consortium, W3C) recommendations defining the use of website modelling languages. This requirement will be considered met if the W3C Markup Validation Service (http://validator.w3.org) finds no errors (warnings may be present). Users (Registrars) must connect to the tool via a secure (https) protocol. Only authorized and identified users must be allowed to log in. The developed tool must not have vulnerabilities listed in the Open Web Application Security Project (OWASP) Top 10 in the current and previous versions of this document. The tool must meet the cybersecurity requirements specified in the Government Resolution "On the approval of the general electronic information security requirements description, the guidelines for security document content, and the classification of state information systems, registers, and other information systems, and the determination of the importance of electronic information," dated 24 July 2013, No. No. 716, and the Government Resolution "On the approval of the organizational and technical cybersecurity requirements for critical information infrastructure and state information resources," dated 20 April 2016. No. 387). The objectives and scope of the registration tool are provided in the Registration Tool Specification 3.3.3.6.
Registration tool service specifications The Private Entity must register all requests via email and phone in its created Registration Tool. The Private Entity must register all necessary information. The Registration Tool must contain information, including Service violation registration, identification, correction registration, correction evaluation, and reporting, identifying the registrant – who logged into the Registration Tool and made the entry, i.e. the Public Entity, Private Entity, or automatically by the Automatic System (engineering systems automation): Registration of service violations. Registration of service violations, records are made by the Public Entity, Private entity, or automatically by the Automatic system (engineering system automation): • Unique inquiry or notification number; • Date and time of service violation registration; • Name, surname, and contact details of the person registering the service violation (if the person registering the inquiry or notification provides such information) or identification of the automatic system; • Location of the service violation (building, floor, room number); ); • Brief description of the service violation;
Identification of service violations (records are made by the Private entity): • Date and time of service violation identification; • Exact identification of the service violation – specified Code/System/Area; • Exact identification of the service violation – specified location (building, floor, room number); ); • Identification of the service violation, assigning it to a Quality or Functioning violation (KP or FP); • Functional sector affected by the service violation, assigning a level to the Functioning violation (A,B,C,D); • Assigned correction time for the service violation (correction duration, correction date, and time).
Correction and evaluation of service violations (records made by a Private Entity, approved by the Public Entity): • Submission of service violation rectification (description, location, date, time), records are made by the Private Entity; • Confirmation of service violation rectification (Yes/No), records are made by the Public Entity. • Evaluation of service violation rectification, based on the provisions of the Deduction Mechanism.
Correction and evaluation of service violations (records made by a Private Entity, approved by the Public Entity): • Submission of service violation rectification (description, location, date, time), records are made by the Private Entity; • Confirmation of service violation rectification (Yes/No), records are made by the Public Entity. • Evaluation of service violation rectification, based on the provisions of the Deduction Mechanism.
All information must be registered using the Registration tool and stored. The engineering systems and equipment/devices used by the Private Entity must have mutual integration with the Registration Tool through the BMS. Reports on violation registration, rectification, and other progress are generated in the Registration Tool and form part of the monthly report. Information dissemination limits
| Proposed by the Participant | Proposed by the Participant
Total amount:
| NOTES: | 1. The Private entity must respond promptly and eliminate violations as specified in the Deduction mechanism provisions, in Appendix 3 of the Contract – Billing and payment procedure, Supplement 4.
2. Detailed service provision information and a detailed description of the service, as an annex to this Service Proposal, must be provided in the "Facility creation, Service provision plan" alongside the specific Service description (Registration tool service).