TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

  - Buyer – AB "Energijos skirstymo operatorius"

  - Supplier – an economic operator - a natural person, a private legal person, a public legal person, other organisations and their divisions or a group of such persons with whom the Buyer concludes a Contract.

  - Contract – the Contract concluded by the Supplier and the Buyer in respect of the subject-matter of the Procurement.

  - Goods – DMS Alarm and Event SOAP Interface module licences for dispatch management information system ADMS PowerOn Advantage.

  - Services – the services to be provided by the Supplier as specified in clause 3.1 of the Technical Specification.

  - Order – a written document provided to the Supplier on the basis of the Contract by text message, e-mail and/or through the information system specified by the Buyer, indicating the quantities, addresses and timeframe of delivery of Goods.

  - System – ADMS PowerOn Advantage Distribution Management System.

  - Software – ADMS PowerOn Advantage, DMS Alarm and Event SOAP Interface module.

  - Module - DMS Alarm and Event SOAP Interface module.

  - Maintenance Services – services that include support and counselling services.

  - Support Services – actions to maintain the functionality, integrity and availability of a system in accordance with technical conditions and changes.

  - Consultancy Services – advising the Buyer’s representatives on all matters relating to the use, development and operation of the System.

  - Technical Specification – this document and its annexes, which is considered the main document of the Procurement Conditions, setting out the requirements for the subject-matter of the Contract.

  - Advanced Distribution Management System (ADMS) – ADMS PowerOn Advantage Distribution Network Management System.

  - Smart Metering (SM) – smart metering.

  - Smart Metering Information System (SM IS) – smart metering information system.

  - GDPR - General Data Protection Regulation

  - Critical Defect – A complete loss of a mission-critical function or data that prevents the system from operating or ensuring safe working conditions (for people and equipment). It may have a real or potential significant impact on business operations due to safety, data, or system breaches.

  - High-Level Defect – A significant loss of an important function or data that causes system disruptions or degradation. This loss does not prevent the execution of mission-critical operations or the assurance of safe working conditions (for people and equipment). No temporary workaround is available.

  - Medium-Level Defect – A loss of a non-essential function or data, or a discrepancy between expected and actual results, causing inconvenient system disruptions or degradation. All functions critical to system operation and safe working conditions (for people and equipment) remain operation

  - Low-Level Defect – Minor defects that only aesthetically degrade the system’s appearance. There is no disruption or degradation of system operation. All functions critical to system operation and safe working conditions (for people and equipment) remain operational.

- SUBJECT-MATTER OF THE PROCUREMENT

  - The subject-matter of the procurement is DMS Alarm and Event SOAP Interface module software licences and support services for DMS Alarm and Event SOAP Interface module software.

- SCOPE OF THE SUBJECT-MATTER OF THE PROCUREMENT

  - DMS Alarm and Event SOAP Interface module software licences, at a fixed price – 1 set.

  - DMS Alarm and Event SOAP Interface module software support services - 17 pcs. (unit of measure - month).

- PLACE OF PERFORMANCE OF CONTRACTUAL OBLIGATIONS

  - Goods shall be delivered to: Motorų g. 2, Vilnius, Lithuania.

- REQUIREMENTS FOR THE SUBJECT-MATTER OF THE PROCUREMENT

  - Description of the current situation

    - The Buyer currently uses the ADMS PowerOn Advantage system to manage its electricity distribution network.

    - The Customer's company is currently implementing a smart meter deployment project. By the end of 2025, it is planned to install 1.3 million smart meters. Additionally, there is an ongoing project to integrate the SM IS with the existing ADMS PowerOn Advantage. Voltage or phase loss alarms detected by the smart meters will be transmitted to the ADMS, and the ADMS will have the capability to query the smart meter's status and real-time voltage and current measurements. The integration platform is designed to limit the number of queries sent from the ADMS to the meters. Upon reaching or exceeding the set limit, SOAP messages will be sent to the ADMS to alert ADMS users about the threshold query values reached and the need to repeat the query. The DMS Alarm and Event SOAP Interface module software is required in the ADMS system to receive these messages and display alarms in ADMS Alarms window. In the future, there may be a need to transmit other types of alarms to the ADMS.

  - Description of the subject-matter of the procurement

    - Requirements for DMS Alarm and Event SOAP Interface module software licences:

      - The Supplier shall provide a sufficient number of licences to meet these requirements:

        - 2.000.000 customers (meters) in the ADMS network;

        - 500.000 ADMS SCADA points.

      - DMS Alarm and Event SOAP Interface module software licenses shall allow to use the software in the following ADMS environments:

        - Production environment;

        - Development environment;

        - Training environment.

      - The Supplier shall provide software licences, ensuring that they are of unlimited validity.

      - For the supply of licences, the Buyer shall place a licence order. Upon fulfilment of the order by the Supplier, the licences shall be delivered to the Buyer and duly handed over by signing a deed of handover – acceptance. All the necessary documentation relating to the licences shall be transferred at the same time.

    - The DMS Alarm and Event SOAP Interface module software support services shall meet the following requirements:

      - The service object is the DMS Alarm and Event SOAP Interface module software, installed according to a separate development order and specified requirements.

      - The purchased Support services commence after a separate service order.

      - The Support services procured shall be provided in accordance with the standard software manufacturer's support terms and conditions (Annex 1 Distribution management system maintenance and support services description).

    - Requirements for the functionality of the DMS Alarm and Event SOAP Interface module:

      - The DMS Alarm and Event SOAP Interface module must receive SOAP messages and generate alarms in real-time within the ADMS system.

      - It must be possible to freely configure the generated alarms.

    - The Goods procured shall comply with all legal requirements for such Goods.

  - Requirements for the provision of the Maintenance Services

    - After installing DMS Alarm and Event SOAP Interface module, the System shall operate in a reliable manner, meet IT security requirements and be restored in case of a disturbance within the time limits specified in point 5.3.4 of the Technical Specification (Response and Defects Resolution Time). All the actions of the Service Provider related to the Maintenance Service shall be carried out only upon coordinating with the Client.

    - DMS Alarm and Event SOAP Interface module Maintenance Service shall be provided on working days from 07:30 to 16:30. By a written agreement of the Parties, DMS Alarm and Event SOAP Interface module Maintenance Services may also be provided during non-working hours of the Client and the Service Provider, without applying any additional conditions of payment for the respective Service.

    - In the case of critical defects of the DMS Alarm and Event SOAP Interface module, the Maintenance Service shall be provided 24 hours a day, 7 days a week (Emergency 24/7).

    - The Reaction and DMS Alarm and Event SOAP Interface module Defects Resolution Time specified in Table No 1:

Table No. 1

| No | Defect | Response time (during System Maintenance hours) | Resolution time (during System Maintenance hours) |
| --- | --- | --- | --- |
| 1. | Critical | Not more than 30 (thirty) minutes from the moment of the Client’s notice. | Not more than 4 (four) working hours from the moment of the submission of the Client’s notice of the System defect. |
| 2. | High | Not more than 2 (two) working hours from the moment of the submission of the Client’s notice. | Not later than the next working day from the moment of the submission of the Client’s notice of the System defect. |
| 3. | Average | Not more than 1 (one) working day from the moment of the submission of the Client’s notice. | Not more than 5 (five) working days from the moment of the submission of the Client’s notice of the System defect. |
| 4. | Low | Not more than 5 (five) working days from the moment of the submission of the Client’s notice. | Not more than 10 (ten) working days from the receipt of the Client’s notice of the System defect. |

    - In separate cases, when large-scope source code change work is required or for ’Average’  and ‘Low’ defects or for defects with workaround provided by the Service Supplier, the Service Provider and the Client can agree in writing on other time limits for the resolution of the DMS Alarm and Event SOAP Interface module defect. The time limits should be based on mutually agreed level of severity for both parties and shall be justified and logical. If the Client, taking into account the level of inconvenience caused to the Customer, disagrees with a time limit for the resolution of a specific DMS Alarm and Event SOAP Interface module defect proposed by the Service Provider, the time limit specified in point 5.3.4 shall apply.

  - Information security requirements for Service provision:

    - Table 2 lists the information security requirements.

Table 2

- The Service Provider’s information security shall be managed in accordance with ISO 27001 (or equivalent). - The Service Provider shall have an approved information security policy or equivalent document. - Software updates or configuration changes shall not reduce the level of security of the System. - As long as maintenance and support services are contracted by Customer with Service Provider, the Service Provider shall be obliged to make Software Updates available to the Customer. - Access to Customer information, IT (Information technology) and OT (Operational technology) systems shall be granted using Ignitis Group's electronic identification and authentication tools. The Service Provider undertakes to ensure that the login data provided is not passed on to unauthorised persons. - Access to the System shall be granted to the Service Provider in accordance with the Ignitis Group's access rights management process. - The Service Provider's workstations connecting to the System shall be protected against malware using antivirus software. - The Service Provider shall be responsible for the actions of its own employees and third parties (subcontractors) in relation to the information provided by the Customer, information or technological process management systems. - The Service Provider shall be responsible for ensuring that only authorised (on an approved list) employees or subcontractors are granted access to the System. - Customer data may not be passed on to any third party without a Customer’s written permission. - The Parties agree to handle any personal data in accordance with the data process agreement. - The Service Provider undertakes to inform the Customer of any confirmed information security breaches within 72 hours. - The Service Provider shall be responsible for safety incidents caused by actions of its employees and third parties. - The Service Provider shall have instructions for the use of e-mail, the Internet, computers and other information resources. - The Service Provider shall have an approved security incident management procedure covering the provision of the Services. - The Parties agree to comply with legal requirements for data protection in accordance with GDPR requirements. - Upon provision of reasonable notice to the Service Provider, and only (i) following a confirmed Cyber Security Incident; (ii) following a discovery or reasonable suspicion by Customer that the Service Provider is not in compliance with the Agreement's cybersecurity requirements; or (iii) as required by a regulator or government body, after both parties have agreed to a scope and agenda, Buyer may conduct an information security assessment of the Service Provider to be conducted on-site at a Service Provider facility involved in the performance of this contract. The scope of the assessment shall be limited to (i) those Service Provider systems that are dedicated to the Processing of Customer's Confidential Information provided to the Service Provider for the performance of this contract and do not Process other customers' Confidential Information; (ii) those Service Provider systems that are located at a Service Provider site and managed by Service Provider personnel; and (iii) those practices, policies, procedures relevant to the performance of this Agreement that are not considered Service Provider Confidential, or for those relevant practices, policies and procedures that are Service Provider Confidential, a summary only. Results of the assessment shall be considered and treated as Service Provider Confidential, and shall only be used to assess Service provider’s compliance with applicable security policies and procedures as specified in this Agreement. Remediation of any findings shall be at the sole discretion of the Service Provider within a reasonable period of time.These requirements shall apply equally to all sub-delivery organisations of the Service Provider.

- PROCEDURE AND DEADLINES OF DELIVERY OF GOODS

  - The Goods shall be purchased and/or Services shall be supplied on the basis of individual Orders of the Buyer during the period of validity of the Contract.

  - Orders shall be placed with the Supplier by e-mail specified in the Contract.

  - The Supplier shall deliver Goods or provide Services to the addresses specified in Section 4 of the Technical Specification (or another specific address specified in the Order) during the Buyer’s working hours (I-IV 7:30 a.m. to 4:30 p.m., V 7:30 a.m. to 3:15 p.m.), except for critical cases. In critical defect cases, the Services shall be provided 24/7.

  - The Supplier undertakes to deliver Licenses no later than within 10 (ten) business days after the Order has been placed and confirmed by Service Provider.

  - The Goods shall be handed over by signing a deed of handover – acceptance, which shall be coordinated within 5 (five) business days. The deed of handover – acceptance shall be accompanied by a document confirming the purchase of the Licences.

  - The Buyer has hired UAB Ignitis Grupės Paslaugų Centras (Ignitis Group Service Centre) to provide IT functions, and therefore, in some or all cases, cooperating with this party shall be necessary for Service provision.

- TERMS OF PAYMENT

  - the Buyer shall pay the Supplier for actually delivered Goods of good quality, after the parties have signed a deed of hand-over – acceptance of Goods, within 30 (thirty) calendar days from the date of receipt of the Invoice.

  - DMS Alarm and Event SOAP Interface module software support services are invoiced quarterly in advance and paid within 10 (ten) calendar days of receipt of invoice. Software support services for the DMS Alarm and Event SOAP Interface module are ordered as needed.

- ANNEXES

  - The annexes to the Technical Specification are intended to evaluate the technical aspects of the supplier's tenders, to supplement and clarify the requirements of the Technical Specification and are binding in so far as they do not conflict with the Technical Specification. The Technical Specification and its Annexes are collectively referred to as the “Technical Specification”, unless indicated otherwise.

  - Annex 1 Standard Software Manufacturer's Maintenance and Support Conditions.

  - All Annexes shall be considered an integral part of the Technical Specification.