## LoIN
Komponento pavadinimas pagal NSIK klasifikatorių | Klasifikatoriai |  |  |  |  | Pavadinimas | Elemento aprašymas | Modeliuojamų elementų pavyzdžiai | IFC tipas | Pastabos | Pateikiama informacija | [7 empty] | PROJEKTO DALIS
| Funkcinės sistemos kodas - ClassificationSystem.NSIK LF arba „NSIK LF“ klasifikatorius | Techninės sistemos kodas - ClassificationSystem.NSIK LT arba „NSIK LT“ klasifikatorius | Komponento kodas - ClassificationSystemNSIK LK arba „NSIK LK“ klasifikatorius | Erdvės kodas - ClassificationSystem.NSIK B arba „NSIK B“ klasifikatorius | Statinio kodas - ClassificationSystem.NSIK E arba „NSIK E“ klasifikatorius | [5 empty] | Ts3 modeliai LOD, LoG | Atributas arba Savybių rinkinys.Pavadinimas | Atributo ar savybės aprašymas | IFC duomenų tipas | Duomenų tipas | Vertės pavyzdžiai | Leidžiamos reikšmės | Pastabos
LE: Elektrotechnika. Lauko tinklai | [10 empty] | 200
Korpusas | K | HG | UCA |  |  | Korpusas (skydelis) | Gaubtas, skirtas mechanizmams ar jų dalims apsaugoti nuo išorinio poveikio bei užtikrinti žmonių saugumą (taip pat ir nuo kontakto su elektros srove). | elektros spinta, elektros skydelis, sensorių dėžutė, prietaisų dėžė, saugos dėžutė, skydinė, montavimo dėžė, Elektros spinta, spintelė, Apskaitos skydas, paskirstymo skydelis, Tranzitinis skydas, kolektorių spintelė, Kabelių skydas, Centralė |  |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Šulinys | K | HG | XMC |  |  | Požeminė kamera | Uždara kamera, skirta srauto jungtims ar kitoms svarbioms vietoms po žeme. | Apžiūros šulinys, kamera, valymo šulinys, Kabelių kamera, Inspektavimo šulinys, komunikacijų šulinys, perkritimo šulinys, inspektavimo šulinys | IfcFlowTerminal, IfcFlowTerminalElementType, IfcFlowTerminalElementTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Stulpas | K | HG | UBD |  |  | Tinklo informacinio ženklo laikiklis | Vertikalus komponentas, daugiausia veikiamas vertikaliai žemyn nukreiptų gniuždymo jėgų. Skirtas laikyti kitą objektą fiksuotoje vertikalioje padėtyje. | Sargelio stovas, stulpas, Informacinio ženklo stovas, elektros bokštas, stiebas, Atraminis laikiklis, elektros pilonas | IfcColumn, IfcColumnType |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.IsExternal | Indication whether the element is designed for use in the exterior (TRUE) or not (FALSE). If (TRUE) it is an external element and faces the outside of the building. |  | Boolean
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | The length of the object. |  | Real
[12 empty] | Pset_QuantityTakeOff.Width | The width of the object. Only given, if the object has constant thickness (prismatic). |  | Real
[12 empty] | Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
[12 empty] | JUDU.Colour | [[Colour]] of this object. |  | String
[12 empty] | JUDU.Finish | [[Description]] of the (surface) finish of the object for informational purposes. |  | String
JUDU.Material
Korpusas | K | HG | UCA |  |  | Korpusas (skydelis) | Gaubtas, skirtas mechanizmams ar jų dalims apsaugoti nuo išorinio poveikio bei užtikrinti žmonių saugumą (taip pat ir nuo kontakto su elektros srove). | Centralė, elektros spinta, elektros skydelis, sensorių dėžutė, prietaisų dėžė, saugos dėžutė, skydinė, montavimo dėžė, Elektros spinta, spintelė, Apskaitos skydas, paskirstymo skydelis, Tranzitinis skydas, kolektorių spintelė, Kabelių skydas, Apšveitimo skydas |  |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Smūginė apsauga | K | JK | FNB |  |  | Aukštos ir vidutinės įtampos elektros kabelio mechaninė apsauga | Komponentas, kurio pagrindinė funkcija – apsaugoti nuo smūginės jėgos, ją sugerti, slopinti. | Apsauginis gaubtas, apsauginis sluoksnis, apsauginė plokštė, atmuštas, durų atmušas, kabelių apsauga, kabelių kanalas, kabelių lovys, kampų apsauga, parkavimo atmušas, ratų atmušas | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Smūginė apsauga | K | HG | FNB |  |  | Žemos įtampos elektros kabelio mechaninė apsauga | Komponentas, kurio pagrindinė funkcija – apsaugoti nuo smūginės jėgos, ją sugerti, slopinti. | Apsauginis gaubtas, apsauginis sluoksnis, apsauginė plokštė, atmuštas, durų atmušas, kabelių apsauga, kabelių kanalas, kabelių lovys, kampų apsauga, parkavimo atmušas, ratų atmušas | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
| K | JK |  | DCB |  | Aukštos ir vidutinės įtampos elektros kabelių trasos apsaugos zona |  |  | IfcSpace, IfcSpaceType |  | LoG 2 | [7 empty] | LE
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Pset_QuantityTakeOff.Width | The width of the object. Only given, if the object has constant thickness (prismatic). |  | Real
| K | HG |  | DCB |  | Žemos įtampos elektros kabelių trasos apsaugos zona |  |  | IfcSpace, IfcSpaceType |  | LoG 2 | [7 empty] | LE
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Pset_QuantityTakeOff.Width | The width of the object. Only given, if the object has constant thickness (prismatic). |  | Real
Įžeminimo elektrodas | %P20 | HG | XEE |  |  | Įžeminimo elektrodas | Potencialo jungiamasis komponentas, sudarantis elektrinį kontaktą su žeme. | Įžeminimo juosta | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Įžeminimo kabelis | %P20 | HG | WEB |  |  | Įžeminimo kabelis | Atraminio potencialo nukreipimo komponentas, skirtas žemės atraminiam potencialui nukreipti kabeliu. |  | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Įžeminimo šyna | %P20 | HG | XEF |  |  | Įžeminimo šyna | Potencialo jungiamasis komponentas, jungiantis žaibo ėmiklį su elektros grandine | Įžeminimo kolektorius | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Įžemiklis | %P20 | HG | QCA |  |  | Įžemiklis | Elektrinio įžeminimo komponentas, skirtas elektros grandinėms su žeme sujungti. | Įžeminimo skyriklis | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Korpusas | Q | %HH10 | UCA |  |  | Sklypo apšvietimas. Korpusas (skydelis) | Gaubtas, skirtas mechanizmams ar jų dalims apsaugoti nuo išorinio poveikio bei užtikrinti žmonių saugumą (taip pat ir nuo kontakto su elektros srove). | elektros spinta, elektros skydelis, sensorių dėžutė, prietaisų dėžė, saugos dėžutė, skydinė, montavimo dėžė, Elektros spinta, spintelė, Apskaitos skydas, paskirstymo skydelis, Tranzitinis skydas, kolektorių spintelė, Kabelių skydas, Centralė |  |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Šulinys | Q | %HH10 | XMC |  |  | Sklypo apšvietimas. Požeminė kamera | Uždara kamera, skirta srauto jungtims ar kitoms svarbioms vietoms po žeme. | Apžiūros šulinys, kamera, valymo šulinys, Kabelių kamera, Inspektavimo šulinys, komunikacijų šulinys, perkritimo šulinys, inspektavimo šulinys | IfcFlowTerminal, IfcFlowTerminalElementType, IfcFlowTerminalElementTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Lauko šviestuvas | Q | %HH10 | %UAC10 |  |  | Šviestuvas | Pozicionuojantis komponentas šviesos šaltiniui (lempai, žvakei ir kt.) pritvirtinti lauko erdvėse. | išorės apšvietimo stulpas, Gatvės šviestuvas, pėsčiųjų tako apšvietimo stulpas, lauko stadiono apšvietimo kolona, kelio apšvietimo stulpas, Tako šviestuvas, oro uosto lauko apšvietimas, Dekoratyvinis sklypo šviestuvas | IfcLightFixture, IfcLightFixtureType | Šviestuvas ir jo stiebas yra atskiri eleemntai | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
| Q | %HH10 | %UAC1010 |  |  | Šviestuvas su stiebu |  | Gatvės šviestuvas, Tako šviestuvas, Dekoratyvinis sklypo šviestuvas | IfcLightFixture, IfcLightFixtureType | Šviestuvas ir jo stiebas yra vienas gaminys | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Stulpas | Q | %HH10 | UBD |  |  | Šviestuvo stiebas | Vertikalus komponentas, daugiausia veikiamas vertikaliai žemyn nukreiptų gniuždymo jėgų. Skirtas laikyti kitą objektą fiksuotoje vertikalioje padėtyje. | stulpas, Šviestuvo stiebas su konsole, elektros bokštas, stiebas, Šviestuvo stiebas, Atraminis laikiklis, elektros pilonas | IfcColumn, IfcColumnType |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Kolona | Q | %HH10 | ULD |  |  | Šviestuvo pamatas | Tiesios ar kreivos linijos formos konstrukcinis laikantis komponentas, daugiausia perduodantis gniuždymo jėgas kitiems konstrukciniams objektams. | montuojama kolona, stulpas, Balustra, betonuojama kolona, monolitinė kolona, statramstis, viaduko kolona, tilto pilonas, gniuždomas elementas, užbetonuotas vamzdis, gniuždoma komponentas, kolona pamatas, kompozitinė kolona, tauras, tilto tarpinė atrama, Pamatas, tilto kolona | IfcPile, IfcPileType |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
Smūginė apsauga | Q | %HH10 | FNB |  |  | Apšvietimo tinklo elektros kabelio mechaninė apsauga | Komponentas, kurio pagrindinė funkcija – apsaugoti nuo smūginės jėgos, ją sugerti, slopinti. | Apsauginis gaubtas, apsauginis sluoksnis, apsauginė plokštė, atmuštas, durų atmušas, kabelių apsauga, kabelių kanalas, kabelių lovys, kampų apsauga, parkavimo atmušas, ratų atmušas | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | LE
[12 empty] | Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | A reference number to an external contract technical specification section describing either (a) minimum performance requirements of a given IfcProductType/[[IfcProduct]] or (b) a preselection for a specific IfcProductType/[[IfcProduct]] made for this project. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Type | Defines the allowed values for selection of the flow meter operation type. |  | String
| Q | %HH10 |  | DCB |  | Apšvietimo tinklo instaliacijos erdvė ar inžinerinis koridorius |  |  | IfcSpace, IfcSpaceType |  | LoG 2 | [7 empty] | LE
[12 empty] | Pset_ElementComponentCommon.Status | [[Status]] of the element, predominately used in renovation or retrofitting projects. The status can be assigned to as 'New' - element designed as new addition, 'Existing' - element exists and remains, 'Demolish' - element existed but is to be demolished, 'Temporary' - element will exists only temporary (like a temporary support structure). |  | String
[12 empty] | Pset_QuantityTakeOff.Area | Calculated area for the object. |  | Real
[12 empty] | Pset_QuantityTakeOff.Width | The width of the object. Only given, if the object has constant thickness (prismatic). |  | Real
| Q | %HH10 |  | %DCB1001 |  | Apšvietimo tinklo aptarnavimo erdvė |  |  | IfcSpace, IfcSpaceType |  | LoG 2 | [7 empty] | LE