Annex 4 to market consultation

Criteria for assessing cost-effectiveness

- Criteria for evaluating tenders:

| Ser. No | Evaluation criteria | Comparative weighting of criteria in the cost-effectiveness assessment |
| --- | --- | --- |
| 1. | First criterion - Price (C) | X=90 |
| 2. | Second criterion - Warranty period for controllers (T) | Y =10 |

  - The cost-effectiveness (S) shall be calculated by summing the points of the tenderer's proposal price C and of other criteria (T):

.

  - The points of the proposal price (C) shall be calculated by multiplying the ratio of the lowest proposal price (Cmin) to the evaluated proposal price (Cp) by the comparative weight of the price (X):

.

    - The price of the evaluated proposal (Cp) shall be calculated by adding to the tenderer's proposal price for the installation, maintenance of traffic light control software and supply of intersection controllers (EUR, incl. VAT) the additional costs to be incurred by the contracting authority for the expansion of the size of the storage. The additional costs to be incurred by the contracting authority for the expansion of the storage capacity shall be assigned directly in the following order:

| ## The size in terabytes (TB) of the storage required for the software and data shall be specified by the tenderer | ## Additional costs to be incurred by the contracting authority for expanding the size of the storage facility, EUR |
| --- | --- |
| ## From 5 TB and more | ## 36 000,00 |
| ## From 4 TB to less than 5 TB | ## 30 000,00 |
| ## From 3 TB to less than 4 TB | ## 24 000,00 |
| ## From 2 TB to less than 3 TB | ## 18 000,00 |
| ## Between 1 TB and less than 2 TB | ## 12 000,00 |
| ## Less than 1 TB | ## 6 000,00 |

    - The tenderer shall indicate in the tender form (Annex 5 to the market consultation) the size in terabytes (TB) of the storage required for the implementation of the proposed software with the storage and transfer of traffic flow data at least 2 years old. The storage capacity indicated in the tenderer's proposal must be sufficient for the duration of the contract.

    - If the tenderer does not specify the size of the storage required for the software and the data storage, or specifies more than one value, the maximum size of the storage will be considered as proposed and a maximum cost of EUR 36 000,00 will be added to the tenderer's total price (in EUR, incl. VAT) as indicated in the tender form.

  - The points for the second criterion - Warranty period for controllers (T), shall be assigned in the following order:

| Warranty period for controllers (T) proposed by the tenderer | Cost-effectiveness points to be awarded for this criterion, Y |
| --- | --- |
| 60 months | 0 |
| 72 months | 5 |
| 84 months and over | 10 |

    - The proposal in tender form (Annex 5 to the market consultation) shall indicate the proposed warranty period in months. If the tenderer does not indicate the proposed warranty period for the controllers or indicates more than one value, the minimum warranty period for controllers (60 months) will be considered as offered and 0 points will be awarded for the criterion 'Warranty period for controllers (T)'.

  - The cost-effectiveness points obtained by the tenderers will be recalculated if the tenderer's tender with the best value for a parameter identified during the procurement process has been compared with the values of the parameters of other tenderers:

    - is rejected;

    - the tenderer withdraws his proposal;

    - the tenderer refuses to award the contract;

    - the tenderer fails to provide a document securing the fulfilment of the contract specified in the procurement documents (if required) or does not fulfil other conditions for its entry into force specified in the procurement contract.

  - The criteria points are rounded to two (2) decimal places.

  - In cases where cost-effectiveness of several tenderers is the same, the tenderer whose tender is submitted earliest shall be placed first in the ranking of tenders.