## Avarinio remonto
A. The component prices for the procurement object—emergency repair work on the gas transmission system—are as follows:
No. | NAMES OF THE PROCUREMENT OBJECT AND COMPONENTS | DN 50 | DN 80 | DN 100 | DN 150 | DN 200 | DN 250 | DN 300 | DN 350 | DN 400 | DN 500 | DN 700 | DN 800 | DN 1000 | DN 1200 | DN 1400
1 | Disassembly and/or assembly (welding) of gas pipeline inserts, including excavation and/or backfilling, demagnetization of pipelines (as required), inspection of welded joints using physical control methods, insulation of installed pipes and/or welded joints, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of AG), supplying materials (except for insulated pipes), mobilizing work equipment and workers to the work site, restoring drainage and/or other damaged communications and infrastructure, submission of geodetic photographs, acts, certificates, and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers, and/or third parties (if any) for the first welded seam*
1.1. | Disassembly and/or assembly (welding) of gas pipeline inserts, including excavation and/or backfilling, demagnetization of pipelines (as required), inspection of welded joints using physical control methods, insulation of installed pipes and/or welded joints, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), supply of materials (except for insulated pipes), mobilization of work equipment and personnel to the work site, restoration of drainage and other damaged communications and amenities, geodetic photographs, acts, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any), for the second and additional welded seams*²
2 | Disassembly and/or assembly (welding) of gas pipeline insulating couplings, including excavation and/or backfilling, demagnetization of pipelines (as required), inspection of welded joints using physical control methods, insulation and/or painting of installed insulating joints and/or welded seams, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), supply of materials (except for insulating joints), mobilisation of work equipment and personnel to the work site, testing the tightness of insulating joints (prior to installation work), restoration of drainage and/or other damaged communications and amenities, submission of geodetic photographs, reports, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any) for the welding of one insulating joint*
3 | Disassembly and/or assembly (welding) of steel reinforcement joints, including excavation and/or backfilling, inspection of the MDV wall surface and inspection of welded areas using physical control methods (before work), inspection of welded joints using physical control methods, pneumatic (nitrogen) testing of welded steel reinforcement joints (if necessary), insulation of installed steel reinforcement joints, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), supply of materials (except for steel reinforcement sleeves), mobilization of work equipment and personnel to the work site, restoration of drainage and other damaged communications and infrastructure, geodetic photographs, acts, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any) for the welding of one steel reinforcement joint*
4 | Steel gas leak repair coupling and its installation (welding) works, including excavation and backfilling, inspection of the MDV wall surface and inspection of welded areas using physical control methods (before works), inspection of welded joints using physical control methods, pneumatic (nitrogen) testing of welded steel gas leak repair couplings (if necessary), insulation of installed steel gas leak repair couplings, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), supply of materials (except for steel gas leak repair couplings), mobilisation of work equipment and personnel to the work site, restoration of drainage and other damaged communications and amenities, geodetic photographs, acts, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any) for the welding of one steel gas leak repair coupling*
5 | Dismantling (disposal) and/or installation of anchors (concrete or sand), including excavation and/or backfilling, supply of materials (except anchors), obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), mobilization of work equipment and personnel to the work site, restoration of drainage and/or other damaged communications and amenities, submission of geodetic photographs, acts, certificates, and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers, and/or third parties (if any) per unit*
6 | Dismantling and/or installation (open method) of gas pipeline protective casing, including installation of a candle (by welding) and restoration of foundations, excavation and/or backfilling of casing, obtaining necessary permits or approvals for the work (internal and external institutions or agencies of the AG), supply of materials (except for uninsulated pipes), mobilization of work equipment and workers to the work site, testing of the tightness of the protective cover (in cases where a new cover is installed), restoration of drainage and/or other damaged communications and amenities (except roads), execution of geodetic photographs, geodetic photographs, acts, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any) per meter*
7 | Dismantling and/or installation of gas pipeline protective casing ends, including excavation and/or backfilling, insulation work, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), supply of materials, mobilisation of work equipment and personnel to the work site, restoration of drainage and/or other damaged communications and amenities, submission of geodetic photographs, acts, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any), repair of one side (end of the cover)*
8 | Welding of a technological flange onto an operating main gas pipeline, including excavation and backfilling, inspection of the MDV wall (before work) and welded technological flange joints using physical control methods, insulation of the technological flange and MDV, obtaining the necessary permits or consents for the work (from internal and external institutions or agencies of the AG), supply of materials (except for the technological flange), mobilization of work equipment and personnel to the work site, restoration of drainage and other damaged communications and amenities, submission of geodetic photographs, acts, certificates, and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers, and/or third parties (if any) for the welding of one technological flange. *
9 | Installation or removal and/or installation (by welding) of MD shut-off devices (ball, wedge, plug, etc.), including excavation and/or backfilling, demagnetization of pipelines (as required), inspection of welded joints using physical control methods, MDV and/or insulation of welded seams and/or pipes, restoration of the condition of the shut-off device foundation, valve platform, drainage and/or other damaged communications, obtaining the necessary permits or approvals for the work (from internal and external institutions or agencies of the AG), supply of materials (except for the shut-off device), mobilization of work equipment and workers to the work site, geodetic photographs, acts, certificates and other documents in accordance with clause X of the agreement, payment of compensation for damage caused by the work to land owners, trustees, managers and/or third parties (if any) for one replacement/welding of the closure device*/***
ADDITIONAL WORK
10 | Excavation and backfilling works per 1 m3 of soil**
11 | MDV re-insulation work (including insulation materials), price per 1 meter**
12 | Bending of steel pipes (various diameters) using a cold bending process, price per pipe insert up to ~24 meters**
13 | Construction and dismantling of an access road to the work site (as needed) in marshy terrain, price per 1 meter **
14 | Gravel and sand mixture or sand for filling gas pipelines or constructing roads and yards, including delivery, price per 10 m3
15 | Price for 10 m3 of crushed construction waste for road construction, including delivery
16 | Crushed stone (fraction to be agreed with the purchasing entity) for site preparation with delivery, price per 10 m3
17 | Transportation of soil to land owners, trustees, managers and/or third parties (if any) or disposal with removal, per 10 m3
18 | Use of needle filters (50 needles, collector, pump, suction pump with pipe and elbow) with delivery, price per set /24 hours**
19 | Organization of traffic closure, installation of detours, obtaining the necessary permits or approvals for the work (materials, installation of detours, dismantling, cleaning up and restoration), price per 1 meter**
20 | Welding of steel pipes, bends, induction elbows, blind flanges for mechanical strength and tightness testing (with water, drying after testing), with delivery of materials from the location specified by the Customer (Vilnius/Kaunas/ Panevėžys) and delivery of materials to the workplace (or as specified by the Customer) after testing, price per pipe insert up to ~12 meters**
21 | Welding of steel pipes, bends, induction elbows, spherical blind flanges at the contracting entity's site (Vilnius, Panevėžys), per welded seam **
22 | Preparation of cadastral files, coordination (with the client and external institutions or agencies) and registration with the Registry Center, price per 1 meter
23 | Reconstruction of the closure device site (delivery of soil, leveling of the layer, compaction, covering with HDPE geomembrane and non-woven material, filling with washed crushed stone layer, and restoration of the site fence) with materials and delivery per 1 m2
MATERIALS
24 | Insulated steel pipe, price per 1 meter**
25 | Non-insulated steel pipe for casing, price per 1 meter**
26 | Supply of steel spherical plugs (plug) per 1 unit. **
27 | Steel reinforcement coupling, 1 pcs. **
28 | Steel gas discharge coupling, 1 pcs.
29 | Technological flange (flange, blind flange, gasket, bolts, washers) per 1 set**
30 | Concrete anchors (including fastening straps/clamps and protective cover) per 1 unit.
31 | Sand anchors, 1 pcs.
32 | Other unforeseen repair or emergency repair works may be required, the cost (rates) of which are not specified in Table 1 of the proposal.
TOTAL AMOUNT (EUR) for 1 - 32 points"
* - when performing work in a wetland area, a coefficient of k=1.5 will be applied to the specified rate (a wetland area is a wetland that is marked and labeled on Lithuanian maps);
*² - starting from the third and additional welded joints, at a single work site or when work sites are located more than 500 meters apart, a coefficient of k=0.5 will be applied.
** - works and materials may be ordered together with the works being ordered or separately without performing the works;
Notes: | 1) Prices are indicated in the offer, leaving two digits after the decimal point.
2) the total price must correspond to the sum of its constituent parts.
3) in cases where the Contractor is not required to pay VAT under applicable law, it shall not fill in the relevant sections and shall indicate the reasons for not paying VAT.
4) The Contracting Entity does not undertake to pay the winning Contractor the specified amount during the term of the contract; this amount will be used only for the evaluation of bids. The winning Contractor will be paid only for the actual quantity.
5) Insert – a continuous pipe section between two welds (e.g., from 1 to 12 m).
6) When insulating pipe joints, ensure that the maximum possible distance from the weld seam does not exceed 1.00 m.
7) All other possible unforeseen repair or emergency repair works, the cost (rates) of which are not specified in the 1st procurement object, must be agreed in advance in writing with the Contracting Entity.
8) Additional work – work that is not included in the scope of the main order and is not paid for under the main order.
9) Gray fields are not filled in.