COMPARISON TABLE OF CONFORMITY OF THE GOODS WITH THE REQUIREMENTS OF THE TECHNICAL SPECIFICATION

(TO BE COMPLETED)

| No. | Technical parameters of the goods referred to in the technical specification |  |  | Technical characteristics of the offered goods (model) | Tender documents confirming the technical characteristics of the offered goods |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Point lasers Pont lasers |  |  |  | Name of the document (To be completed) | Tender page number (To be completed) |
| 1.1. | Quantity | not less than 2 (two) |  | (Insert) | (Insert) | (Insert) |
| 1.2. | Data sampling frequency | not less than 32 kHz |  | (Insert) | (Insert) | (Insert) |
| 1.3. | Measurement range | not less than 200 mm |  | (Insert) | (Insert) | (Insert) |
| 1.4. | Environmental protection class according to IP | not less than IP65 |  | (Insert) | (Insert) | (Insert) |
| 2. | Accelerometers |  |  |  |  |  |
| 2.1 | Quantity |  | not less than 2 (two) | (Insert) | (Insert) | (Insert) |
| 2.2 | Measurement range |  | not less than ± 4 G | (Insert) | (Insert) | (Insert) |
| 2.3 | Environmental protection class according to IP |  | not less than IP65 | (Insert) | (Insert) | (Insert) |
| 3. | Distance measuring device |  |  |  |  |  |
| 3.1. | Resolution |  | not less than 2000 pulses per revolution | (Insert) | (Insert) | (Insert) |
| 3.2. | Environmental protection class according to IP |  | not less than IP65 | (Insert) | (Insert) | (Insert) |
| 4. | Front view camera |  |  |  |  |  |
| 4.1. | Quantity |  | not more than 1 (one) | (Insert) | (Insert) | (Insert) |
| 4.2. | Resolution |  | not less than 1,4 MP, or not less than 1360x1024 px | (Insert) | (Insert) | (Insert) |
| 4.3 | Image format |  | 4:3 or 16:9. | (Insert) | (Insert) | (Insert) |
| 4.4 | Frames per second |  | not less than 30 FPS at full resolution | (Insert) | (Insert) | (Insert) |
| 5. | Geographic positioning equipment |  |  |  |  |  |
| 5.1. | Satellite system type |  | GPS, GLONASS or equal | (Insert) | (Insert) | (Insert) |
| 5.2. | Signal reception |  | GPS L1/L2, GLONASS L1/L2 or equivalent | (Insert) | (Insert) | (Insert) |
| 5.3. | Signal receiving channels |  | not less than 220 (two hundred and twenty) | (Insert) | (Insert) | (Insert) |
| 5.4. | Position update rate |  | not less than 10 Hz | (Insert) | (Insert) | (Insert) |
| 5.5. | Position correction service |  | DGPS or xFill or RTK | (Insert) | (Insert) | (Insert) |
| 5.6. | Correction receiving/broadcasting formats |  | CMR and/or RTCM or equivalent | (Insert) | (Insert) | (Insert) |
| 5.7. | Position determination horizontal accuracy |  | 30 cm or better | (Insert) | (Insert) | (Insert) |
| 5.8. | Position determination vertical accuracy |  | 50 cm or better | (Insert) | (Insert) | (Insert) |