Pirkimo dokumentų

2 priedas

PASIŪLYMAS

DĖL PREKĖS PIRKIMO

____________________

(Data)

____________________

(Vieta)

| Pardavėjo pavadinimas |  |
| --- | --- |
| Pardavėjo registracijos adresas |  |
| Pardavėjo buveinės adresas |  |
| Įmonės kodas |  |
| PVM mokėtojo kodas |  |
| Už pasiūlymą atsakingo asmens pareigos vardas, pavardė, |  |
| Telefono numeris |  |
| Fakso numeris |  |
| El. pašto adresas |  |
| Atsiskaitomosios sąskaitos numeris |  |
| Bankas (banko pavadinimas) |  |
| Banko kodas |  |
| Sutartį pasirašančio asmens pareigos, vardas, pavardė (jeigu sutartį pasirašys ne įmonės direktorius bus reikalingas įgaliojimas) |  |
| Už sutarties vykdymą asmens pareigos, vardas, pavardė |  |
| Telefono numeris |  |
| El. pašto adresas |  |

INFORMACIJA APIE SUBTIEKĖJUS

(pildoma, jei tiekėjas pasitelkia subtiekėjus)

/Pastaba. Pildoma, jei tiekėjas ketina pasitelkti  subtiekėją (-us), ar subteikėją (-us)/

| Subtiekėjo (-ų) ar subteikėjo (-ų) pavadinimas (-ai) |  |
| --- | --- |
| Subtiekėjo (-ų) ar subteikėjo (-ų) adresas (-ai) |  |
| Įsipareigojimų dalis (procentais), kuriai ketinama pasitelkti subtiekėją (-us) ar subteikėją (-us) |  |

Pateikdami šį pasiūlymą, mes sutinkame su visomis konkurso sąlygomis, pirkimo dokumentuose ir jų prieduose pateiktais reikalavimais.

Taip pat patvirtiname, kad visa mūsų pasiūlyme pateikta informacija yra teisinga ir kad mes nenuslėpėme jokios informacijos, kurią buvo prašoma pateikti pirkimo dokumentuose. Taip pat patvirtiname, kad nedalyvavome rengiant pirkimo dokumentus, nesame susiję su jokiu kitu šiame konkurse dalyvaujančiu tiekėju (įmone) ar kita suinteresuota šalimi.

Suprantame, kad išaiškėjus aukščiau nurodytoms aplinkybėms būsime pašalinti iš šio konkurso ir mūsų pateiktas pasiūlymas bus atmestas.

Mes siūlome šią prekę ir patvirtiname, kad siūloma prekė visiškai atitinka pirkimo dokumentuose pateiktus reikalavimus:

| Eil. Nr. | Prekės gamyklinis kodas | Aprašymas | Preliminarus kiekis | Vieneto mato vieneto įkainis EUR be PVM | Vieneto mato vieneto įkainis EUR su PVM |
| --- | --- | --- | --- | --- | --- |
| FED-2-200 (ADB Safegate) |  |  |  |  |  |
| 1 | 1TLA34111103 | FED-2-200-YM/C-L-I-0 Runway edge bidirectional high intensity inset light type FED for installation on the left side of the centre line including: - 2 pref.halogen lamps 105W/6.6A long life 1000h - one yellow prism for the main beam - one clear prism for the secondary beam - O-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole- plug with leads | 1 |  |  |
| 2 | 1TLA31411103 | FED-2-200-CM/Y-L-I-0 Runway edge bidirectional high intensity inset light type FED for installation on the left side of the centre line including: - 2 pref.halogen lamps 105W/6.6A long life 1000h - one clear prism for the main beam - one yellow prism for the secondary beam - O-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole- plug with leads | 1 |  |  |
| 3 | 1TLA34121103 | FED-2-200-C/YM R-I-0 Runway edge bidirectional high intensity inset light type FED for installation on the right side of the centre line including: - 2 pref.halogen lamps 105W/6.6A long life 1000h - one yellow prism for the main beam - one clear prism for the secondary beam - O-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole- plug with leads - two film cut-outs | 1 |  |  |
| 4 | 1TLA41421103 | FED-2-200-Y/CMR-I-0 Runway edge bidirectional high intensity inset light type FED for installation on the right side of the centre line including: - 2 pref.halogen lamps 105W/6.6A long life 1000h - one clear prism for the main beam - one yellow prism for the secondary beam - O-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole- plug with leads - two film cut-outs | 1 |  |  |
| 5 | 1411.42.030 | machined FED bidirectional left cover with positioning pin, w/o prisms | 1 |  |  |
| 6 | 1411.42.040 | machined FED bidirectional right cover with positioning pin, w/o prisms | 1 |  |  |
| 7 | 7080.90.650 | O-ring seal between topcover and shallow base, for F-Range 12" | 1 |  |  |
| 8 | SP.011445 | O-ring gasket between cover and inner pan | 1 |  |  |
| 9 | SP.010570 | FED white prism | 1 |  |  |
| 10 | SP.010569 | FED yellow prism | 1 |  |  |
| 11 | SP.011935 | Prism sleeve gasket | 1 |  |  |
| 12 | SP.010759 | flat prism gasket | 1 |  |  |
| 13 | SP.010760 | Prism keeper plate | 1 |  |  |
| 14 | SP.010767 | Prism clamp | 1 |  |  |
| 15 | 1411.22.002 | Lockwasher M4 DIN 127B Lamp support assembly | 1 |  |  |
| 16 | SP.7100.10.190 | SCREW M5x10 DIN 965-T-A2- LOCK 2045 | 1 |  |  |
| 17 | SP.4071.53.703 | SCREW M5x13 DIN 7985-TA2- LOCK 2045 | 1 |  |  |
| 18 | SP.010806 | Optical support FTH200/FTE/FEN/FED | 1 |  |  |
| 19 | 1411.21.000 | terminal block assembly with fixing hardware and with cutout | 1 |  |  |
| 20 | 1411.21.010 | terminal block assembly with fixing hardware and w/o cutout | 1 |  |  |
| 21 | SP.013034 | Kit FAA PLUG STYLE 6 500MM PTFE | 1 |  |  |
| 22 | SP.013114 | O-ring seal between topcover and shallow base, for F-Range 12" | 1 |  |  |
| 23 | SP.010762 | wire clamp | 1 |  |  |
| 24 | SP.7110.08.360 | SCREW M4x10 DIN 7500CET-A2 | 1 |  |  |
| 25 | SP.010788 | Inner pan, 12", machined, 1 cable inlet | 1 |  |  |
| FTH-1-200 (ADB Safegate) |  |  |  |  |  |
| 26 | 1THA33931103 | FTH-1-200-G-0-I-0 Threshold high intensity unidirectional inset light , type FTH-1-200, including: - Two pref.halogen lamp 105W/6.6A long life 1000h - Two green prisms - A beam without toe-in - 0-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole- plug with leads | 1 |  |  |
| 27 | 1411.42.010 | machined FTH 200 cover with positioning pin, w/o prisms | 1 |  |  |
| 28 | 1411.41.110 | Inner cover | 1 |  |  |
| 29 | SP.010568 | FTH/FTE green prism | 1 |  |  |
| FEN-1-100 (ADB Safegate) |  |  |  |  |  |
| 30 | 1TEA12931103 | FEN-1-100-R-0-I-1 Runway end high intensity uniidirectional inset light, type FEN including : - one pref.halogen lamp 105W/6.6A long life 1000h - one red prism - 0-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole-plug with leads | 1 |  |  |
| 31 | 1411.42.050 | machined FED unidirectional /FEN cover with positioning pin, w/o prisms | 1 |  |  |
| 32 | SP.010567 | FTE/FED/FEN red prism | 1 |  |  |
| 33 | 1411.41.120 | Inner pan assembly, 12", with 1 style 6 plug, for FEN and FED | 1 |  |  |
| FTO (ADB Safegate) |  |  |  |  |  |
| 34 | 1T0A15001103 | FTO-3-045-0-0-B-1 Runway/taxiway low intensity omnidiretional inset light type FTO complete with: - pref.halogen lamp 45W/6.6A Pk30d long life 1000h - blue beam - labyrinth gasket between inner cover and base or mounting ring - FAA - 2 -pole plug with leads | 1 |  |  |
| 35 | SP.4071.76.003 | FTO cover machined | 1 |  |  |
| 36 | SP.010575 | FTO lens blue | 1 |  |  |
| 37 | SP.4071.76.041 | FTO lens gasket | 1 |  |  |
| 38 | SP.4071.76.060 | FTO lens gasket protection | 1 |  |  |
| 39 | SP.4071.76.020 | FTO lens support | 1 |  |  |
| 40 | SP.7080.90.335 | O-ring gasket between cover and inner cover | 1 |  |  |
| 41 | SP.7100.08.563 | HEX SCREW M6x16 DIN 933- A2-LOCK 2045 | 1 |  |  |
| 42 | SP.7284.10.445 | Lockwasher M6 Stainless steel - DIN 7980 | 1 |  |  |
| 43 | SP.7110.08.360 | Screw THRD M4X10 Stainless Steel | 1 |  |  |
| 44 | SP.4071.76.031 | FTO reflector | 1 |  |  |
| 45 | SP.4071.50.581 | lamp spring | 1 |  |  |
| 46 | SP.4071.50.482 | reflector/ lamp support | 1 |  |  |
| 47 | SP.010736 | Vibration damper grommet | 1 |  |  |
| 48 | 1411.21.010 | Terminal block assembly with fixing hardware and w/o cut-out | 1 |  |  |
| 49 | 1411.21.000 | Terminal block assembly with fixing hardware and film disc cut-out | 1 |  |  |
| 50 | SP.4071.50.083 | inner cover machined for one cable inlet | 1 |  |  |
| 51 | SP.7100.10.190 | SCREW M5x10 DIN 965-T-A2-LOCK 2045 | 1 |  |  |
| 52 | SP.010762 | Wire clamp | 1 |  |  |
| 53 | SP.7100.08.360 | SCREW M4x10 DIN 7500CE-T-A2 | 1 |  |  |
| 54 | SP.013033 | FAA L-823 2-pole plug moulded on heat resistant 30 cm wires 1.9 mm² STY6 | 1 |  |  |
| 55 | SP.010869 | Pressure release screw assembly including O-ring seal | 1 |  |  |
| 56 | 4071.73.100 | labyrinth gasket | 1 |  |  |
| AGS/ASIS (ADB Safegate) |  |  |  |  |  |
| 57 | SP.013245 | Converter LED 6.6A | 1 |  |  |
| 58 | SG13993 | RLSIGN 3 BOLT Y SHAPE FOOT | 1 |  |  |
| 59 | SG13995 | Pole For Sign Height 900mm Pole diameter 70mm Pole length 950mm |  |  |  |
| 60 | SG25836 | U-clamp, diameter 70 mm, including bolt and nut | 1 |  |  |
| 61 | SG25837 | Sealing kit, including corner gaskets, sealing washers and bolts for top profile | 1 |  |  |
| 62 | SP.012954 | Sealing tape, LED cavity | 1 |  |  |
| 63 | SG18028 | SAFELED SIGN CONVERTER 230V | 1 |  |  |
| 64 | SP.012982 | Electronics Box Complete, excluding LED-adapter card | 1 |  |  |
| 65 | SP.012983 | Electronics Box Lid, including gasket and screws | 1 |  |  |
| 66 | SGE.SP18650 | 180 mm LED cable (between converter and adapter card) | 1 |  |  |
| 67 | SP.013244 | LED cable (between LED and adapter card), 600 mm, 5 pcs | 1 |  |  |
| 68 | SG24504 | Photocell Gate Sign | 1 |  |  |
| 69 | 6132.00.250 | Fuse resistor | 1 |  |  |
| 70 | RLSNFOIND | Fail-open indicator | 1 |  |  |
| 71 | SG19127 | LED MODULE SAFELED SIGN KPL.2.0 900X1150 | 1 |  |  |
| 72 | SG19128 | LED MODULE SAFELED SIGN KPL. 900X1300 | 1 |  |  |
| 73 | SG19132 | LED MODULE SAFELED SIGN KPL. 900X2500 | 1 |  |  |
| 74 | SG19133 | LED MODULE SAFELED SIGN KPL. 900X2650 | 1 |  |  |
| 75 | SG24835 | On/Off switch with sealing washer, 6.6A | 1 |  |  |
| 76 | SG19134 | LED module for sign 900mm x 3000mm | 1 |  |  |
| IDM 5848 (ADB Safegate) |  |  |  |  |  |
| 77 | IDM5848.10897 | IDM 5848/5777 Body assembly including mounting parts | 1 |  |  |
| 78 | IDM.SP10916 | IDM 5848/5777 Body assembly | 1 |  |  |
| 79 | IDM.SP10918 | IDM 5848 BODY ASSEMBLY/ SPARE | 1 |  |  |
| 80 | 10925 | Inner bowl IDM 5448 clear 360 | 1 |  |  |
| 81 | 10930 | Inner bowl Right clear | 1 |  |  |
| 82 | 10933 | Inner bowl Right yellow | 1 |  |  |
| 83 | 10926 | Inner bowl Left clear | 1 |  |  |
| 84 | 10929 | Inner bowl Left yellow | 1 |  |  |
| 85 | 10937 | Outer bowl | 1 |  |  |
| 86 | 11555 | Mechanical Frangible coupling | 1 |  |  |
| FTE (ADB Safegate) |  |  |  |  |  |
| 87 | 1TEA53232103 | FTE Threshold and runway end high intensity bidirectional inset light, type FTE including : - for the threshold side: a beam with no toe-in two pref.halogen lamp 105W/6.6A long life 1000h Green prisms - for the runway end side: one pref.halogen lamp 105W/6.6A long life 1000h Red prism - 0-ring gasket between inner cover and base or mounting ring - two FAA - 2 pole-plugs L823 with leads | 1 |  |  |
| UEL (ADB Safegate) |  |  |  |  |  |
| 88 | 1UE5C0Y01001 | UEL Approach, high intensity, unidirectional,elevated light type UEL-1-150, ground mounting, including: - housing with yellow removable front cartridge for easy relamping - clear front glass - lockable adjustement screws - one two core cable moulded on one two-pole plug FAA L-823 - 150W/6.6A prefocus halogen lamp type Pk30d - long life 1000h - without breakable coupling - secured optical cartridge | 1 |  |  |
| FAP (ADB Safegate) |  |  |  |  |  |
| 89 | 1TAA51931103 | FAP Approach high intensity unidirectional inset light, type FAP including: - 3xpref.halogen lamp 105W/6.6A long life 1000h - 3 clear prisms and a beam without toe-in setting angle from 5.5 to 8 deg. - O-ring gasket between inner cover and base or mounting ring - one FAA - 2 pole- plug with leads | 1 |  |  |
| SL-RGL (ADB Safegate) |  |  |  |  |  |
| 90 | SERGS5US0YNPIA61 | SL-RGL-E SafeLED Elevated Runway Guard Light SL-IQ0-RGL-E-6.6A-IEC-50 SafeLED IQ0 Elevated Runway Guard Light Yellow Series circuit 28-66A ICAO/IEC 50 Hz 1x two-pole secondary plug | 1 |  |  |
| 91 | SGE.SP15531 | Housing | 1 |  |  |
| 92 | SP.013239 | Housing with IQ converter unit 6.6A/2A 50Hz, cable (style 1/L-823 connector), cable gland and protection tube. | 1 |  |  |
| 93 | SGE.SP15539 | IEC stand | 1 |  |  |
| 94 | SGE.SP19186 | SL-IQ-RGL-E-U-SP 50HZ ELECTRONIC ASSY V1 | 1 |  |  |
| 95 | 15535 | Front glass | 1 |  |  |
| 96 | 15536 | Gasket kit (1x463 mm, 2x204 mm and 4 bonded seals) | 1 |  |  |
| 97 | 15537 | Front plate with visors | 1 |  |  |
| 98 | 15538 | Cable (style 1/L-823 connector) with cable gland and protection tube | 1 |  |  |
| 99 | 15540 | FAA stand | 1 |  |  |
| AXON (ADB Safegate) |  |  |  |  |  |
| 100 | RSSB301S1NRNM101 | Stop Bar, Inset 8" and 12", ICAO | 1 |  |  |
| AXON (ADB Safegate) |  |  |  |  |  |
| 101 | RSRW302S1NFNM101 | Runway Threshold and Runway Threshold Wing Bar Inset Light | 1 |  |  |
| EL-EAM (ADB Safegate) |  |  |  |  |  |
| 102 | 12454 | Glass dome White | 1 |  |  |
| 103 | 12456 | Glass dome Blue | 1 |  |  |
| 104 | 12822 | Gasket | 1 |  |  |
| 105 | 12665 | Lamp holder | 1 |  |  |
| 106 | 12666 | Mounting with screws | 1 |  |  |
| 107 | 12667 | Cable terminal | 1 |  |  |
| 108 | 12823 | Body allowing levelling | 1 |  |  |
| 109 | 12545 | Frangible stand with setting screws (2BPS Thread) | 1 |  |  |
| 110 | 12814 | Two -pole cable with FAA secondary plug | 1 |  |  |
| AXON (ADB Safegate) |  |  |  |  |  |
| 111 | ASB30GNRN0S1BB04001 | Supplementary stop bar light STOP BAR-GLASS-1P-R-ICAO-MON-CB | 1 |  |  |
| Srovės transformatoriai |  |  |  |  |  |
| 112 | KR631 | 45W, 6,6A | 1 |  |  |
| 113 | KR636 | 65W, 6,6A | 1 |  |  |
| 114 | KR641 | 100W, 6,6A | 1 |  |  |
| 115 | KR646 | 150W, 6,6A | 1 |  |  |
| 116 | KR651 | 200W, 6,6A | 1 |  |  |
| 117 | KR661 | 300W, 6,6A | 1 |  |  |
| Jungčių komplektas, pirminės grandinės su įžeminimu (EFLA) |  |  |  |  |  |
| 118 | KD500 | FAA L-823 style 3+style 10 6 mm2; 10-14,5 mm KD500 10.0-14.5MM W/E KD500 PCK SCR 10.0–14.5MM/6MM2 Užpilamos | 1 |  |  |
| 119 | KDL&KDL10 | Užsukamos | 1 |  |  |
| 120 | KDR600 | Užstumiamos | 1 |  |  |
| Jungtis antrinės grandinės (EFLA) |  |  |  |  |  |
| 121 | KD501.1 | Style 5 Kištukas 2 x 4-6 mm²; 11,5-18 mm | 1 |  |  |
| 122 | KD502.1 | Style 12 Lizdas 2 x 4-6 mm²; 11,5-18 mm | 1 |  |  |
| Base plate (ADB Safegate) |  |  |  |  |  |
| 123 | 1409.46.150 | Base plate without earthing provision Type 300/3 Base plate T300/3 in composite material with: - 2" gas, 11TPI, tapped sleeve - clamp for two-pole receptacle without earthing | 1 |  |  |
| 124 | IDM5838.10876 | Padas lygia apačia 3 skylių | 1 |  |  |
| 125 |  | padas lygia apačia 6 skylių | 1 |  |  |
| AXON (ADB Safegate) |  |  |  |  |  |
| 126 | RSTE101S3NBNS102 | AXON LED L-852T(L) | 1 |  |  |
| L-861T(L) LED (ADB Safegate) |  |  |  |  |  |
| 127 | ETES/1711 C | 96A0321 Taxi light ETES BLUE 14" 2" 11TPI COUP 50-60HZ W/AR | 1 |  |  |
| 128 | 44A6334 | Glassware assy aviation blue | 1 |  |  |
| 129 | 60A2975 | Etes lens attaching ring blue | 1 |  |  |
| 130 | 62A2155 | 62A2155 Etes threaded locking ring blue | 1 |  |  |
| 131 | 44A7163/110E | ETES BLUE CURRENT DRV ARCTIC KIT | 1 |  |  |
| 132 | 44A7475/1 | 44A7475-1 Pcb assy etes led ps hz brkt | 1 |  |  |
| 133 | 88A2146 | 88A2146 Casting led elevated light housing | 1 |  |  |
| 134 | 62A0007/3 | Column for 14" OAH, 1-1/2" coupling | 1 |  |  |
| 135 | 62A2209 | COUPLING FRANGIBLE SLOT 1-1/2"X 2" W/SLOT | 1 |  |  |
| 136 | 73A0136/31 | 73A0136-31 Power cable | 1 |  |  |
| 137 | 66A0015/29 | 66A0015/29 ETES WIRE TIE | 1 |  |  |
| AXON Taxiway Centerline, Inset 8 (ADB Safegate) |  |  |  |  |  |
| 138 | RSTW301S2NFFM101 | Taxiway centerline, inset 8 light | 1 |  |  |
| 139 | SP.AS00135-S1S | TOP CVR, 8" TWY UNIDIR, STD PRISM | 1 |  |  |
| 140 | SP.4072.40.412 | Prism for low protrusion DTS/DTC | 1 |  |  |
| 141 | SP.4072.42.090 | Sapphire Prism for low protrusion DTS/DTC | 1 |  |  |
| 142 | SP.4072.40.421 | Prism gasket for low protrusion DTS & DTC | 1 |  |  |
| 143 | SP.AS00089-WFN-TW | LIGHT ENG. TWY GREEN ICAO WIDE | 1 |  |  |
| 144 | SP.AS00089-WFF-TR | F-green enhanced taxiway centreline for rapid exit | 1 |  |  |
| 145 | SP.MF00090-000-01 | PRESSURE RELEASE SCREW W/O-RING, PKG 5 | 1 |  |  |
| 146 | SP.MS00005-000-01 | RL OMNI 4P inner pan gasket (10 pcs) | 1 |  |  |
| 147 | SP.MFPM5PT-714-01 | SCREWS, 8" BOTTOM PAN, PACKAGE OF 100 | 1 |  |  |
| 148 | SP.MFPM4PT-710-01 | Screws, light engine assembly mounting | 1 |  |  |
| 149 | SP.AS00021-L13 | Bottom Cover Assemblies, 8-inch and 12-inch non-monitored converter, style 6 cord set | 1 |  |  |
| 150 | SP.73A0193/1 | CRD ST,L-823 STY 1, 8" BTM PAN PKG OF 5 | 1 |  |  |
| 151 | SP.73A0136/18 | Cord set, L-823 style 6, 8" & 12" bottom pan | 1 |  |  |
| 152 | SP.EW00070-150-01 | Wire harness, power supply to light engine | 1 |  |  |
| 153 | SP.AS00089-NFN | F-green narrow | 1 |  |  |
| L-858B DISTANCE REMAINING SIGNS (SIEMENS) |  |  |  |  |  |
| 154 | 44A6084-4110 | LEGEND PANEL ASSY, SIZE 4, STIMSONITE | 1 |  |  |
| 155 | 44A6084-4111 | LEGEND PANEL ASSY, SIZE 4, STIMSONITE HIGH WIND | 1 |  |  |
| 156 | 60A2678-40 | SIGN FRANGIBLE FITTING | 1 |  |  |
| 157 | 62A2142 | SIGN BASE | 1 |  |  |
| 158 | 73A0107-72 | CORDSET, 16/2 FAA CL A, TYPE ll STYLE 1 | 1 |  |  |
| 159 | 94A0054 | L858 TETHER 3/16", 28" LG | 1 |  |  |
| INL-RC Runway Centerline (ADB Safegate) |  |  |  |  |  |
| 160 | SGE.SP13080 | INL-SP 8 / PRISM CLAMP (5 pieces) | 1 |  |  |
| 161 | SGE.SP12898 | Lamp holder for 45W lamp | 1 |  |  |
| 162 | SGE.SP13082 | Lamp fixing spring and its screw | 1 |  |  |
| 163 | SGE.SP12835 | Filter protection gasket | 1 |  |  |
| 164 | SGE.SP12078 | Red filter (pack of 5 pcs) | 1 |  |  |
| 165 | SGE.SP13195 | Filter fixing spring + screw (5 pieces) | 1 |  |  |
| 166 | SGE.SP13077 | Prism gasket (pack of 5 pcs) | 1 |  |  |
| 167 | SGE.SP13005 | INL-SP RC/PRISM C (5 pieces) | 1 |  |  |
| 168 | SGE.SP13088 | Cover gasket, paket, pack of 10 | 1 |  |  |
| 169 | SGE.SP13092 | O-ring gasket for 8” base, pack of 10 | 1 |  |  |
| Bendra prekių mato vienetų suma Eur su PVM |  |  |  |  |  |

Sutartis sudaroma 36 mėnesių laikotarpiui.

Prekės perkamos pagal poreikį. Sutartyje bus nurodomi prekių vieneto įkainiai.

1.Stulpelyje ,,Vieno vieneto įkainis Eur su PVM“ ir ,,Bendra prekių mato vienetų įkainių suma Eur su PVM nurodant 2 (du) skaičius po kablelio.

2. Jei PVM nepildomas, nurodomos priežastys pateikiant dokumentą, dėl kurių PVM nemokamas.

3. Pasiūlymas galioja 60 dienų nuo jo pateikimo dienos.

4. Tiekėjas teikdamas pasiūlymą patvirtina, kad siūlomos prekės atitinka privalomus techninius parametrus.

Pastaba: Vadovaujantis Lietuvos Respublikos krašto apsaugos ministro 2009 m. vasario 9 d. įsakymu Nr. V-107 „Dėl Transporto priemonių, jose esančių asmenų, karių ir tarnybos ar darbo santykiais su krašto apsaugos sistema susijusių asmenų, lankytojų įleidimo ir jų turimų daiktų (nešulių) patikros, prieš jiems patenkant į karines teritorijas, taisyklių patvirtinimo“ bus vykdoma atvykstančių transporto priemonių, jose esančių asmenų, lankytojų jų turimų daiktų (nešulių) patikros, prieš jiems patenkant į karinę teritoriją.

Ši pasiūlyme nurodyta informacija yra konfidenciali (perkančioji organizacija šios informacijos negali atskleisti tretiesiems asmenims). Pasiūlyme tiekėjas turi aiškiai nurodyti, kuri pasiūlymo informacija yra konfidenciali, vadovaujantis VPĮ 20 straipsniu.

| Eil. Nr. | Dokumento pavadinimas |
| --- | --- |

Pastaba: Tiekėjui nenurodžius, kokia informacija yra konfidenciali, laikoma, kad konfidencialios informacijos pasiūlyme nėra.

______________		           _______		           _____________________

(Tiekėjo arba įgalioto asmens 	(Parašas)	        (Vardas ir pavardė) pareigų pavadinima)