TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

  - “Buyer” shall mean Vilniaus kogeneracinė jėgainė UAB.

  - “Supplier” shall mean an economic operator, i.e. a natural person, a private legal person, a public legal person, other organisations and their subdivisions, or a group of such persons with whom the Purchaser concludes a Contract.

  - “Contract” shall mean the Contract concluded between the Supplier and the Purchaser in respect of the object of the Procurement.

  - “Goods” shall mean grates for a waste boiler.

  - “Order” shall mean a written document provided to the Supplier on the basis of the Contract by text message, e-mail and/or through the information system specified by the Purchaser, specifying the quantities of the Goods, the delivery addresses and the delivery date.

  - “Related Goods” shall mean the goods which are not specified in the Technical Specification, but which are related to the object of the Procurement, whether technically or by virtue of their intended use. The total value of such related goods may not exceed 10% of the initial Contract value.

- OBJECT OF THE PROCUREMENT

  - Grates for a waste boiler

- SCOPE OF THE OBJECT OF THE PROCUREMENT

  - The preliminary quantities of the Goods shall be set out in Annex 1 to the Technical Specification

  - The Buyer is not obligated to purchase the entire quantity of the specified Goods or any part thereof. The quantity of the ppecified Goods may be adjusted, provided that the total value of the Contract is not exceeded.

- PLACE OF PERFORMANCE OF THE CONTRACTUAL OBLIGATIONS

  - The Goods shall have to be delivered to the following address:. Paneriškių g. 25, LT - 02300 Vilnius, Lithuania.

- REQUIREMENTS FOR THE OBJECT OF THE PROCUREMENT

  - The grate bars shall be manufactured by casting.

  - Detailed technical parameters of the grate bars are provided in Annexes No. 2–30 of the Technical Specification.

  - The requirements for impurities in the grate bar alloy are specified in Table No. 1 of the Technical Specification.

Table No. 1

| Component | C % | Si % | Mn % | P % | S % | Cr % | Mo % | Ni % | Cu % | Nb % | Ti % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Min | 1,20 | 1,00 | 0,50 | 0,000 | 0,000 | 27,00 | 0,00 | 0,00 | 0,00 | 0,00 | 0,00 |
| Maks. | 1,40 | 1,50 | 1,00 | 0,035 | 0,030 | 30,00 | 0,50 | 1,00 | 0,20 | 0,20 | 0,20 |

  - Each production batch must be inspected in accordance with a metal product inspection standard no less stringent than DIN EN 1690-2 S3/V3 and must comply with the impurity content requirements specified in Clause 5.3 of the Technical Specification.

  - Special chemical requirements do not apply to wear-resistant metal plates.

  - Castings shall comply with tolerances according to ISO 8062-3 (DCTG10/GCTG5) or an equivalent standard.

  - Under the design boiler parameters, the installed Goods must serve for no less than 8,000 operating hours. This applies only under the specified conditions of use. Operational wear and tear is not considered.

  - The Supplier undertakes that all Goods shall be delivered on pallets, wrapped with protective film to safeguard against precipitation, and each pallet shall be marked with the following information: batch number, production date of the Goods, specific name of the Goods or SBVI code, exact quantity on the pallet, and weight.

- PROCEDURE AND TIME LIMITS FOR DELIVERY OF THE GOODS

  - The Supplier undertakes to manufacture and deliver the ordered Goods within the period specified in the Supplier’s offer and the Contract, which shall not exceed 126 (one hundred twenty-six) days from the date of the Order placement.

  - The Goods will be purchased and delivered based on separate Orders placed by the Buyer during the term of the Contract.

  - The Supplier shall deliver the Goods to the address specified in Section 4 of the Technical Specification during the Buyer's working hours (Mon–Thu 7:30 AM – 4:30 PM, Fri 7:30 AM – 3:15 PM).

  - The delivery cost of the Goods must be included in the price of the Goods.

  - Delivery of the Goods shall be made on DDP. All costs related to the delivery of the Goods to the address specified by the Buyer shall be borne by the Supplier.

  - The Supplier shall bear all costs related to the delivery of the Goods, including customs duties and any other expenses associated with the delivery to the address specified in Clause 4.1 of the Technical Specification. All such costs must be included in the price of the Goods.

- QUALITY AND REMEDYING DEFICIENCIES

  - The Goods shall have an operational warranty period applied by the Supplier or the Goods manufacturer, which shall be no less than 8,000 (eight thousand) operating hours.

  - For Goods that have not been installed and used according to their intended purpose, the warranty period shall be no less than 12 (twelve) months from the date of delivery to the Buyer. During the warranty period, the Goods must retain their physical and chemical properties unchanged.

  - The Buyer reserves the right to inspect the quality of the received Goods at any time during the period specified in Clause 7.2 of the Technical Specification.

  - If a defect in the Goods occurs during operation due to improperly maintained waste boiler parameters or other actions related to the technological process, the warranty shall not apply to the Goods.

  - The Supplier shall not be liable for damages, accidents, or losses arising from improper installation of the Goods or other causes.

  - A period of 30 (thirty) calendar days is established for remedying defects observed during the Goods’ handover-acceptance or warranty period, starting from the Buyer’s notification of defective, non-conforming, or faulty Goods. The Supplier must, at its own expense, collect the defective/damaged Goods from the address specified by the Buyer and, at its own expense, return repaired or new Goods free of defects to the address from which they were collected. Subsequent remediation may be performed no more than twice.

  - The Supplier confirms that the sold Goods are suitable for use according to their intended purpose and that there are no hidden defects in the Goods that would prevent their use for the intended purpose or reduce their usefulness.

  - In the event of a quality or other defect in the Goods that affects the production, mechanical, or other operation of the Plant and results in lost revenue, the Supplier undertakes to compensate for the resulting losses; however, the value of such losses shall not exceed 50% of the order value of the Goods.

- TERMS OF PAYMENT

  - The Buyer shall pay the Supplier for the actually delivered and quality-compliant Goods within 30 (thirty) calendar days from the date of receipt of the Invoice, after the Parties have signed the Goods handover-acceptance certificate.

  - The Supplier shall submit the Invoices for the actually delivered and quality-compliant Goods, along with the Goods handover-acceptance certificates, to the Buyer by the 2nd (second) calendar day of the following month.

- DOCUMENTS ACCOMPANYING THE DELIVERED GOODS

  - Certificate of quality of the Goods in Lithuanian or English;

  - Goods delivery-acceptance note or an equivalent document proving the delivery of the Goods.

- ANNEXES

  - Annex No. 1 – Preliminary quantities and prices of the Goods

  - Annex No. 2 – Grate bar SBENG 29187

  - Annex No. 3 – Grate bar SBENG 29188

  - Annex No. 4 – Grate bar SBENG 40008

  - Annex No. 5 – Grate bar SBENG 40007

  - Annex No. 6 – Grate bar SBENG 40012

  - Annex No. 7 – Grate bar SBENG 40011

  - Annex No. 8 – Middle wear plate upper part 4. HZI STW 29393 (094)

  - Annex No. 9 – Middle wear plate upper part 1. HZI STW 29393 (095)

  - Annex No. 10 – Middle wear plate upper part 2. HZI STW 29394 (093)

  - Annex No. 11 – Middle wear plate upper part 7. HZI STW 40015 (081)

  - Annex No. 12 – Middle wear plates fixing element POS-24

  - Annex No. 13 – Middle wear plates fixing element POS-30

  - Annex No. 14 – Middle wear plates fixing element POS-31

  - Annex No. 15 – Middle wear plates fixing element POS-32

  - Annex No. 16 – Middle wear plates fixing element POS-33

  - Annex No. 17 – Side wear plate POS-1

  - Annex No. 18 – Side wear plate POS-2

  - Annex No. 19 – Side wear plate POS-3

  - Annex No. 20 – Side wear plate POS-4

  - Annex No. 21 – Side wear plate POS-5

  - Annex No. 22 – Side wear plate POS-6

  - Annex No. 23 – Outside cover plate POS-7

  - Annex No. 24 – Side wear plate POS-8

  - Annex No. 25 – Side wear plate POS-9

  - Annex No. 26 – Side wear plate POS-10

  - Annex No. 27 – Side wear plate POS-11

  - Annex No. 28 – Side wear plate POS-12

  - Annex No. 29 – Side wear plate POS-13

  - Annex No. 30 – Side wear plate POS-14