Appendix

to the Annex 5

to the Procurement Conditions

TABLE OF CONFORMITY OF THE PROPOSED PAPER DETECTOR TO THE TECHNICAL SPECIFICATION

|  | Requirements | Compliance with requirements (to be filled in by the Supplier, indicating the specific meaning (if requested) or whether the offered product complies or does not comply with a specific mandatory requirement) | Document confirming compliance (to be filled in by the Supplier, indicating the names of the documents and/or links to their points proving the compliance of the offered goods with the technical requirements)* |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1. | Paper detector (hereinafter referred to as the detector) is intended to detect the presence of dispersed chemical warfare agents of groups G, V and H in a liquid aggregate state. | YES/NO | Protocols issued by acredited testing laboratory confirming that Paper detector is intended to detect the presence of dispersed chemical warfare agents of groups G, V and H in a liquid aggregate state. |
| 2. | The detection of chemical warfare agents groups shall be based on the change in colour on a paper sheet following a chemical reaction when droplets of a liquid chemical warfare agent fall on it. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 3. | The paper sheets of the detector should turn green when exposed to V group substances, red by H group substances and yellow by G group substances. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 4. | The detector shall contain instructions for using the detector, as well as the date of manufacture and expire date of the detector. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 5. | The paper sheets of the detector shall be perforated or stapled into a booklet with at least 10 paper sheets. | To specify exact quantity of paper sheets of the detector perforated or stapled into a booklet___ pcs | Link to the source of information |
| 6. | The paper sheets of the detector shall be designed to be affixed to a different surfaces (metal, wood, rubber, fabric, plastic, etc.). | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 7. | The detector shall have a description regarding the groups of chemical warfare agents and their respective colours, how the paper sheets are coloured when the corresponding group of agents falls on it. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 8. | The detector shall detect the groups of chemical warfare agents in no more than 45 seconds. | To specify exact period of time detector detects groups of chemical warfare agents __ s | Protocols issued by acredited testing laboratory confirming in how many seconds does the detector identify groups of chemical warfare agents. |
| 9. | The detector shall be suitable for use in an environment from at least - 20 °C to at least + 40 °C. | To specify exact diapazone of temperature detector is suitable for use from -__ °C to + __ °C | Link to the source of information |
| 10. | The paper sheet of the detector shall be at least 60 x 80 mm in size. | To specify exact parameters of the sheet of the detector __x__ mm | Link to the source of information |
| 11. | The detector paper sheets shall be easily unpacked, torn off and attached to various surfaces while wearing protective butyl rubber gloves. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 12. | Each detector shall be individually packed in a waterproof packaging. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 13. | The storage time of the detector in a packaging shall be at least 5 years from the date of delivery. | Manufacturer‘s confirmation DO CONFIRM/DO NOT CONFIRM | Not to be completed when the offer is submitted by the manufacturer of the goods. If the offer is submitted by a supplier who is not the manufacturer of the goods, he must submit a declaration from the manufacturer of the goods regarding compliance with the requirements of this point. |
| 14. | The detector shall be manufactured in the year of supply. | YES/NO |  |

*Notes:

1) Important: The Supplier, when indicating the specific meaning of the goods or their conformity to it, must indicate to the contracting authority which document submitted by the Supplier contains the data confirming/proving the requirement (indicate the specific folder/file in which the document is submitted, the name of the document and the page);

2) each point of the technical requirements that requests a specific value must be based on the manufacturer's technical documentation;

3) each point of the technical requirements requiring manufacturer's approval, if the offer is submitted by the manufacturer of the goods himself, this is confirmed in column 3 and no supporting documents need to be submitted, and the corresponding column in column 4 is not filled in. If the offer is not submitted by the manufacturer of the goods, the supplier must:

a) fill in the corresponding column in column 4;

b) submit a declaration signed by the manufacturer together with the offer confirming compliance with the specific requirement;

4) "or equivalent" is written next to all specified specific materials and/or specific product names. A supplier offering a product with equivalent properties must, at the time of submitting the offer, prove by reliable means that the offered product is equivalent and fully complies with the requirements set out in the technical specification.