{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":4,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
["Pirkimas: Pacientų persirengimo ir daiktų saugojimo spintelės"]
["TECHNINĖ SPECIFIKACIJA"]
[]
["Nr.","Pavadinimas","Kiekis"]
[]
["1.1.","Pacientų persirengimo spintelės","22","vnt."]
["1.1.1.","Matmenys:1800x600x500(±20) mm."]
["1.1.2.","Skyrelio plotis 300(±10) mm, 4 durelės."]
["1.1.3."," Spintos durelės ir dugnas turi būti pagaminti iš ne mažiau kaip 0,5 mm storio plieno arba lygiavertės medžiagos."]
["1.1.4.","Kiekvienos spintelės skyriaus viduje turi būti tik skersins pakaboms ir du kabliukai. "]
["1.1.5.","Raktinis cilindrinis užraktas( ne mažiau 2 raktai komplekte), raktas ištraukiamas tik spynoje paliekant monetą. Monetinis užraktas."]
["1.1.6.","Spalva - rinktis iš 5 pilkų atspalvių."]
["1.2.","Visraktis metalinėms persirengimo spintelėms.","1","vnt."]
["1.2.1.","Tinkantis perkamų spintelių serijos užraktams."]