| No. | Question | Participant's consultation | Is the answer confidential? |
| --- | --- | --- | --- |
|  | Are you interested in the Tender? |  | ☐ Yes ☐ No |
|  | Would you participate in the public procurement TENDER? If you were to participate in the public procurement TENDER, would you participate as a sole supplier, in a group of suppliers or as a subcontractor? |  | ☐ Yes ☐ No |
|  | What criteria would you recommend for evaluating and comparing suppliers' offers, which would help determine the objectively best offer in the Procurement (price, price and quality, costs and quality, etc.)? |  | ☐ Yes ☐ No |
|  | What qualification requirements would you recommend for suppliers intending to participate in the Procurement, in order to verify their financial, technical and/or professional capacity? |  | ☐ Yes ☐ No |
|  | What pricing structure would you suggest for the Procurement Agreement (one-time payment, periodic payments, advanced payment, etc.)? |  | ☐ Yes ☐ No |
|  | What other suggestions do you have regarding the terms of contract for this Tender? |  | ☐ Yes ☐ No |
|  | Could you share good practice and indicate which procurement entity's procurement conditions for a similar procurement object should be used when preparing for the implementation of this Procurement (if possible, provide a link to publicly available information)? |  | ☐ Yes ☐ No |
|  | Does the Participant foresee any obstacles to the performance of construction work and/or construction completion or equipment installation procedures? |  | ☐ Yes ☐ No |
|  | What should be the optimal Procurement budget (amount of funds)? This can be answered after we submit the full technical documentation. |  | ☐ Yes ☐ No |
|  | What do you think is the optimal duration of the Procurement Agreement in months? Contract duration. |  | ☐ Yes ☐ No |
|  | Do you have any other observations or suggestions for organizing the Procurement |  | ☐ Yes ☐ No |
|  | Would you like to meet with representatives of the Contracting Entity to discuss the planned Procurement? If so, indicate the contact person and their contacts. |  | ☐ Yes ☐ No |
| No. | Question | Participant's consultation | Is the answer confidential? |
|  | What compression system would you advice to choose: one multistaged compressor or two separate compression systems? |  | ☐ Yes ☐ No |
|  | having two dispensers, i.e. 350bar and 700bar or one double one and to have a filling flow rate not higher than 60g/s, with parallel filling, is it sufficient to have two coolers – T40 and T20? The customer wants to avoid excess equipment and/or duplication. |  | ☐ Yes ☐ No |
|  | Would it be possible to purchase one double dispenser (350/700), but use only 350bar pressure, H35 filling side/hose? In the future, when expanding the equipment, also initiate the H70 dispenser side. |  | ☐ Yes ☐ No |
|  | Is a cooler necessary for filling at 350 bar pressure with a flow rate of 40-60g/s? |  | ☐ Yes ☐ No |
|  | What SAE J filling protocols would you recommend for: a. H35 filling? b. H70 filling? |  | ☐ Yes ☐ No |
|  | Considering the attached appendix, where you can see the schedule for filling buses, what would be the amount of hydrogen required in the buffer tank: a. Active volume/quantity in kg? b. Total volume/quantity in kg in the tank (in cylinders)? |  | ☐ Yes ☐ No |
|  | Considering the attached appendix, which shows the refueling schedule for light vehicles, what would be the amount of hydrogen required in the buffer tank: a. Active volume/quantity in kg? b. Total volume/quantity in kg in the tank (in cylinders)? |  | ☐ Yes ☐ No |
|  | Is it possible to directly fill vehicles via a bypass line from mobile storage trailers (440kg/350bar)? Does this operating principle work directly with the dispenser or through coolers to the dispenser? |  | ☐ Yes ☐ No |
|  | What would you recommend regarding fire safety requirements and elements? To clarify, we are interested in the ATEX zones that critically determine the design and installation of certain electrical or communications equipment components that are not within the scope of the Equipment Supplier? Which ones should not fall into those ATEX zones. Its hard for the Client to finalise site detailed design due to not knowing ATEX zones limits. |  | ☐ Yes ☐ No |
|  | If the customer provided a DWG drawing, could the Equipment Supplier prepare a layout of the equipment they are proposing to supply with the boundaries of the ATEX zones? |  | ☐ Yes ☐ No |
|  | Can you please provide a list of signals that will be used to control and remotely monitor the operation of the equipment with the customer's control system at costumers control room? |  | ☐ Yes ☐ No |
|  | What fire safety elements would you recommend applying in the area of ​​the filling station? (for example: detectors, sensors, signaling devices, firewalls (concrete) etc.) |  | ☐ Yes ☐ No |