TECHNICAL SPECIFICATION

- TERMS AND ABBREVIATIONS

  - Customer – UAB Kaunas Cogeneration Power Plant

  - Service Provider – economic entity – natural person, private legal entity, public legal entity, other organisations and their units or groups of such persons with whom the Customer concludes the Contract.

  - Contract – a contract concluded between the Customer and the Service Provider for the Purchase Object.

  - Services – Turbine and generator maintenance and repair services.

  - Order – a written document provided to the Service Provider on the basis of the Contract, delivered via text message, email, and/or through the Customer’s designated information system, specifying the quantities of Services, delivery addresses, and due dates.

  - Related services – Services not specified in the Technical Specification but connected with the procured Object of procurement.

  - Goods – Essential consumables and spare parts required for the provision of the Services.

- OBJECT OF PROCUREMENT

  - Turbine and generator maintenance and repair services, including essential consumables and spare parts.

- OBJECT OF PROCUREMENT

  - The quantities of services are given in Table 1 below:

Table 1

| No. | Name of services | Measurement pcs. | Preliminary quantity during the term of the Contract |
| --- | --- | --- | --- |
|  | Inspection A – Turbine | Pcs. | 2 |
|  | Inspection B – Turbine | Pcs. | 1 |
|  | Inspection B – Turbine | Pcs. | 1 |
|  | Inspection L1 – Generator | Pcs. | 2 |
|  | Inspection L2 – Generator | Pcs. | 1 |
|  | Inspection L – Generator | Pcs. | 1 |
|  | Field service specialist | h | 50 |
|  | Field service representative | h | 50 |
|  | Field service technician | h | 50 |
|  | Project manager | h | 50 |
|  | HS representative | h | 50 |
|  | Daily accommodation/ | d. | 10 |
|  | Daily allowance | d. | 10 |
|  | Daily transportation | d. | 10 |
|  | Specialist mobilisation | Pcs. | 10 |

  - Quantities of turbine spare parts required for Turbine Inspection “C” are provided in Annex 2.

  - Quantities of generator spare parts required for Generator Inspection “L3” are provided in Annex 5.

  - Quantities of turbine spare parts required for Turbine Inspection “B” are provided in Annex 3.

  - Quantities of special generator tools required for Generator Inspection “L3” are provided in Annex 6.

  - Quantities of special turbine tools required for Turbine Inspection “C” are provided in Annex 7.

  - If a specific model, source, process, brand, patent, type, origin, or manufacturer is specified when describing the object in the Technical Specifications or other procurement documents or their appendices, such specification shall be understood by the Supplier as “or equivalent.”

  - If standards, technical certificates, or general technical specifications are specified when describing the object in the Technical Specifications or other procurement documents or their appendices, such specification shall be understood by the Supplier as “or equivalent.”

  - If necessary, the Customer shall have the right to procure other services or goods not listed in Section 2 of the Technical Specification but related to the Object of procurement, such as other safety labels, turbine or generator parts not specified in the Technical Specification but integral to the equipment (hereinafter the Related Services or Goods). All conditions set forth in this Technical Specification and Agreement (warranties, defect rectification, etc.) shall apply to the procurement of Related Services or Goods, unless explicitly stated otherwise. The total price of such Related Services or Goods shall not exceed 10% of the original Agreement value.

- PLACE OF SERVICE DELIVERY

  - Services shall be provided at: UAB Kauno kogeneracinė jėgainė, Jėgainės g. 6, Biruliškiai Village, Kaunas District, 54469.

- REQUIREMENTS FOR THE PURCHASE OBJECT

Description of the Object of procurement

5.1. General Information:

5.1.1. Turbine Manufacturer and Type – Siemens SST-300

5.1.2. Turbine Serial No. 6051

5.1.3. Generator Manufacturer and Type – ABB AMS 1120 LG 4 LBS

5.1.4. Generator serial No. 8269322

5.2. Services must be provided in compliance with the requirements set out in Annex 1 and Annex 2 of the Technical Specification.

5.3. The Service Provider shall deliver the Services (works) using its own resources, infrastructure, and equipment, at its own risk and expense, acquiring structures, devices, apparatus, products, materials, and other equipment necessary to perform the Services.

5.4. The Service Provider may use stationary specialized equipment installed on the Customer’s premises to provide the Services (works).

5.5. While performing the Services under the Agreement, the Service Provider shall be responsible for work safety on-site.

5.6. No later than five (5) business days prior to the commencement of the Services (works), the Service Provider shall submit to the Customer, in a free-form document, two lists:

5.6.1. A list of employees who will provide the Services (works) or supervise the execution and quality of the Services (works). The list must include employee qualifications and positions;

5.6.2. A list of mechanisms used by the Service Provider for entry to and exit from the Customer’s premises.

5.7. The Service Provider’s personnel must comply with the Customer’s internal work rules, which will be communicated during the Service Provider’s employee health and safety induction.

5.8. The Service Provider’s personnel must wear specialised clothing with the Service Provider’s identifying insignia.

5.9. No later than three (3) business days prior to the commencement of the Services (works), the Service Provider shall submit a free-form written request to the Customer for connecting its electrical equipment to the Customer’s power network, specifying the person responsible for the electrical system.

5.10. The Service Provider shall repair its own tools, equipment, and machinery at its own expense.

5.11. The Service Provider shall provide necessary protective, hygiene, and fire safety equipment at its own expense.

5.12. The Service Provider shall provide technical means required to perform Services at height at its own expense.

5.13. Goods must comply with the requirements set out in the Technical Specification appendices: Annex 3, Annex 4, Annex 5, Annex 6, Annex 7.

5.14. Within ten (10) business days of signing the Agreement, the Service Provider undertakes to review and sign Annex 8 “Contractor Work Organisation Standard.”

- PROCEDURE AND TERMS OF SERVICE DELIVERY

  - Services must be provided no later than thirty (30) business days from the date the Order is issued to the Service Provider. The specific timeline for the provision of Services and/or delivery of Goods will be indicated in the Order.

  - Services will be provided, and Goods delivered, only according to separate Orders issued by the Customer during the term of the Agreement.

  - The Service Provider shall provide Services and deliver Goods to the address specified in Section 4 of the Technical Specification during the Customer’s working hours (Mon–Thu 7:30–16:30, Fri 7:30–15:15).

  - Services shall be provided, and Goods delivered, in accordance with the procedures established in this Technical Specification.

- QUALITY AND REMEDY OF AND DEFECTS

  - Deficiencies in Services/Goods or the results of Services/Goods shall be considered any non-compliance with the Technical Specification requirements and applicable legislation regulating the quality of Services and/or Goods.

  - The Customer shall have the right to request the Service Provider to remedy deficiencies in Services/Goods or in the results of Services/Goods no later than ten (10) business days from the date the deficiencies are recorded.

  - A ten (10) day period is established for remedying deficiencies identified by the Customer.

  - The Goods must have a warranty period applied by the Service Provider or Goods manufacturer (the longer applicable period), but in any case not less than twenty-four (24) months, counted from the date of signing the delivery-acceptance certificate of the Goods.

  - The Goods must bear the CE mark.

- PAYMENT TERMS

  - The Customer shall pay the Service Provider for the actual Services performed and/or Goods delivered, as specified in the Order, within thirty (30) days from the date of signing the Service result/acceptance certificate and receiving the invoice.

- THE DOCUMENTS TO BE PROVIDED WITH THE SERVICES

  - Turbine and generator inspection or repair protocols/reports (if required);

  - Documentation for spare parts, if parts are purchased for inventory.

  - Documents must be provided in English or Lithuanian.

  - Technical documentation for Goods.

- ANNEXES

  - Annex 1 – Priedas_Nr_1_techniniai_reikalavimai_A_B_L1_L2_L3

  - Annex 2 – Priedas_Nr_2_techniai_reikalavimai_C

  - Annex 3 – Priedas_Nr_3_atsarginės_dalys_turbina_B

  - Annex 4 – Priedas_Nr_4_atsarginės_dalys_turbina_C

  - Annex 5 – Priedas_Nr_5_atsarginės_dalys_generatorius_L3

  - Annex 6 – Priedas_Nr_6_specialus_irankiai_generatorius

  - Annex 7 – Priedas_Nr_7_specialus_irankiai_turbina

  - Annex 8 – Priedas_Nr_8_Rangovų darbų organizavimo standartas_2024_KKJ

  - Annex 9 – Priedas_Nr_9_EN

  - Annex 10 – Priedas_Nr_10_LT

  - Annex 11 – Priedas_Nr_11_LT

Candidates may access Technical Specification Appendices 1–2 and 9–11 upon submission of a signed Confidentiality Undertaking (see Application Form, Annex 3).

The specified quantity of Services is preliminary. During the term of the Contract, the Customer has the right to adjust the quantity of Services purchased, without exceeding the maximum Contract price stated in the Contract. The Customer is not obliged to purchase the full quantity of Services or any part thereof.

Ensures any of the following skills: specialised design, installation and commissioning works, special adjustments, troubleshooting of control and measuring instruments, site management, or services and support from experts in other fields.

Provides mechanical consulting services, technical support, and maintenance for machinery and auxiliary equipment.

Under the supervision of the servicing representative, applying specialized product training and experience, performs adjustments on rotating equipment.

Provides environmental, health, and safety monitoring and control.

If accommodation is not provided, a one-time accommodation fee per person may be applied for all travel and working days, including on-call and rest days.

Meals and other incidental expenses may be calculated as a one-time daily allowance per person for all travel and working days, including on-call and rest days.

If applicable, a one-time daily transport fee per vehicle may be applied for standard car rentals, company and special transport vehicles (trucks, vans, SUVs) for each day of use, including insurance and fuel costs.

A uniform mobilisation fee per mobilisation may be applied for all types of specialists to cover preparation time, travel to and from the site, visa administration, report writing, and summarisation expenses. Travel expenses include one day of accommodation during travel, two daily allowances, and daily transport for initial mobilisation/ demobilisation to/from the construction site. The one-time mobilisation/ demobilisation fee does not include personnel travel time.