TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

  - “Buyer” shall mean Vilniaus kogeneracinė jėgainė UAB.

  - “Supplier” shall mean an economic operator, i.e. a natural person, a private legal person, a public legal person, other organisations and their subdivisions, or a group of such persons with whom the Purchaser concludes a Contract.

  - “Contract” shall mean the Contract concluded between the Supplier and the Purchaser in respect of the object of the Procurement.

  - “Goods” shall mean spare parts for biofuel supply, sorting, and shredding equipment.

  - “Emergency works“ shall mean elimination of emergency failures in biofuel supply, sorting, and

  - “Scheduled maintenance services“ shall mean  inspection of biofuel supply, sorting, and shredding equipment during the plant’s planned shutdown.

  - “Order” shall mean a written document provided to the Supplier on the basis of the Contract by text message, e-mail and/or through the information system specified by the Purchaser, specifying the quantities of the Goods, the delivery addresses and the delivery date.

  - “Related Goods / Services” shall mean the goods / services which are not specified in the Technical Specification, but which are related to the object of the Procurement, whether technically or by virtue of their intended use. The total value of such related goods / services may not exceed 10% of the initial Contract value.

- OBJECT OF THE PROCUREMENT

  - Spare parts and maintenance services for biofuel supply, sorting, and shredding equipment.

- SCOPE OF THE OBJECT OF THE PROCUREMENT

  - The preliminary quantities of Goods, Emergency Works, and Scheduled Maintenance Services are provided in Annex No. 1 to the Technical Specification.

  - If necessary, the Buyer shall have the right to purchase other services/goods related to the subject of procurement that are not listed in Annex No. 1 to the Technical Specification, such as repair kits, special rings, bushings, etc. (hereinafter – Related Goods). All conditions set out in this Technical Specification and the Agreement (warranties, defect elimination, etc.) shall apply to the purchase of Related Goods/Services, unless explicitly stated otherwise.

  - If it is not possible to arrive at the site to eliminate Emergency Works, the Supplier must provide the Buyer with consultations via MS Teams, telephone, e-mail, or other communication means, thereby ensuring smooth failure elimination.

- PLACE OF PERFORMANCE OF THE CONTRACTUAL OBLIGATIONS

  - The Goods shall have to be delivered and the services will have to be provided to the following address: Paneriškių g. 25, LT-02300 Vilnius, Lithuania.

- REQUIREMENTS FOR THE OBJECT OF THE PROCUREMENT

  - Requirements for Goods::

    - The technical requirements for the Goods are provided in Annex No. 1 to the Technical Specification.

    - The Goods must comply with the requirements of the standards in force in the Republic of Lithuania and/or the European Union. Goods certified outside the EU must be equivalent and meet the requirements of Lithuanian and/or EU certificates.

    - The Goods must be new, of high quality, comply with the applicable standards of the equipment manufacturer Raumaster Oy, and be suitable for use for their intended purpose.

    - All purchased Goods must be compatible with the equipment used by the Buyer, as specified in Annex No. 1 to the Technical Specification. Instead of the Goods listed in Annex No. 1 to the Technical Specification, the Supplier may offer equivalent Goods (analogues) from another manufacturer. If equivalent Goods are offered, the Supplier must provide:

      - A free-form written confirmation stating that the Supplier guarantees full compensation for the Buyer’s losses if the Goods offered by the Supplier cause damage to the equipment used by the Buyer.

      - A confirmation from the manufacturer of the offered Goods stating that the proposed equivalent Goods are suitable for replacement and that, after replacing the spare part with an equivalent one, the equipment will operate smoothly

  - Requirements for Emergency Works:

    - In the event of production necessity or an emergency situation, the Buyer has the right to call the Supplier for the elimination of emergency defects.

    - The Buyer submits an Emergency works Order to the Supplier by telephone or by e-mail.

    - The Emergency works Order is considered received and accepted from the date and time of the telephone call or receipt of the e-mail.

    - The Supplier  must include in the actual working hours — for which the Buyer will pay according to the rates specified in the Agreement — the following:

      - Daily allowances;

      - Transportation expenses;

      - Hotel accommodation;

      - Arrival time to the Client’s territory prior to the actual start of works;

      - Tools required for performing the works.

    - The start time for performing Emergency works shall be additionally coordinated with the Supplier’s representative but must not exceed 5 working days from the date of the emergency notification.

    - The Supplier’s representative (person) performing the emergency failure elimination works or providing remote consultations must speak Lithuanian, English, or Russian. Otherwise, the Supplier must, at its own expense, ensure high-quality translation services provided by a person with a technical education.

  - Requirements for Scheduled maintenance services:

    - Scheduled maintenance services shall be provided under separate Orders according to the overall plant shutdown schedule determined by the Buyer. The schedule will be provided to the Supplier no later than 30 (thirty) days before the planned plant shutdown date.

    - The scope of scheduled maintenance services includes inspection of all Raumaster-manufacturer equipment owned by the Buyer, identification of defects, submission of a report on the equipment condition after the service, elimination of defects, and replacement of equipment or components.

- PROCEDURE AND TIME LIMITS FOR DELIVERY OF THE GOODS AND PROVISION OF SERVICES

  - The Goods must be delivered within the timeframe specified in Annex No. 1 to the Technical Specification, but in any case, no later than 30 weeks from the date of the Order.

  - The Supplier must deliver the Goods to the address specified in Section 4 of the Technical Specification during the Buyer’s working hours (Mon–Thu 7:30–16:30, Fri 7:30–15:15).

  - The Goods shall be purchased and supplied under separate Orders from the Buyer during the term of the Contract.

  - The Goods shall be purchased and supplied according to the Buyer’s production needs.

  - The cost of delivery must be included in the price of the Goods.

  - In the event of an emergency failure, the Supplier’s representative undertakes to arrive at the site, whose address is specified in clause 4.1 of the Technical Specification, no later than 5 (five) working days from the date of the Order.

  - By mutual agreement of the Parties, the requirement of clause 6.6 of the Technical Specification may not apply only if the Supplier provides remote repair consultation using the communication means specified in clause 3.3 of the Technical Specification no later than 2 (two) working days from the date of the Order.

  - Scheduled maintenance services and emergency works must be performed within the timeframe specified in the Order, but in any case, no later than 30 calendar days.

- QUALITY AND REMEDYING DEFICIENCIES

  - The Goods shall have a warranty period set by the Supplier or the Goods’ manufacturer (the longer applicable period shall apply), but in any case, not less than 12 (twelve) months, calculated from the date of signing the Goods handover-acceptance act.

  - A period of up to 30 (thirty) calendar days is established for eliminating defects noticed during the Goods handover-acceptance or warranty period from the date of the Buyer’s notification of defective, poor-quality, or faulty Goods. The Supplier must collect the defective/non-functional Goods from the addresses indicated by the Buyer and return the repaired Goods at the Supplier’s expense to the addresses from which they were collected.

  - The Supplier confirms that the sold Goods are suitable for their intended use, that there are no hidden defects that would prevent the Goods from being used for their intended purpose, or that would reduce the usefulness of the Goods.

  - The return and exchange of Goods must be carried out in accordance with the provisions of Article 6.362(4) of the Civil Code of the Republic of Lithuania, as amended and supplemented by Law No. XII-700, which stipulates that the procedure for the exchange and return of items, as well as the list of non-exchangeable and non-returnable items, is defined in the Retail Trade Rules (rules approved by the Government of the Republic of Lithuania on 22 July 2014, Resolution No. 738, as amended). The sale of items and the provision of services under contracts concluded using communication means must be carried out in accordance with the provisions of Article 6.366 of the Civil Code.

- TERMS OF PAYMENT

  - The Buyer shall pay the Supplier for the actually delivered and quality-compliant Goods within 30 (thirty) calendar days from the date of receipt of the Invoice, after the Parties have signed the Goods handover-acceptance certificate.

  - The Supplier shall submit the Invoices for the actually delivered and quality-compliant Goods, along with the Goods handover-acceptance certificates, to the Buyer by the 2nd (second) calendar day of the following month.

- DOCUMENTS ACCOMPANYING THE DELIVERED GOODS

  - Certificates of the Goods in English.

  - Certificates of assembled equipment in English.

  - Transportation and installation instructions in English.

  - Operating manual in English (if the manufacturer is not a Lithuanian company).

  - Goods testing protocols, work reports. Documents to be provided in English.

  - Installation instructions in English.

  - Goods handover-acceptance acts.

  - Documents listed in clause 9.1–9.7 shall be provided only upon the Buyer’s request when submitting Orders.

- ANNEXES

  - Annex No. 1 to the Technical specification_Tender price - Preliminary quantities of Goods.