Pildymo instrukcija:

Pateikiamas detalus perkamų Prekių norimo rezultato aprašymas, pirkimo objekto funkcinės savybės (parametrai):

- aiškiai išskiriamos perkamos Prekės (skirtingos Prekės nurodomos atskirais punktais);

- techniniai reikalavimai surašomi į lentelę (pavyzdys pateiktas aukščiau);

- jeigu neįmanoma užpildyti lentelės, pateikiama atskirais punktais, nurodomi aktualūs reikalavimai: prekėms, įrenginiams, garantinei priežiūrai, palaikymui, eksploatacijai.

- visiems parametrams (kiek tai įmanoma) turi būti nurodytos ribos (pvz:. ne mažiau kaip 20 cm.; ne siauresnėse ribose nei nuo -10°C iki +20 °C; 10 cm ±5mm)

- PREKIŲ PRISTATYMO TVARKA IR TERMINAI

  - Prekės turi būti pristatytos ne vėliau kaip per ____ (žodžiais) [Pasirinkite] nuo [Pasirinkite]

  - Tiekėjas turės pristatyti Prekes Techninės specifikacijos 4 skyriuje nurodytais adresais Pirkėjo darbo laiku (I-IV 7:30 – 16:30 val., V 7:30 – 15:15 val.).

Jeigu Prekės tiekiamos pagal Užsakymus (jei netaikoma, šis punktas ištrinamas).

  - Prekės bus perkamos ir tiekiamos pagal atskirus Pirkėjo Užsakymus Sutarties galiojimo metu.

  - Tiekėjas turės pristatyti Prekes Techninės specifikacijos 4 skyriuje nurodytais adresais (arba kitu Užsakyme nurodomu konkrečiu adresu) Pirkėjo darbo laiku (I-IV 7:30 – 16:30 val., V 7:30 – 15:15 val.).

Jei netaikoma, šis žemiau esantis punktas ištrinamas

  - Pirkėjas pirmą Užsakymą Tiekėjui pateikia: (pasirinkite tinkamą variantą, kitus variantus ištrinkite)

    - Ne anksčiau kaip po ____ (žodžiais) (dienos (-ų) / darbo dienos (-ų)) nuo Sutarties įsigaliojimo dienos;

    - Ne vėliau kaip likus ____ (žodžiais) (dienoms/savaitėms) iki Prekių tiekimo pradžios;

    - _________________________ (įrašykite kitą variantą).

Jeigu Prekės tiekiamos pagal grafiką (jei netaikoma, šis punktas ištrinamas).

  - Prekės bus perkamos ir tiekiamos pagal šalių suderintą Prekių tiekimo grafiką, kurį Tiekėjas privalo per ____ (žodžiais) darbo dienas nuo Sutarties sudarymo dienos pateikti ir suderinti su Pirkėju.

Jeigu Prekės tiekiamos tam tikra tvarka (prašome aprašyti konkrečią Prekių tiekimo tvarką, (pvz.: Prekes atsiims Pirkėjo atstovas.)). (Jei netaikoma, šis punktas ištrinamas).

  - Prekės bus perkamos ir tiekiamos šioje Techninėje specifikacijoje nustatyta tvarka.

Jeigu tiekiamų Prekių naudojimui reikalingi papildomi mokymai Pirkėjo darbuotojams (jei netaikoma, šis punktas ištrinamas).

  - Tiekėjas turi surengti mokymus Pirkėjo personalui ____ (nurodyti asmenų skaičių) ne ilgiau kaip per ____ (žodžiais) [Pasirinkite] nuo [Pasirinkite] Mokymų trukmė turi būti ne trumpesnė kaip ____ (žodžiais) [Pasirinkite] Mokymai turi būti lietuviu kalba, mokymo medžiaga lietuvių ir anglų kalbomis. Mokymų programoje turi būti įtrauktos temos, susijusios su ____________________ (Nurodyti, kas turi sudaryti mokymų medžiagą, kokias žinias turi įgyti personalas po mokymų).

- KOKYBĖ IR TRŪKUMŲ ŠALINIMAS

Nurodomas Prekėms taikomas garantinis terminas (mėnesiais, metais) skaičiuojamas nuo Prekių priėmimo - perdavimo akto pasirašymo dienos (pvz. „Prekėms nustatomas ne trumpesnis kaip 1 (vienerių) metų Prekių gamintojo garantijos terminas, kuris skaičiuojamas nuo Prekių priėmimo - perdavimo akto pasirašymo dienos

  - Prekėms nustatomas Tiekėjo arba Prekių gamintojo taikomas (nustatomas ilgesnis taikomas terminas) garantijos terminas, tačiau bet kokiu atveju ne trumpesnis kaip ____ (žodžiais) [Pasirinkite] garantijos terminas, skaičiuojamas nuo Prekių perdavimo-priėmimo akto pasirašymo dienos.

Nurodomas trūkumų šalinimo terminas (dienomis arba darbo dienomis, atskirais atvejais – mėnesiais) (pvz. „Prekių perdavimo - priėmimo ar garantinio laikotarpio metu pastebėtiems trūkumams šalinti nustatomas 10 kalendorinių dienų terminas“)

  - Prekių perdavimo - priėmimo ar Garantinio laikotarpio metu pastebėtiems trūkumams šalinti nustatomas ____ (žodžiais) [Pasirinkite] terminas nuo Pirkėjo pranešimo apie sugedusias, nekokybiškas ar turinčias trūkumų Prekes. Tiekėjas netinkamas/sugedusias Prekes privalo pasiimti iš Pirkėjo nurodytų adresų ir suremontuotas Prekes savo lėšomis grąžinti Pirkėjo nurodytais adresais, iš kurių jos buvo paimtos.

  - Tiekėjas patvirtina, kad parduodamos Prekės yra tinkamos naudoti pagal jų tikslinę paskirtį, kad nėra paslėptų Prekių trūkumų, dėl kurių Prekių nebūtų galima naudoti pagal jų tikslinę paskirtį arba dėl kurių sumažėtų Prekių naudingumas.

  - Už nustatytų Prekių trūkumų nepašalinimą per Sutarties Techninės specifikacijos XX punkte nustatytą terminą Tiekėjas, Pirkėjui pareikalavus, moka Pirkėjui 0,05 procentų nuo trūkumų turinčių Prekių kainos dydžio delspinigius už kiekvieną uždelstą dieną (tačiau bet kokiu atveju ne mažiau kaip ____ eurų (suma žodžiais)  už vieną vėlavimo laikotarpį).

Pildymo instrukcija:

- nurodomi Pirkimo objekto kokybę reglamentuojantys teisės aktai, standartai (būtinas prierašas „arba lygiavertis“), techniniai reglamentai, normatyvai, arba, jei tokių nėra, kuo konkrečiau apibūdinama laukiama Pirkimo objekto kokybė.

- Nurodoma netesybų suma.

- APMOKĖJIMO SĄLYGOS

  - Pirkėjas sumoka Tiekėjui už [Pasirinkite] pristatytas kokybiškas Prekes, šalims pasirašius Prekių perdavimo – priėmimo aktą, per 30 (trisdešimt) kalendorinių dienų nuo Sąskaitos gavimo dienos.

Jeigu Tiekėjas PVM sąskaitą faktūrą turi pateikti per nurodytą terminą (jei netaikoma, šis punktas ištrinamas. (GSC) pirkimų atveju, šis punktas yra privalomas).

  - Tiekėjas per 2 (dvi) darbo dienas nuo Prekių perdavimo-priėmimo akto pasirašymo pateikia PVM sąskaitą – faktūrą ir pasirašytą Prekių perdavimo-priėmimo aktą Pirkėjui.

Pildymo instrukcija:

- Nurodomas konkretus PVM sąskaitų pateikimo terminas (pvz. Sąskaitas už faktiškai per praėjusį mėnesį pateiktas Prekes, ir Prekių perdavimo - priėmimo aktus Tiekėjas pateikia Pirkėjui iki einamojo mėnesio 5 (penktos) dienos).

- Jeigu taikomas avansinis apmokėjimas, nurodoma:

  - iki kada pateikiama avansinė sąskaita;

  - apmokėjimo terminas;

  - avansinio apmokėjimo sumą (EUR, procentais).

Pastaba: Jeigu taikomas avansinis apmokėjimas, Pirkimą inicijuojantis asmuo privalo raštu tai suderinti su asmeniu, atsakingu už įmonės finansus.

- KARTU SU PRISTATOMOMIS PREKĖMIS PATEIKIAMI DOKUMENTAI

Pasirenkama pagal poreikį.

  - Prekių pasai lietuvių arba anglų kalbomis;

  - Komplektuojamų įrenginių pasai lietuvių arba anglų kalbomis;

  - Transportavimo, montavimo instrukcijos lietuvių arba anglų kalbomis;

  - Eksploatavimo instrukcija lietuvių arba anglų (jeigu gamintojas ne Lietuvos įmonė) kalbomis;

  - Prekių bandymo protokolai. Dokumentai pateikiami lietuvių ar anglų kalba;

  - Montavimo instrukcijos lietuvių ir anglų kalbomis;

  - Prekių priėmimo-perdavimo aktai;

  - Kita: _________________________________________

Pildymo instrukcija:

Aukščiau pateiktas pavyzdinis pateikiamų dokumentų sąrašas. Reikia nurodyti pagal pirkimo objektą priklausančius dokumentus.

- KITI REIKALAVIMAI

  - Pirkėjas sudarys sąlygas Tiekėjams suderintu laiku atvykti ir išsibandyti siūlomą Prekę.

  - Pirkėjas per xx (žodžiais) po Sutarties pasirašymo pateiks Tiekėjui ______________________ dokumentus (brėžinius, leidimus ir t.t.).

Pildymo instrukcija:

1. Nurodomi kiti su Sutarties vykdymu susiję reikalavimai.

- PRIEDAI

  - Priedas Nr. 1 - ____________________

TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

  - “Buyer” shall mean UAB Vilniaus kogeneracinė jėgainė

  - “Contractor” shall mean an entity—a natural person, a company, other organisations and their subdivisions or a group of such organisations—which perform works for Buyer under the terms specified in the contract.

  - “Party” shall be the Buyer or the Contractor individually. “Parties” shall mean the Buyer and the Contractor together.

  - “Contract” shall mean the Contract concluded between the Contractor and the Buyer in relation to the Subject Matter of the Procurement.

  - “Works” shall mean repair works of waste boiler masonry

  - “Materials” shall mean the materials required to carry out the Works.

  - “Order” shall mean a written document submitted to the Contractor on the basis of the Contract by text message, email and/or through an information system specified by the Buyer, specifying the scope of the Works, the addresses and the deadline for performance.

  - “Technical Specification” shall mean this document, including all its annexes.

  - “Certificate” shall mean the certificate of handover and acceptance of the Works signed by the Contractor and the Buyer upon completion of the Works under the Contract.

- OBJECT OF THE PROCUREMENT

  - Masonry repair works and materials for waste boilers.

- SCOPE OF THE OBJECT OF THE PROCUREMENT

  - The preliminary quantities of Works and Materials are specified in Annex No. 1 to the Technical Specification

- SUTARTINIŲ ĮSIPAREIGOJIMŲ VYKDYMO VIETA

  - Darbai turės būti atliekami Paneriškių g. 25, Vilnius, UAB Vilniaus kogeneracinė jėgainė.

- REQUIREMENTS FOR THE OBJECT OF THE PROCUREMENT

Description of the Subject of the Procurement

  - Repair works of the masonry of waste steam boilers operated by UAB Vilnius kogeneracinė jėgainė.

  - Procedure for the performance of the Works:

    - The Works shall be performed in accordance with the standards, norms, and regulations in force in the Republic of Lithuania.

    - Materials, products, and structures certified in the Republic of Lithuania and/or the European Union shall be used for the performance of the Works.

    - The Contractor undertakes, no later than within 5 (five) working days from the date of signing the Contract, and thereafter each January during the term of the Contract or upon any change of information, to submit to the Buyer a completed Annex No. 1 to the Buyer’s Contractor Work Organization Standard – the “Application Form for Performance of Works.”

    - The Contractor’s employees must wear special work clothing bearing the Contractor’s logo, and technical personnel must wear an identification badge indicating their surname and position

    - The Contractor’s employees must comply with the Buyer’s internal work rules, with which they shall be familiarized during the induction/instruction

    - The Contractor shall, at its own expense, ensure the necessary safety, hygiene, and fire-fighting equipment and measures.

    - The Contractor shall perform the Works using its own resources, infrastructure, and equipment, at its own risk, and shall procure at its own expense the structures, devices, fixtures, products, materials, and other equipment necessary for the performance of the Works.

    - The Contractor shall, at its own expense, provide the equipment necessary for performing Works at height. The costs of ensuring the required resources shall be included in the price/rate of the Works.

    - In performing the Works, the Contractor shall, in accordance with the applicable laws and regulatory documents of the Republic of Lithuania, ensure safe working conditions for service personnel and other contractors of the Buyer carrying out Works in the same work area.

    - The Contractor shall, at its own expense, repair and maintain its own tools, equipment, and mechanized equipment.

    - The Contractor shall remove waste generated during the performance of the Works from the work site and leave the site tidy at the end of each working day. Waste shall be collected in the Contractor’s own containers; once the containers are full and upon completion of the Works, prior to removal, the Contractor must submit to the Buyer the quantity of waste to be removed. The Contractor shall ensure that all contaminated waste removed is transported for disposal to an entity authorized to provide such services. The Contractor must provide the Buyer with the original certificate confirming waste disposal. Scrap metal generated during repair works shall be prepared for transportation by the Contractor, transported using the Contractor’s own vehicles, in the presence of the Buyer’s responsible representative, and delivered on behalf of the Buyer to the scrap metal purchasing company designated by the Buyer.

    - The Buyer grants the Contractor the right to use the available lifting equipment for the Contractor’s qualified personnel to operate stationary lifting equipment remotely controlled from the work site.

    - In accordance with the applicable laws and legal acts of the Republic of Lithuania, the Contractor shall arrange, obtain, coordinate, manage, and handle all permits, certificates, attestations, approvals, consents, and endorsements required for the performance of the Works, except for those which, under the Contract, must be provided by the Buyer.

    - For the performance of the Works, the Contractor may use the stationary specialized equipment installed on the Buyer’s premises.

    - The Contractor shall comply with the traffic and vehicle movement rules in force within the Buyer’s territory.

  - Requirements for Materials:

    - The Materials supplied by the Contractor shall comply with the requirements of the standards in force in the Republic of Lithuania and/or the European Union. Materials certified outside the EU must be equivalent and comply with the requirements of Lithuanian and/or EU certification standards

    - New (unused) materials shall be used for the Works related to the repair of the cyclone lining/masonry of biomass boilers, meeting quantitative, functional, and technical requirements and having manufacturer’s certificates; such materials are specified in Annex No. 1 to the Technical Specification.

    - The Contractor shall provide certificates and quality documents for the materials used, confirming compliance with the standards in force in the Republic of Lithuania

    - The Order shall specify which Materials are to be supplied by the Contractor and/or which materials shall be supplied by the Buyer. Materials supplied by the Buyer shall be made available at the warehouses located within the Buyer’s territory. Following the Buyer’s submission and written approval of the cost estimate, a materials acceptance and transfer deed shall be drawn up, upon which full responsibility for the transferred materials shall pass to the Contractor. The risk of accidental loss or damage to the transferred materials from the moment of acceptance and transfer until the proper handover of the completed Works in accordance with the Contract shall rest with the Contractor.

    - Masonry works of waste boilers may be performed only by qualified personnel holding documents certifying their qualifications.

- PROCEDURE AND TIMEFRAMES FOR THE PERFORMANCE OF THE WORKS

  - The Works shall be procured on an as-needed basis and only pursuant to separate Orders issued by the Buyer during the term of the Contract.

  - The Works shall be performed within the time limits specified in the Work Order. The performance period may range from 1 (one) calendar day to 30 (thirty) calendar days. The specific deadline shall be indicated in the Order.

  - The Works shall be carried out at the address specified in Part 4 of the Technical Specification, during the Buyer’s working hours (Monday–Thursday from 7:30 a.m. to 4:30 p.m., Friday from 7:30 a.m. to 3:15 p.m.).

- QUALITY OF THE WORKS AND REMEDYING OF DEFECTS

  - The Works shall be covered by the quality warranty period provided for in the Law on Construction of the Republic of Lithuania, but in any case, not shorter than 12 (twelve) months from the date of signing the Works Acceptance–Handover Certificate.

  - A period of 5 (five) working days shall be set for the remedying of defects in the result of the Works identified by the Buyer.

  - Defects in the Works and/or in the result of the Works shall mean any non-compliance with the requirements of the Technical Specification and the legal acts regulating the quality of the Works.

  - If the Buyer does not approve an extension of the deadline for remedying defects within 3 (three) working days, such failure shall be deemed a refusal to extend the deadline for remedying defects.

  - The Parties agree that no separate agreement on the extension of the deadline for remedying defects shall be signed. The Contractor’s request together with the Buyer’s written consent shall be deemed an equivalent document. All documents submitted by the Contractor and the Buyer’s consent shall be considered an integral part of the Contract.

- TERMS OF PAYMENT

  - Upon the Contractor’s full performance of the Order and the signing by the Parties of the Works Completion Certificate, the Buyer shall pay the Contractor within 30 (thirty) days from the date of receipt of the Invoice.

  - The Contractor shall submit invoices for the Works actually performed and the Works Acceptance–Handover Certificates to the Buyer by the 2nd (second) calendar day of the following month.

  - If, during the performance of the Order, it becomes apparent that part of the ordered Works is not performed or that the quantities thereof are reduced, the Buyer shall pay only for the Works actually performed.

- DOCUMENTS TO BE SUBMITTED TOGETHER WITH THE COMPLETED WORKS

  - Upon completion of the Works, the Contractor shall submit the following repair documentation to the Buyer:

    - The Works Acceptance–Handover Certificate.

    - Test protocols and forms.

    - Certificates of conformity and quality certificates for the materials used.

  - The documentation of the completed Works shall be submitted in Lithuanian (in exceptional cases, and upon agreement with the Buyer, it may be submitted in another language).

- CONTRACTUAL OBLIGATIONS OF THE CONTRACTOR

  - During the performance of the Works, the Contractor shall protect the adjacent installed equipment and its surrounding environment, and in the event of contamination and/or damage, shall repair or compensate the Buyer for any related losses.

  - During the performance of the Works, the Contractor shall protect the Buyer’s property. In the event of damage, the Contractor shall repair or compensate the Buyer for any related losses.

  - The Contractor shall comply with the applicable versions of the legal acts and regulatory documents governing the performance of the Works.

  - The Contractor shall be responsible for organizing safe work and fire safety and shall record and investigate all accidents involving its own and its subcontractors’ employees related to the Works, from the commencement to the completion of the Works. The Contractor and/or its subcontractors (if engaged) shall ensure safe working conditions to prevent accidents and shall comply with all occupational safety requirements provided for in the relevant legal acts and laws of the Republic of Lithuania.

  - During the performance of the Works, meetings between the Buyer and the Contractor may be held to discuss the progress of the Works. Upon invitation by the Buyer, the Contractor shall participate in such meetings, sessions, or consultations. No additional remuneration shall be paid to the Contractor for attending these meetings. Each party shall notify the other party in writing of a planned in-person meeting no later than 3 (three) working days prior to the start of the meeting. At the Buyer’s request, the Contractor shall attend the meeting in person at the Buyer’s premises.

- CONTRACTUAL OBLIGATIONS OF THE BUYER

  - The Buyer shall provide the Contractor with the opportunity to inspect and assess the site of the Works and to evaluate the potential scope of the Works. Prior to the visit, the inspection time must be coordinated in advance with the contact person specified in the procurement documents.

  - The Buyer shall, free of charge, provide the Contractor with technical water and electricity necessary for the performance of the Works, and, if possible, allocate a room for staff to change and allow access to restrooms (WC).

- ANNEXES

12.1. Annex No. 1 – Preliminary Scope of Works and Materials.