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	DĖL ATSAKYMŲ Į TIEKĖJŲ KLAUSIMUS

	REGARDING THE RESPONSES TO SUPPLIERS' QUESTIONS


	
	

	Siunčiame atsakymus į tiekėjų klausimus (2025-VKJ-243) Biokuro tiekimo, rūšiavimo ir smulkinimo įrangos atsarginių dalių ir serviso darbų pirkime.
	We are sending responses to suppliers questions in an ongoing procurement of (2025-VKJ-243) Spare parts and maintenance services for biofuel supply, sorting, and shredding equipment.

	
	

	Siekdami išvengti turinio interpretacijų, tiekėjų klausimus cituojame tiksliai taip, kaip buvo pateikti Centrinės viešųjų pirkimų informacinės sistemos (toliau – CVP IS) priemonėmis (tekstas neredaguotas).
	To avoid interpretations of the content, we quote the questions of the suppliers exactly as they were submitted via the Central Procurement Information System (hereinafter - CPP IS) (text is not edited).



	Eil. Nr. / 
No.
	Siūloma korekcija / klausimas
Proposed correction / question
	Atsakymas į klausimą/ Informacija apie pirkimo dokumentų tikslinimą /
Answer to the question / Information about the clarification of the procurement documents

	1.
	Prašau pateikti technines specifikacijas, pagal kurias galėtume identifikuoti detales, kadangi pagal pateiktus gamintojo kodus, nėra tikslumo parenkant komponentus ruošiant pasiūlymą. Trūksta techninės informacijos.
	Paaiškiname, kad Pirkėjas neturi visų detalių techninių specifikacijų ir brėžinių. Ši informacija buvo išplatinta su ankstesniu atsakymu į klausimus (CVP IS ID 504517).  Pvz.: poz. 1.16 Viršutinė apsauga nuo užsikimšimo CSR-7_ - čia gaminama konstrukcijos dalis, jai nėra specifikacijos, tik brėžinys.
Visų žinomų detalių markės ir modeliai yra parašyti specifikacijoje, turimos įrangos gamintojas (originalių detalių gamintojas) nurodytas TS punkte 5.1.3.
Pridedame informaciją ir dokumentus, kurią turime.

	
	Please provide the technical specifications that would allow us to identify the parts, as the manufacturer codes provided are not sufficient to accurately select the components when preparing the quotation. The necessary technical information is missing.
	We would like to clarify that the Buyer does not possess all technical specifications and drawings for the components. This information was previously provided in response to questions (CPP IS ID 504517).
For example: item 1.16 Upper clogging protection CSR-7 – this is a fabricated component, for which no specification exists, only a drawing.
All known part brands and models are listed in the specification, and the manufacturer of the existing equipment (original parts manufacturer) is indicated in TS section 5.1.3.
We are providing all the information and documents that we have.


Strateginių pirkimų projektų vadovė Jūratė Kaupinienė, Mob. +370 665 13258/ Strategic Procurement Project Manager Jūratė Kaupinienė, phone no. +370 665 13258
Juridinio asmens kodas 303200016
PVM mokėtojo kodas LT100008194913
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