## Annex 6 to the Terms and Conditions of Procurement “Criteria and Conditions for Evaluating Tenders“

CRITERIA AND CONDITIONS FOR EVALUATING TENDERS

- The Contracting Authority shall select the most economically advantageous tender on the basis of price and criteria related to the subject of the Procurement, in accordance with the evaluation procedure set out in this Annex.

- The price of the Procurement Object specified in the tender shall be considered unusually low if it appears unusually low, and shall in all cases be considered unusually low if it is 30 percent or more lower than the prices of all suppliers, whose tenders have not been rejected for other reasons, and whose offered price does not exceed the arithmetic mean of the prices proposed in the documents prepared by the Contracting Authority prior to the start of the Procurement Procedure.

- The rank of tenders shall be determined in descending order of economic advantage. In cases where the economic advantage of the tenders of several suppliers is equal, the Supplier whose tender was submitted earlier shall be placed higher in the rank of tenders.

- Tender evaluation criteria:

| Part of the Procurement Object No – 1 (of 1) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Name/description of evaluation criterion | Procedure for awarding points | Relative weight / Maximum number of points | Documents / information to be submitted with the tender |
|  | Price |  | 80.01 | Tender form (Annex 5 to the Terms and Conditions of Procurement). |
|  | Quality |  | 19.99 | See below. |
| 2.1 | Range of frequencies |  |  |  |
|  | Point 5.1 of Technical Specifications Characteristic value, parameters – Not less than 9 kHz to 8 GHz | Not less than 9 kHz to 12 GHz | 2.175 | 1) Form of the tender (Annex 5 to the Terms and Conditions of Procurement). |
|  |  | Not narrower than 9 kHz to 18 GHz | 4.35 |  |
| 2. | Panoramic scanning speed of the frequency band |  |  |  |
|  | Point 5.13 of Technical Specifications Characteristic value, parameters – Not less than 110 GHz/s with 25 kHz resolution | For each additional GHz/s – 0.145 points | 1.45 | 1) Form of the tender (Annex 5 to the Terms and Conditions of Procurement). |
| 2. | Frequency range |  |  |  |
|  | Sub-paragraph 7.1.2.1 of Technical Specifications Not narrower than 1.5 GHz to 8 GHz | Not less than 1 GHz to 14 GHz | 2.175 | 1) Form of the tender (Annex 5 to the Terms and Conditions of Procurement). |
|  |  | Not narrower than 0.9 GHz to 18 GHz | 4.35 |  |
| 2. | Technical requirements for omnidirectional monitoring antennas |  |  |  |
|  | Point 7.4 of Technical Specifications | If the supplier offers an active omnidirectional monitoring antenna that can perform monitoring in horizontal and vertical polarisation simultaneously (using both receiver inputs) or perform monitoring in either horizontal or vertical polarisation | 0.43 | 1) Tender form (Annex 5 to the Terms and Conditions of Procurement). |
|  |  | If the supplier offers an active omnidirectional monitoring antenna with selectable antenna operating modes – active or passive | 0.72 |  |
|  |  | The supplier offers an active omnidirectional monitoring antenna with integrated rejecting filters | 0.72 |  |
| 2.5 | Technical requirements for the antenna switch |  |  |  |
|  | Point 7.6 of Technical Specifications | a) Antenna switch with a set of band-pass filters and band-stop/notch filters, up to 10 filters. For each additional filter – 0.145 points | 1.45 | 1) Tender form (Annex 5 to the Terms and Conditions of Procurement). |
|  |  | b) Antenna switch with signal attenuator option with at least 5 fixed values: 3 dB, 6 dB, 10 dB, 20 dB, 40 dB Each additional value – 0.145 points | 1.45 |  |
|  |  | c) Antenna switch with signal amplification function. Additional points are awarded for criteria (a) and (b) when the maximum number of points is achieved. | 0.7 |  |
| 2. | Antenna type |  |  |  |
|  | Sub-paragraph 7.10.2 of Technical Specifications Active CRPA type antenna | For each additional element exceeding 4 units – 0.29 points | 1.45 | 1) Tender form (Annex 5 to the Terms and Conditions of Procurement). |
| 2. | Input signal level attenuator |  |  |  |
|  | Point 8.17 of Technical Specifications Not less than 30 dB with 1 dB switching step (switching can be selected manually or automatically) | For each additional 2 dB – 0.145 points | 1.45 | 1) Form of the tender (Annex 5 to the Terms and Conditions of Procurement). |
| 2. | Spectrum scanning speed, displaying the entire frequency range |  |  |  |
|  | Point 8.21 of Technical Specifications Not less than: 60 GHz/s (at 1 MHz RBW), 55 GHz/s (at 100 kHz RBW), 45 GHz/s (at 25 kHz RBW) | For each GHz/s exceeded – 0.145 points | 1.45 | 1) Form of the tender (Annex 5 to the Terms and Conditions of Procurement). |

- Economic efficiency is calculated using the calculator provided in the Procurement documents, prepared by the Public Procurement Service and partially completed by the Contracting Authority in accordance with the Procurement documents (formula – Telgen (absolute)) (calculator enclosed). According to this formula, the tender with the highest number of points is declared the successful tender. Tenders with a price exceeding PSetMax are awarded a negative point for price. If the price of the tender is equal to PSetMax, the tender is awarded 0 points for price, while tenders, the price of which  is closer to PSetMin, are awarded a correspondingly higher number of positive points. Tenders with a price lower than PSetMin will be awarded a higher number of points than the comparative weight. The Contracting Authority shall determine that PsetMin is equal to 0 and PsetMax is equal to 5,634,999.74 EUR, including VAT.

- Tenders will be evaluated in euros. If the price or rate in the tenders is indicated in a foreign currency, it will be converted into euros according to the indicative euro and foreign currency exchange rate published by the European Central Bank, and in cases where the European Central Bank does not publish the indicative euro and foreign currency exchange rate, – according to the indicative euro and foreign currency exchange rate set and published by the Bank of Lithuania on the last day of the deadline for submitting tenders.