Technical Specification

Operational Planning Process Optimization Study

Technical Requirements

## Version 1.0

Table of Terms and Definitions

| Abbreviation | Meaning |
| --- | --- |
| PSS/E | Siemens Power Grid Flow Analysis Tool |
| ODMS | Transmission Network Simulation and Analysis Tool (Operations and Data Management System) |
| UMM | Urgent Market Messages |
| TVIS | Asset Management Information System |
| DH | Data History Store (Data Historian) |
| ESB | The company uses a data exchange management system (data).Enterprise Service Bus) |
| MDE | Model Data Environment |
| Power BI | Data visualization and analysis platform |
| EDI Library | Electronic Data Interchange Library |
| SWOT | Analysis of strengths, weaknesses, opportunities and threats |
| ROI | Return on Investment |
| XML | Data Exchange Format (Extensible Markup Language) |
| CSV/XLSX | Data exchange formats CSV - Comma-Separated Values , XLSX - Excel format) |
| JSON | Data Exchange Format (JavaScript Object Notation) |
| IT solution | Information system and/or IT tool for the implementation of business processes step. IT solution) |
| TS | Technical Specification |
| ES | European Union |
| ENTSO-E | The European Network of Transmission System Operators for Electricity (EESC) European Network of Transmission System Operators for Electricity) |
| TSO | Transmission System Operator (Transmission System Operator) TSO - Transmission System Operator) |
| COBIT | The Common Model for Information Technology (IT) Management and Control Control Objectives for Information and Related Technologies) |
| CMMI | The Process Improvement Model Capability Maturity Model Integration) |
| ISO 9001 | International Standard for Quality Management Systems (QMS) |
| Bizagi Modeler | Business process modeling program based on the international BPMN 2.0 standard |
| CVP IS | Central Public Procurement Information System |
| Y-1 | One year ago |
| M-1 | A month ago |
| W-1 | A week ago |
| D-2 | Two days ago |
| D-1 | The day before |
| RIGHT | Daily Progress |
| H-1 | Balancing period |
| STATERA | Electricity balance and system service planning, management and reporting system, implemented specifically according to the needs of Litgrid AB and intended for Litgrid AB, as a TSO, to automate related business processes and ensure data exchange between information systems/platforms and other TSOs |
| CGM | The ENTSO for Electricity Common Data Set, which combines the individual network models (Individual Network Models (NECs) developed by individual TSOs. Common Grid Model) |
| SO GL | Regulatory document adopted by the ENTSO for Electricity laying down common rules and procedures for ensuring the operation of the electricity transmission network throughout the European Synchronous Area (ERC). System Operations Guideline) |
| OCM | Outage Coordination Methodology according to Articles 84 to 92 of the SO GL for the coordination of planned outages. |
| CSAM | Coordinated Operational Security Analysis Methodology, which regulates the N1 analysis and operational security assessment in accordance with Articles 24 to 37 of the SO GL. |
| CACM | Capacity Allocation and Congestion Management Regulation, a binding regulation that lays down rules on cross-border capacity calculation and market mechanisms. |

# Object of Procurement

  - Operational Planning, IT Solutions, Analysis and Feasibility Study

  - Preparation of the technical specification

  - Additional consultation hours (up to 100 hours)

# Procedure for the provision of services

  - The services must be provided in Vilnius, at the headquarters of the Contracting Authority (Karlo Gustavo Emilio Mannerheimo St. 8), unless the specific task provided for the provision of services at the premises of the Service Provider or other premises; or the services are provided remotely, in accordance with the procedure for the organisation of works approved by the Contracting Authority.

  - The term of provision of services is 36 months.

- Scope of service and pricing model

  - The object of the procurement consists of three separate parts of the service, which are subject to different pricing and acquisition principles:

- Operational planning process optimization study;

- Preparation of the technical specification for the procurement;

- Additional consultation hours.

  - The study for the optimization of operational planning processes (Item 1.1) is purchased by applying the principle of fixed price. The Supplier must indicate in the tender one total price for the entire study, which includes all the works, analyses, preparation of documents and their coordination with the Client specified in the Technical Specification.

  - The preparation of the technical specification for the procurement (points 1.2 and 6) is also purchased according to the principle of fixed price, however, this element of the service is considered optional and is carried out only if a solution is chosen in accordance with the recommendations of the study, which requires further execution of the procurement. If such a solution is not chosen, this part of the service is not purchased and is not paid.

  - Additional consultation hours (Sections 1.3 and 7 ) are purchased on a fixed hourly basis. The supplier must indicate in the tender the rate of one consultation hour.

  - The Customer does not undertake to purchase any minimum amount of additional consulting hours and pays only for the consulting hours actually ordered by the Customer and provided by the Contractor.

# Description of the current situation

  - Due to the connection to the continental European networks (hereinafter referred to as the EU networks) and the integration with the European platforms and processes, the volume of operational planning activity processes (hereinafter referred to as the "Processes") is increasing.  In order to comply with the requirements of EU legislation and ensure a smooth operational planning process, while developing new business processes and new technical/IT functionality, there is a growing need to change the existing operational planning process and operational planning principles, to increase the efficiency of existing business processes and to develop new processes based on the best practices of process design and IT Architecture principles. Currently, these changes (processes and IT systems) are implemented mainly by internal resources, which leads to a large number of processes, low efficiency, instability and lack of quality. Operational planning processes are executed with Python automation scripts that integrate with network modeling applications using APIs and perform various calculations related to electrical grid modeling needs for operational planning processes. Accumulation and administration of data for intermediate calculations is carried out by storing data in files and excel forms. Data exchange processes with other parties have been implemented in a process and data management system that has integrations with operational processes and other systems. Main functions/processes of operational planning:

    - Power grid modeling and model support (SO GL 65-71; ENTSO-E CGM)

    - Disconnection management (SO GL 18-29; OCM)

    - System reliability assessment (SO GL 18, 24-37; CSAM)

    - Determination of Intersystem Capacities (CACM)

    - System adequacy assessment (SO GL 104-107; ENTSO Planning Methodologies)

    - Planning of technological losses (Law of the Republic of Lithuania on Electricity – requirements for calculation and planning of technological losses)

    - Archival Data Collection and Analysis (SO GL 40)

  - Activities are carried out using the following electricity network IT systems and solutions:

    - Power grid simulation programs (PSS/E and ODMS);

    - Electricity balance and system service planning, management and reporting system STATERA and its integrations with internal and external systems;

    - In-house analytical automation and computational tools built using Python scripts that perform automation, computation, reporting, and provide integration with other systems.

# Study tasks

  - The study is carried out in 4 steps:

    - To analyze operational planning business processes and determine which IT solutions are used to ensure the operation of these business processes;

    - Review, evaluate and analyze the IT solutions that have been identified in the first point;

    - To assess which process and data management systems are used in the market, taking into account good practices;

    - To prepare recommendations for process optimization and changes in IT systems.

  - To analyze operational planning business processes and determine which IT solutions are used to ensure the operation of these business processes

    - Processes analyzed:

      - Power grid modeling and support (Y-1, M-1, W-1, D-2, D-1, DE);

      - Disconnection control (Y-1, M-1, W-1, D-2, D-1, DE);

      - System reliability assessment (D-2, D-1, DE);

      - Determination of intersystem capacities (Y-1, M-1, W-1, D-2, D-1, DE);

      - System adequacy assessment (Y-1, W-1, D-1);

      - Technological loss planning (Y-1, D-1, DE)

      - Archival data collection and analysis (Y-1, M-1, W-1, D-2, D-1, DE, H-1, real-time data)

      - Additional Processes that are necessary to ensure operational planning activities.

      - The number of existing Processes is 40, the preliminary number of additional Processes to be evaluated is up to 10.

    - The customer shall submit documentation during the performance of the contract relating to the  5.2.1 Procedures. Process description tool – Bizagi Modeler, methodology – according to ISO 9001 standard. Process diagrams and descriptions will be provided in Lithuanian and in a corrective format (WORD). If necessary, the Client will provide assistance in translating process descriptions.

    - The Vendor must familiarize himself with the Processes and identify the interaction of the Process Steps with the IT components.

    - The Customer undertakes to provide the Supplier with all necessary conditions to get acquainted with the Processes and their descriptions, including:

- Transfer of the documents of the processes submitted by the customer to the supplier for independent consultation (as specified in 5.2.2 points);

- Organization of process presentations – a total of 8 sessions (one session for each Process group).

  - Review, evaluate, and analyze IT solutions

      - Evaluate and analyze the use of IT solutions in Processes:

      - The use of PSS/E and ODMS power grid simulation programs;

      - the use of STATERA;

      - Use of internal automation and computational tools developed in Python;

      - Use of other IT solutions identified by familiarization with the Processes.

      - Below is a principle diagram showing the main components and their interactions. The green part reflects the existing solutions used in operational planning activities, but this is not a limitation of the scope of the Studio. The study covers all operational planning processes, internal systems and integrations.

    - During the analysis, an evaluation of IT solutions must be carried out according to the following aspects, but not limited to:

- Efficiency and productivity – the productivity of IT solutions and the use of technical and human resources.

- The scope of process automation is to determine which parts of the operational planning process are automated and to evaluate the effectiveness of automated steps.

- Data storage method and format – data storage method (databases, file storage, etc.), availability (data search capabilities, data viewing rights, etc.), quality of stored data (integrity, duplication, etc.), reporting solutions.

- Flexibility and development capabilities of tools – possibilities for configuring IT solutions, developing functionality, compatibility with other systems and adapting to changes in processes.

- Documentation status – completeness, structure and update process of documentation of IT solutions.

    - During the analysis, all integrations and supporting tools used in operational planning activities must be evaluated:

- To evaluate the quality, stability, level of fulfillment, reliability and suitability of IT solution data exchange for process needs.

- Evaluate the structure and usability of Python scripts – evaluate the functionality of scripts, flexibility due to adaptation to the requirements of operational planning processes, their influence on process steps, automated startup solutions, support capabilities, and compatibility.

- Evaluate the use of the mesh disk – Evaluate the use of the mesh disk as an integration solution, the logic of data transfer, the security and access control aspects, and the suitability for the needs of the processes.

  - Assess what is being used in the market according to good practices

    - The contractor must carry out a market analysis and evaluate operational planning Process Management IT solutions as used by other TSOs and market participants.

    - When analysing IT solutions, it is necessary to take into account the fact that the IT solutions in question must ensure compliance with the ENTSO-E EDI standards and ensure the support and versioning of the ENTSO-E EDI Library documents, thus ensuring smooth and standard-compliant data exchange between TSOs and/or market participants.

    - Market analysis includes, but is not limited to, evaluating IT solutions:

      - Quality and reliability taking into account the technology and architecture of the tools used;

      - User reviews;

      - Risks and issues known in the market;

      - A list of potential suppliers, evaluating their reliability, competence, experience (both in the development/implementation of IT solutions and in the execution of projects), strengths and weaknesses and the ability to ensure 24/7 support.

    - The contractor must examine at least 3 market-based IT solutions used by other EU TSOs.

  - Prepare recommendations

    - After completing the tasks specified in the Technical Specification, the contractor must prepare reasonable recommendations on how to improve/change existing IT solutions.

    - Requirements for the submission of recommendations:

      - Recommendations must be made in writing, clearly structured according to the topics covered, with arguments that should be supported by an analysis of the IT solutions used in the Processes and the IT solutions used in the market.

      - The prepared recommendation must formulate at least 3 alternatives for improving existing IT solutions.

      - A SWOT analysis must be provided for each alternative.

      - A plan of alternative risk management measures must be provided.

      - A financial assessment of each option must be provided, including implementation costs, annual support costs and other anticipated financial obligations.

    - At least one alternative must provide for the acquisition of a new information system for the implementation of part or all of the functionality of the IT solution.

    - The consultant must provide a roadmap for the implementation of each option, indicating, but not limited to, the stages and main actions of the transition from the current situation to the proposed alternative.

- Preparation of the technical specification for purchase

  - If the customer chooses an alternative for which the purchase is required, this step is applied. If the chosen alternative does not require purchase in accordance with the recommendations provided, this point does not apply.

  - Develop and coordinate with the client functional, non-functional, integration and project implementation requirements, including but not limited to:

- Requirements for system performance, availability, data consistency, confidentiality and auditing;

- Cyber security requirements;

- Requirements for system administration and configuration capabilities;

- Requirements for authentication, authorization, and user management;

- Requirements for user experience and user interface;

- Requirements for testing (including safety tests, performance tests, etc.) and acceptance criteria;

- Requirements for training and documentation;

- Requirements for data backups;

- Requirements for maintenance and system development;

- Requirements for data migration and updates;

- Warranty service requirements

- Requirements for the implementation of the system (methodology, installation plan)

- Qualification requirements.

- Additional consultation hours

  - The contractor must provide up to 100 (one hundred) additional consulting hours.

  - Additional consulting hours are used only in case of actual need of the Client, and the Client does not undertake to use or pay for the full number of additional consulting hours. Settlement is carried out only for the consulting hours actually ordered by the Customer and provided by the Contractor.

  - Additional consultation hours may be used to provide the following services, but are not limited to:

    - After the full completion of the study – for the clarification of the recommendations after they have been applied in practice;

    - If an alternative is chosen, on the basis of which the procurement will be initiated, after the preparation of the technical specification for the procurement – consultations during the preparation, revision or implementation of public procurement documents; consultations during the evaluation of candidates' proposals, analysing the candidates' compliance with qualification, business and technical requirements.

  - The scope, content and procedure for the use of additional consultation hours shall be coordinated separately with the Client in each case.

# Requirements for the result

  - The Contractor must prepare one consistently completed analysis document, which is provided to the Customer in four stages. At each stage, the document must be supplemented by an appropriate part of the analytical material provided for in the Technical Specification, including:

## Provision of the 1st stage – analysis of operational planning processes and IT solutions (works described in point 5.2);

## Submission of the 2nd stage – supplementation of the document with the evaluation of IT solutions (works described in point 5.3);

## Submission of the 3rd stage – supplementation of the document with market analysis (works described in point 5.4);

## Submission of the 4th stage – supplementation of the document with recommendations (works described in point 5.5).

## The final version of Phase 4 shall cover all of the above parts and shall be considered as the complete final version of the outcome document for the entire study.

  - In addition, a fifth document, the technical specification for the procurement, may be prepared, the requirements of which are specified in Chapter 6. This document is prepared only if the recommendations select a solution option that provides for the execution of the procurement; If the decision does not require procurement, the technical specification shall not be drawn up.

  - All documents must be agreed with the Customer before final submission, ensuring that their structure and content comply with the requirements of the Technical Specification.

  - The final version of all documents must be submitted in electronic format, PDF, or in an equivalent and additionally editable format, DOCX or equivalent. If calculations or data analysis are used in the output provided, the relevant data must be provided in an electronic format (XLSX or equivalent) that is convenient for calculation or data analysis. The PDF version must be identical to the editable version. All documents must be submitted in Lithuanian and/or English.

# Service Requirements

  - Studio (point 1.1) must be fully developed and aligned with the The Client not later than within 6 (six) months from the date of signing the Agreement.

  - Technical specification (point 1.2) must be fully prepared and agreed with the Client within 2 months (the start of work would be coordinated after the Study was completed and one of the proposed alternatives was chosen)

  - The Client undertakes to review, coordinate or submit comments on the documents submitted by the Contractor no later than within 7 (seven) working days from the date of their receipt. Documents are treated as "received" one day after the document is sent by e-mail.

  - A cycle of up to 2 (two) iterations is provided for the coordination of documents, during which the Contractor submits the revised versions according to the Client's comments, unless the Parties agree otherwise.

  - Need for additional consultation hours referred to in point 1.3, coordinated by e-mail. The contractor shall provide a spreadsheet for each working week during which the consultation hours have been provided, which sets out the number and purpose of the consultation hours granted. Payment for consulting hours is carried out according to the agreed schedule, but not more often than once a month.

  - The templates and content of the documents must be agreed with the Client before starting the work. The final versions of the documents must comply with the harmonised templates and all the requirements defined in this Technical Specification.

  - The documents must include, but are not limited to:

    - The full sample defined in this Technical Specification;

    - Sources and tools used to perform the tasks, including those not directly mentioned in the Technical Specification.

  - The transmission of all documents shall be carried out through electronic channels – by e-mail, unless the Parties agree otherwise.

# Plan

The contractor must carry out the work according to the work schedule below and reach each of the guidelines specified therein on the specified dates.

| Stage | Result | Deadline |
| --- | --- | --- |
| M0 | A work schedule was submitted and agreed with the Client and an initial project meeting was held, where the progress and methodology of the works were approved, and the result to be achieved was discussed | M0 + 14 days |
| M1 | The Operational Planning IT Solutions Analysis Document (Item 8.1, Stage 1) has been submitted. | M0 + 2 months |
| M2 | Submitted IT Solution Assessment Document (Section 8.1, Phase 2) | M0 + 4 months |
| M3 | The Market Analysis Document has been submitted (Item 8.1, Stage 3) | M0 + 5 months |
| M4 | The Guidance Document has been submitted together with the final document (Section 8.1, Stage 4) | M0+ 5.5 months |
| M5 | Harmonised final document | M0 + 6 months |