TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

  - Customer –  UAB Vilniaus kogeneracinė jėgainė

  - Service Provider – an economic entity – a natural person, a private legal entity, a public legal entity, other organisations and their subdivisions, or a group of such persons, with whom the Customer enters into the Contract.

  - Contract – the Contract concluded between the Customer and the Service Provider concerning the Procurement Object.

  - Services –  Maintenance, repair, and technical servicing of turbo generators, including materials and spare parts necessary for service provision..

  - Goods – essential and operational materials, as well as spare parts required for the provision of Services.

  - Order – a written document issued to the Service Provider based on the Contract via a text message, email, and/or the Customer’s designated information system, specifying service quantities, delivery addresses, and deadlines.

  - Related Services – services not specified in the Technical Specification but associated with the purchased Procurement Object.

  - Defects – discrepancies in service quality that do not conform to the requirements specified in the Procurement documents and/or legal acts, including errors, malfunctions, and other issues identified by the Customer during the handover-acceptance process and/or within the applicable warranty period for the Services.

  - Report – a document signed by both Parties for the handover-acceptance of Services and/or parts thereof, confirmed by the Parties’ signatures, whereby the Customer acknowledges receipt of the Services.

- OBJECT OF THE CONTRACT

  - Maintenance, repair, and technical servicing of turbo generators operated by UAB "Vilniaus kogeneracinė jėgainė," including materials and spare parts necessary for service provision.

- SCOPE OF THE OBJECT OF PROCUREMENT

  - Service preliminary quantities are presented in Table no 1 below:

  - The list of goods (generator spare parts) is provided in Annex no 2.

Table 1.

| TVS Service code | No. No. | Name of service | Measurement unit | Preliminary amount during the Contract period |
| --- | --- | --- | --- | --- |
| 20004100033 |  | Technical maintenance A of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. (According to Annex 1) | pcs. | 1 |
| 20004100034 |  | Technical maintenance B of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. (According to Annex 1) | pcs. | 1 |
| 20004100035 |  | Technical maintenance C of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. (According to Annex 1) | pcs. | 1 |
| 20004100036 |  | Technical maintenance A of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm. (According to Annex 1) | pcs. | 1 |
| 20004100037 |  | Technical maintenance B of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm. (According to Annex 1) | pcs. | 1 |
| 20004100038 |  | Technical maintenance C of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm. (According to Annex 1) | pcs. | 1 |
| 20004100039 |  | Three-year subscription for the remote monitoring system of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm, including installation and configuration. | pcs. | 1 |
| 20004100040 |  | Three-year subscription for the remote monitoring system of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm, including installation and configuration. | pcs. | 1 |
| 20004100041 |  | Minor inspection of ABB Unitrol 6000 excitation system. | pcs. | 2 |
| 20004100042 |  | Medium inspection of ABB Unitrol 6000 excitation system. | pcs. | 2 |
| 20004100043 |  | Overhaul inspection of ABB Unitrol 6000 excitation system. | pcs. | 2 |
| 20004100044 |  | Emergency visit for troubleshooting of ABB Unitrol 6000 excitation system. | pcs. | 3 |
| 20004100045 |  | ABB Unitrol 6000 excitation system remote support equipment, including installation and configuration. | pcs. | 1 |
| 20004100046 |  | Emergency visit for defect rectification of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. | pcs. | 3 |
| 20004100047 |  | Emergency visit for defect rectification of SIEMENS 1DU2054-8AF02-Z generator, 25,530 kVA, 1,500 rpm. | pcs. | 3 |
|  |  | Service engineer's hourly rate for addressing generator defects | Hrs. | 50 |
|  |  | Hourly rate for remote support in normal working days for ABB Unitrol 6000 excitation system. | Hrs. | 50 |
|  |  | Engineer's hourly rate for troubleshooting defects identified during generator inspection.* | Hrs. | 100 |

  - If required, the Customer shall have the right to purchase other services or Goods related to the Object of Procurement that are not specified in the table under Section 3.1 of the Technical Specification or in Annex 1, e.g., turbine or generator parts that are not listed in the technical specification but are an integral part of the equipment (hereinafter referred to as Related Services or Goods). The procurement of Related Services or Goods shall be subject to all conditions stipulated in this Technical Specification and the Contract (warranties, defect rectification, etc.), unless explicitly stated otherwise. The total price of such Related Services or Goods shall not exceed 10% of the initial Contract value.

*The price must be calculated without considering the engineer's travel and accommodation costs.

- PLACE OF THE PROVISION OF SERVICES

  - Services are provided: at the site of UAB Vilniaus kogeneracinė jėgainė, Paneriškių str. 25, 02300 Vilnius, Lithuania.

- REQUIREMENTS FOR THE OBJECT OF PROCUREMENT

Description of the procurement object

  - Services shall be provided in accordance with the applicable standards, norms, and regulations of the Republic of Lithuania. Materials, products, and structures certified in the Republic of Lithuania and the EU shall be used for the provision of Services. Materials certified outside the EU must be equivalent and comply with Lithuanian and/or EU certification requirements.

  - The Service Provider shall be responsible for the occupational safety of its employees while providing the Services. No later than 5 days before commencing the Services, the Service Provider shall submit a request to the Customer specifying the list of employees and mechanisms for temporary entry and exit permits to the Customer's premises.

  - The Service Provider’s employees must wear special clothing featuring the Service Provider’s logo.

  - The Service Provider’s employees must comply with the Customer’s work regulations, which they will be introduced to during the briefing.

  - When providing Services, the Service Provider shall comply with the applicable laws and regulations of the Republic of Lithuania, ensure occupational safety, and not interfere with other contractors working in the same work area.

  - The Service Provider shall maintain and repair its tools, equipment, and machinery at its own expense.

  - The Service Provider shall ensure, at its own expense, the necessary protective, hygiene, and fire safety measures.

  - The Service Provider shall, in accordance with the laws and regulations in force in the Republic of Lithuania, apply for, obtain, coordinate and process all permits, licences, certificates, approvals, consents, authentications necessary for the provision of the Services, except for the ones that the Client is obliged to provide in accordance with the Contract.

- PROCEDURE AND TIME LIMITS FOR THE PROVISION OF SERVICES

  - During the term of the Contract, Services shall be ordered as needed for scheduled, unscheduled, and emergency repairs.

  - Ordered scheduled software inspection Services must be provided no later than 5 (five) business days from the date specified in the Order.

  - The Goods must be delivered no later than 180 (one hundred eighty) business days from the date the Order is submitted to the Service Provider. The specific timeframe for the provision of Services and/or the delivery of Goods shall be specified in the Order.

  - The Service Provider shall provide the Services at the address(es) indicated in Section 4 of the Technical Specification during the Customer’s working hours Monday–Thursday: 07:30–16:30, Friday: 07:30–15:15). Friday: 07:30–15:15).

  - The Services shall be provided only upon separate Orders submitted by the Customer during the validity of the Contract.

- QUALITY AND REMEDY OF DEFECTS

  - The quality of the Services must comply with the requirements of the applicable legal acts governing the Services.

  - The Customer shall have the right to request the rectification of any deficiencies in the Services and/or Service outcomes no later than 90 (ninety) calendar days from the date of signing the Certificate of Transfer and Acceptance of Services / Goods or from the date of detection of defects.

  - A 10 (ten) calendar day period shall be set for the rectification of defects identified by the Customer.

  - The Services shall be deemed to have been accepted when the Parties have signed the Certificate of Transfer and Acceptance of Services / Goods.

  - The warranty period for defects in the Services expires 24 (twenty-four) months after the signing of the Certificate of Transfer and Acceptance. The warranty period for defects in materials and goods expires 24 (twenty-four) months after delivery.

  - The Service Provider shall be liable for all installation, repair, and defect rectification work performed during the warranty period.

- PAYMENT TERMS

  - The Customer shall pay to the Service Provider for the Services and (or) Goods of good quality and actually provided within 30 (thirty) calendar days from the date of transfer of the result of the Services / Goods – the date of signing the Certificate of Transfer and Acceptance of the Services / Goods and the receipt of the Invoice.

  - Invoices for Services and (or) Goods actually rendered and the Certificate of Transfer and Acceptance of Services / Goods shall be submitted by the Service Provider to the Customer by the 2nd (second) calendar day of the current month.

  - The Service Provider shall submit a VAT invoice and a signed the Certificate of Transfer and Acceptance of the Services / Goods to the Customer within 2 (two) business days from the signing of the Service the Certificate of Transfer and Acceptance of the Services / Goods.

- DOCUMENTS PROVIDED WITH THE SERVICES

  - Certificate of Transfer and Acceptance of Services / Goods;

  - Service descriptions;

  - Product certificates;

  - Reports;

- ANNEXES

  - Annex 1 – Scope of generator services;

  - Annex 2 – List of generator spare parts;

  - Annex 3 – Generator excitation system V10CGA10 diagrams and charts;

  - Annex 4 – Generator excitation system V20CGA10 diagrams and charts.

  - Annex 5 – Generator tables.

Buyer's "Asset Management System"

The code assigned in the Buyer’s AMS system to the service, used in purchase orders submitted to the Supplier.