| No. | Description | Manufacturer Code | Unit | Estimated Quantity During Contract Period |
| --- | --- | --- | --- | --- |
| Spare parts for 2-pole generator SGen5-100A-2P: |  |  |  |  |
| Bearings |  |  |  |  |
|  | Bearing shell (TS/ES) | ERP0017029400 | pcs. | 2 |
|  | Chamber Seal W28-375, IP 44; Width 52 | ERP0017030300 | pcs. | 2 |
|  | Chamber Seal W28-335, IP 55; Width 82 | ERP0035287300 | pcs. | 1 |
|  | Hydraulic Hose | E1A3696050 | pcs. | 2 |
|  | High-Density Sealant 'Hylomar' | GS00048 | pcs. | 1 |
| Rotor Grounding System |  |  |  |  |
|  | Plug-in Brush Holder | ER113413 | pcs. | 4 |
|  | 2-Layer Contact Brush | SG374248-MO-A | pcs. | 20 |
|  | 2-Layer Contact Brush | SG374248-MO-B | pcs. | 20 |
| Anti-Condensation Heating |  |  |  |  |
|  | Screw-In Heating Element | ER111723 | pcs. | 1 |
|  | Resistance Thermometer Type WQ 0233 | ER119889 | pcs. | 2 |
| Generator Monitoring System |  |  |  |  |
|  | Resistance Thermometer Type WQ 0232-PVD | ERP0016971000 | pcs. | 2 |
|  | Water Leakage Sensor | ERP0008726800 | pcs. | 1 |
|  | Shaft Vibration Probe; 3300 Series | ER114624 | pcs. | 1 |
|  | Proximitor Probe Housing 330-180-91-00 | ER116328 | pcs. | 1 |
|  | Velomitor 330500-02-00 | ER117452 | pcs. | 1 |
| Ventilation System |  |  |  |  |
|  | Filter Mat M5 | ERP0017560800 | pcs. | 8 |
|  | Filter Mat F7 | ERP0017561100 | pcs. | 8 |
| Rotor Ground Fault Detection (Exciter) |  |  |  |  |
|  | Plug-in Brush Holder | ER113413 | pcs. | 1 |
| Brushless Exciter |  |  |  |  |
|  | RC Network Node | ERP0081245900 | pcs. | 1 |
|  | Diode Module | ER441683 | pcs. | 1 |
|  | Pipe Heater | ER122936 | pcs. | 1 |
| Air Baffle Ring Seal and Mounting Material |  |  |  |  |
|  | Threaded Bushing | ERP0055365200 | pcs. | 12 |
|  | Washer 31 | ER106935 | pcs. | 12 |
|  | Pin | ER103035 | pcs. | 24 |
|  | Rubber Gasket | ERP00599921 | m. | 10 |
| Special Tools |  |  |  |  |
|  | Special Wrench | ERP0015622800 | pcs. | 1 |
|  | Plate | ER234174 | pcs. | 2 |
|  | Grease Bechem Berutox MB II-H | GS00016 | kg. | 1 |
| Spare parts for 4-pole generator 1DU2054-8AF02-Z: |  |  |  |  |
| No. | Description | Manufacturer Code | Unit | Estimated Quantity During Contract Period |
| DE Bearing |  |  |  |  |
|  | Bearing Shell | E1A3519953 | pcs. | 1 |
|  | Floating Labyrinth Seal | E1A1404944 | pcs. | 2 |
|  | Baffle | E1A3437059 | pcs. | 1 |
| NDE Bearing |  |  |  |  |
|  | Bearing Shell | E1A1689467 | pcs. | 1 |
|  | Floating Labyrinth Seal | E1A1404840 | pcs. | 1 |
|  | Floating Labyrinth Seal | E1A1936246 | pcs. | 1 |
| Rectifier |  |  |  |  |
|  | Diode | Z412600 | pcs. | 6 |
|  | Varistor | E1A1404833 | pcs. | 12 |
| Generator Monitoring System |  |  |  |  |
|  | Pressure Relief Valve | A5E45041875 | pcs. | 2 |
|  | Water Leakage Sensor | E1A1404681 | pcs. | 1 |
|  | Sensor | E1A1792170 | pcs. | 3 |
|  | DE Vibration Sensor | A5E43460943 | pcs. | 2 |
|  | NDE Vibration Sensor | A5E43460657 | pcs. | 1 |
|  | Bearing Temperature Sensor | E1A3519930 | pcs. | 2 |
|  | Thermocouple | E1A1712377 | pcs. | 1 |
|  | Air Temperature Sensor | 5944 0325 | pcs. | 3 |
| Anti-Condensation System |  |  |  |  |
|  | Heating Element | E1A1403815 | pcs. | 2 |
|  | Heating Element | E1A1403817 | pcs. | 1 |
| Oil Hydraulic Components |  |  |  |  |
|  | Flow Meter | E1A3106581 | pcs. | 1 |
|  | Flow Meter | E1A3520176 | pcs. | 1 |
|  | Throttle Valve | E1A1729017 | pcs. | 2 |
| Grounding Brushes |  |  |  |  |
|  | Brush holder | E1A1712372 | pcs. | 1 |
|  | Two-Layer Contact Brush | SG374248-ME-A | pcs. | 1 |
|  | Two-Layer Contact Brush | SG374248-ME-B | pcs. | 1 |
| Measuring Brushes |  |  |  |  |
|  | Brush holder | E1A1403813 | pcs. | 2 |
|  | Two-Layer Contact Brush | SG374248-ME-A | pcs. | 2 |
|  | Two-Layer Contact Brush | SG374248-ME-B | pcs. | 2 |