## Fiksuoti įkainiai
Annex No 3 to the tender form
Tender price
Services
No | Services | Preliminary quantity | Price rate for 1 unit in EUR excluding VAT | Price in EUR excluding VAT
A | B | C | D | E
1. | Technical maintenance A of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. (According to Annex 1) | 1 |  | 0
2. | Technical maintenance B of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. (According to Annex 1) | 1 |  | 0
3. | Technical maintenance C of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. (According to Annex 1) | 1 |  | 0
4. | Technical maintenance A of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm. (According to Annex 1) | 1 |  | 0
5. | Technical maintenance B of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm. (According to Annex 1) | 1 |  | 0
6. | Technical maintenance C of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm. (According to Annex 1) | 1 |  | 0
7. | Three-year subscription for the remote monitoring system of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm, including installation and configuration. | 1 |  | 0
8. | Three-year subscription for the remote monitoring system of SIEMENS generator 1DU2054-8AF02-Z 25,530 kVA 1500 rpm, including installation and configuration. | 1 |  | 0
9. | Minor inspection of ABB Unitrol 6000 excitation system. | 2 |  | 0
10. | Medium inspection of ABB Unitrol 6000 excitation system. | 2 |  | 0
11. | Overhaul inspection of ABB Unitrol 6000 excitation system. | 2 |  | 0
12. | Emergency visit for troubleshooting of ABB Unitrol 6000 excitation system. | 3 |  | 0
13. | ABB Unitrol 6000 excitation system remote support equipment, including installation and configuration. | 1 |  | 0
14. | Emergency visit for defect rectification of SIEMENS generator SGEN5-100A 93,176 kVA 3000 rpm. | 3 |  | 0
15. | Emergency response for defect rectification of SIEMENS 1DU2054-8AF02-Z generator, 25,530 kVA, 1,500 rpm. | 3 |  | 0
16. | Service engineer's hourly rate for addressing generator defects | 50 |  | 0
17. | Hourly rate for remote support in normal working days for ABB Unitrol 6000 excitation system. | 50 |  | 0
18. | Engineer’s hourly rate for eliminating defects identified during the generator inspection | 100 |  | 0
|  |  | Services price in EUR exc. VAT | 0
Goods
No | Goods | Manufacturer code | Preliminary quantity | Price rate for 1 unit in EUR excluding VAT | Manufacturer of the offered goods | Model, type of goods offered | Unit of measure | Price in EUR excluding VAT
A | B | C | D | E | F | G | H | I
Spare parts for 2-pole generator SGen5-100A-2P
Bearings
1. | Bearing shell (TS/ES) | ERP0017029400 | 2 |  |  |  | pcs. | 0
2. | Chamber Seal W28-375, IP 44; Width 52 | ERP0017030300 | 2 |  |  |  | pcs. | 0
3. | Chamber Seal W28-335, IP 55; Width 82 | ERP0035287300 | 1 |  |  |  | pcs. | 0
4. | Hydraulic Hose | E1A3696050 | 2 |  |  |  | pcs. | 0
5. | High-Density Sealant 'Hylomar' | GS00048 | 1 |  |  |  | pcs. | 0
Rotor Grounding System
6. | Plug-in Brush Holder | ER113413 | 4 |  |  |  | pcs. | 0
7. | 2-Layer Contact Brush | SG374248-MO-A | 20 |  |  |  | pcs. | 0
8. | 2-Layer Contact Brush | SG374248-MO-B | 20 |  |  |  | pcs. | 0
Anti-Condensation Heating
9. | Screw-In Heating Element | ER111723 | 1 |  |  |  | pcs. | 0
10. | Resistance Thermometer Type WQ 0233 | ER119889 | 2 |  |  |  | pcs. | 0
Generator Monitoring System
11. | Resistance Thermometer Type WQ 0232-PVD | ERP0016971000 | 2 |  |  |  | pcs. | 0
12. | Water Leakage Sensor | ERP0008726800 | 1 |  |  |  | pcs. | 0
13. | Shaft Vibration Probe; 3300 Series | ER114624 | 1 |  |  |  | pcs. | 0
14. | Proximitor Probe Housing 330-180-91-00 | ER116328 | 1 |  |  |  | pcs. | 0
15. | Velomitor 330500-02-00 | ER117452 | 1 |  |  |  | pcs. | 0
Ventilation System
16. | Filter Mat M5 | ERP0017560800 | 8 |  |  |  | pcs. | 0
17. | Filter Mat F7 | ERP0017561100 | 8 |  |  |  | pcs. | 0
Rotor Ground Fault Detection (Exciter)
18. | Plug-in Brush Holder | ER113413 | 1 |  |  |  | pcs. | 0
Brushless Exciter
19. | RC Network Node | ERP0081245900 | 1 |  |  |  | pcs. | 0
20. | Diode Module | ER441683 | 1 |  |  |  | pcs. | 0
21. | Pipe Heater | ER122936 | 1 |  |  |  | pcs. | 0
Air Baffle Ring Seal and Mounting Material
22.0 | Space Bolt | ERP0055365300 | 12 |  |  |  | pcs. | 0
22. | Threaded Bushing | ERP0055365200 | 12 |  |  |  | pcs. | 0
22.1 | Hexagon Nut | ERP0008700400 | 12 |  |  |  | pcs. | 0
23. | Washer 31 | ER106935 | 12 |  |  |  | pcs. | 0
24. | Pin | ER103035 | 24 |  |  |  | pcs. | 0
25. | Rubber Gasket | ERP00599921 | 10 |  |  |  | Meter | 0
Special Tools
26. | Special Wrench | ERP0015622800 | 1 |  |  |  | pcs. | 0
27. | Plate | ER234174 | 2 |  |  |  | pcs. | 0
28. | Grease Bechem Berutox MB II-H | GS00016 | 1 |  |  |  | Kilogram | 0
Spare parts for 4-pole generator 1DU2054-8AF02-Z
DE Bearing
1 | Bearing Shell | E1A3519953 | 1 |  |  |  | pcs. | 0
2 | Floating Labyrinth Seal | E1A1404944 | 2 |  |  |  | pcs. | 0
3 | Baffle | E1A3437059 | 1 |  |  |  | pcs. | 0
NDE Bearing
4 | Bearing Shell | E1A1689467 | 1 |  |  |  | pcs. | 0
5 | Floating Labyrinth Seal | E1A1404840 | 1 |  |  |  | pcs. | 0
6 | Floating Labyrinth Seal | E1A1936246 | 1 |  |  |  | pcs. | 0
Rectifier
7 | Diode | Z412600 | 6 |  |  |  | pcs. | 0
8 | Varistor | E1A1404833 | 12 |  |  |  | pcs. | 0
Generator Monitoring System
9 | Pressure Relief Valve | A5E45041875 | 2 |  |  |  | pcs. | 0
10 | Water Leakage Sensor | E1A1404681 | 1 |  |  |  | pcs. | 0
11 | Sensor | E1A1792170 | 3 |  |  |  | pcs. | 0
12 | DE Vibration Sensor | A5E43460943 | 2 |  |  |  | pcs. | 0
13 | NDE Vibration Sensor | A5E43460657 | 1 |  |  |  | pcs. | 0
14 | Bearing Temperature Sensor | E1A3519930 | 2 |  |  |  | pcs. | 0
15 | Thermocouple | E1A1712377 | 1 |  |  |  | pcs. | 0
16 | Air Temperature Sensor | 59440325 | 3 |  |  |  | pcs. | 0
Anti-Condensation System
17 | Heating Element | E1A1403815 | 2 |  |  |  | pcs. | 0
18 | Heating Element | E1A1403817 | 1 |  |  |  | pcs. | 0
Oil Hydraulic Components
19 | Flow Meter | E1A3106581 | 1 |  |  |  | pcs. | 0
20 | Flow Meter | E1A3520176 | 1 |  |  |  | pcs. | 0
21 | Throttle Valve | E1A1729017 | 2 |  |  |  | pcs. | 0
Grounding Brushes
22 | Brush holder | E1A1712372 | 1 |  |  |  | pcs. | 0
23 | Two-Layer Contact Brush | SG374248-ME-A | 1 |  |  |  | pcs. | 0
24 | Two-Layer Contact Brush | SG374248-ME-B | 1 |  |  |  | pcs. | 0
Measuring Brushes
25 | Brush holder | E1A1403813 | 2 |  |  |  | pcs. | 0
26 | Two-Layer Contact Brush | SG374248-ME-A | 2 |  |  |  | pcs. | 0
27 | Two-Layer Contact Brush | SG374248-ME-B | 2 |  |  |  | pcs. | 0
[7 empty] | Price of goods in EUR exc. VAT | 0
[7 empty] | Tender price in EUR exc. VAT | 0
[7 empty] | VAT | 0
[7 empty] | Tender price in EUR inc. VAT | 0
[1] Kai pagal galiojančius teisės aktus tiekėjui nereikia mokėti PVM, tada eilutė "PVM" nepildoma arba joje įrašoma „ne PVM mokėtojas“, arba „netaikoma“.