REGARDING THE RESPONSES TO SUPPLIERS' QUESTIONS

We are sending responses to suppliers questions in an ongoing procurement of (2025-IGN-184) Battery Energy Storage System (BESS) and maintenance services during their operation.

To avoid interpretations of the content, we quote the questions of the suppliers exactly as they were submitted via the Central Procurement Information System (hereinafter - CPP IS) (text is not edited).

- Question: In accordance with the technical specification, which states that the nameplate capacity is 1500–1550 kW and that the rated capacity per connection point must not exceed 525 kW, we kindly request clarification on this matter. Would it be permissible to install four units of 125 kW each at a single connection point, connecting them and operating them as one integrated system? In such a case, the total number of units planned in the project would amount to 12.

- Answer: According to the technical specification, the concept of installing four (4) units of 125 kW at a single connection point and operating them as one integrated subsystem may be considered acceptable.

Procurement Project Manager Alina Dralo, phone no. +370 620 93298