Techninė specifikacija  II pirkimo daliai

- Bendrieji reikalavimai.

  - Perkami Teleinformacijos surinkimo ir perdavimo įrenginių moduliai (toliau - Prekės), skirti turimos infrastruktūros įrenginių avarinio rezervo sudarymui, kurių reikalaujami kiekiai ir parametrai nurodyti 1 priedo 1-4 lentelėse.

  - Prekėms turi būti suteikta ne trumpesnė kaip 24 mėnesių garantija.

  - Prekės turi būti pateiktos naujos ir nenaudotos originalioje gamintojo pakuotėje, negali būti pateiktos atnaujintos (angl. refurbished) prekės.

  - Prekės turi būti pagamintos ne seniau kaip prieš 1 metus.

  - Su Prekėmis pateikti detalius techninių parametrų aprašymus lietuvių arba anglų kalba.

  - Prekės turi būti pristatytos  adresu: Karlo Gustavo Emilio Manerheimo g. 8, LT-05131 Vilnius.

- Tiekėjas, teikdamas pasiūlymą, privalo užpildyti 1 priedo* 1-4 lentelių stulpelį „Atitikimas reikalavimams“, įrašant jame siūlomų prekių konkretų parametro dydį/reikšmę, vykdomą funkciją, išpildymą ar savybę, ir pažymint pasiūlymo puslapį ar kitokią viešai prieinamą nuorodą, kur pateiktuose prekių aprašymuose ar kitoje techninėje dokumentacijoje yra nurodytas šis parametras, vykdoma funkcija, išpildymas ar savybė, patvirtinantys siūlomų prekių atitikimą techninės specifikacijos reikalavimams, taip pat nurodyti Prekės gamintoją ir kilmės šalį.

- Priedai

  - Priedas Nr.1 TSPĮ modulių kiekiai, techniniai parametrai ir atitikimas reikalavimams (konfidencialu)*

* Tiekėjai, norėdami susipažinti su priedu Nr. 1, turi kreiptis į Pirkėją ir pasirašyti konfidencialumo įsipareigojimą.

Technical specification for Part II of the procurement

1. General requirements.

1.1 Teleinformation collection and transmission equipment modules (hereinafter referred to as the Goods) are being purchased, intended for the formation of an emergency reserve of existing infrastructure equipment, the required quantities and parameters of which are specified in Tables 1-4 of Annex 1.

1.2 The Goods must be provided with a warranty of at least 24 months.

1.3 The Goods must be provided new and unused in the original manufacturer's packaging; refurbished goods cannot be provided.

1.4 The Goods must be manufactured no more than 1 year ago.

1.5 Detailed descriptions of technical parameters in Lithuanian or English must be provided with the Goods.

1.6 The Goods must be delivered to the address: Karlo Gustavo Emilio Manerheimo g. 8, LT-05131 Vilnius.

2. When submitting a proposal, the Supplier must fill in the column “Compliance with requirements” of Tables 1-4 of Annex 1*, entering the specific parameter size/value, function performed, performance or property of the proposed goods, and indicating the proposal page or other publicly available link where this parameter, function performed, performance or property is indicated in the submitted product descriptions or other technical documentation, confirming the compliance of the proposed goods with the requirements of the technical specification, as well as indicating the manufacturer and country of origin of the Goods.

3. Annexes

3.1 Annex No. 1 Quantities, technical parameters and compliance with requirements of modules for teleinformation collection and transmission devices (confidential)*

* Suppliers, in order to familiarize themselves with Annex No. 1, must contact the Buyer and sign a confidentiality obligation.