Technical specification

Procurement of consulting services for the commercial electricity energy metering system

| Terminas | Paaiškinimas |
| --- | --- |
| API | Application Programming Interface: a standardized interface for system integration and data exchange |
| DLMS/COSEM | Device Language Message Specification / Companion Specification for Energy Metering: an international standard for energy meter data exchange and communication |
| DOCX | Text document format (Microsoft Word) |
| ENTSO-E EDI | European Network of Transmission System Operators for Electricity electronic data interchange standard |
| GAP analizė | comparison between the current state and the desired future state |
| HTTPS | HyperText Transfer Protocol Secure: an encrypted web data transfer protocol |
| IEC 1142 | International electricity metering standard for older types of meters |
| IT | Information Technology |
| CAS | Commercial Metering System |
| CDV | Commercial Data Controllers |
| MS Entra ID | Microsoft cloud identity management system |
| PDF | Portable Document Format: a universal document presentation format |
| TSO | Transmission System Operator: responsible for managing the electricity transmission network |
| RBAC | Role-Based Access Control: access control based on user roles |
| SFTP | Secure File Transfer Protocol: file transfer over SSH |
| SIEM | Security Information and Event Management: tools for collecting and analyzing security event logs |
| SSH | Secure Shell: a secure protocol for command-line access to servers |
| SWOT | Strategic analysis: Strengths, Weaknesses, Opportunities, Threats |
| TVIS | Asset Management Information System |
| VPĮ | Public Procurement Law regulating procurement processes and competition |
| XLSX | XLSX – Spreadsheet file format (Microsoft Excel) |

- SUBJECT OF PROCUREMENT AND QUANTITIES / SCOPE

  - Subject of procurement:

    - Analysis of the need to replace the commercial electricity metering system (hereinafter – the Study).

    - Preparation of the technical specification for the public procurement of the CAS.

    - Additional consulting hours as needed.

  - Scope of procurement:

    - Analysis of the Client’s commercial metering system (CAS) and analysis of existing CAS systems on the market (procurement object in section 1.1.1) – procured under a fixed-price principle. The Supplier must indicate a single total price in the offer for all work defined in this Technical Specification for preparation of the Study.

    - Preparation of the technical specification (procurement object in section 1.1.2) – procured under a fixed-price principle. The Supplier must indicate a single price for the preparation of the Technical Specification, covering all work defined in this document required for the preparation of the Technical Specification.

    - Additional consulting hours as needed (procurement object in section 1.1.3) – procured under a fixed hourly rate principle. The Supplier must indicate in the offer the rate for one consulting hour.

    - The Client purchases 100 consulting hours, without committing to purchase any minimum quantity of consulting hours, and pays only for the consulting hours actually ordered by the Client and provided by the Supplier.

- DELIVERY ADDRESS AND TERMS OF GOODS / SERVICE DELIVERY PROCEDURE AND TERMS:

  - Service delivery address: Karlo Gustavo Emilio Mannerheim Street 8, LT-05131 Vilnius, or remotely upon prior agreement.

  - Service delivery term: 36 months.

- REQUIREMENTS FOR THE SUBJECT OF PROCUREMENT

  - Description of the current situation

The Client currently uses a commercial metering system – an information system designed to collect, process, and store electricity metering data received from metering devices (4,300 metering devices, with the number increasing by approximately 320 per year), and to ensure reliable and accurate settlement of customers – electricity grid users – for transmitted or consumed electricity. The current system does not sufficiently meet the organization’s information security requirements and poses data security risks. In addition, the projected increase in the number of customers and metering devices increases process workload, while existing operational processes are not sufficiently efficient and do not allow optimal use of human resources. As the workload increases, the likelihood of human error also increases; therefore, the need to expand the number of employees would inevitably arise. At present, the company serves 60 customers. In 2026–2027, an additional 60 new customers are planned, which would represent a 100% increase in the number of customers.

Also, at present, the commercial metering field equipment (meters) communicates in a specific way – via current loops to commercial data controllers. The MDCs (Meter Data Controllers) function as media converters from/to current loops to/from Ethernet. Data exchange is performed using the IEC1142 protocol, which is an outdated standard and is not supported by new meters. Modern meters have an integrated Ethernet port and communicate using the DLMS/COSEM protocol. This protocol is used for commercial metering and is supported by all modern meters regardless of their manufacturer. The current metering system supports the IEC1142 protocol, while DLMS/COSEM is only partially supported (for each new meter type, the metering system vendor performs separate module programming (meter driver installation), which results in additional time and costs).

In order to prepare for the update of a secure, flexible, and business-needs-aligned commercial metering system, it is necessary to carry out a comprehensive analysis that evaluates the current situation, provides an assessment of the existing system, and offers recommendations and conclusions for the processes being carried out. A Technical Specification for the procurement of a new system must be prepared based on the current situation and the results obtained during the analysis.

.

Figure 1 presents the architecture of the existing CAS IS, illustrating the current architectural structure and the integration connections related to the system.

The system architecture consists of the following main components:

- WEB1 and WEB2 – web servers responsible for the user interface (front-end) functionality and provision of web services.

- DAS1 and DAS2 – data acquisition servers performing data collection from metering devices (electricity meters).

- WEB3 – an isolated, dedicated server for processing external requests.

- DB – an Oracle Standard Edition database where system data is stored and API functionality is implemented for communication with other internal systems via the ESB1 integration interface.

Data exchange with other systems is carried out via the ESB2 data transmission channel, implemented using a load balancing solution through the WEB1 and WEB2 servers.

Fig. 1 Current CAS IS diagram

It should be noted that the system currently stores data dating back to 2017, although the need for relevant historical data does not exceed a one-year period.

  - Detailed scope of procurement. Tasks of the Study (procurement object in section 1.1.1)

    - The Supplier must perform an analysis of the Client’s CAS business processes in the current state, including process flows, participants, functions, and interrelationships. The analysis must cover at least the specified process groups and be documented in a way that can be used for further solution design. The documentation must provide a clear comparison of the current (“as-is”) and target (“to-be”) states, and structured data (e.g., in table format) must be suitable for use as a basis for subsequent project tasks. The result of the analysis must include a gap (GAP) analysis identifying existing deficiencies and inconsistencies, and providing a basis for process optimization and automation of the IT systems used in the processes. List of analyzed business processes:

      - Electricity transmission service management process group. Includes data processing and execution of transmission service metering/accounting.

      - Service management process group with other transmission system operators (hereinafter – TSOs). Includes ensuring inter-system data exchange and execution of transmission service metering/accounting.

      - Process group for commissioning transmission network assets. Includes activities from establishing a commission to inspect and accept assets (within the scope of this TS – electricity metering equipment, i.e. electricity meters and data transmission controllers), entering data into the TVIS system, performing periodic inspections, maintenance and repairs, to maintenance planning, ensuring warranty periods, and completing documentation related to these stages.

    - Analyze the Client’s existing CAS IS and identify its advantages and disadvantages

      - Analyze the CAS core software architecture;

      - Analyze the CAS physical architecture solution;

      - Analyze the CAS integrations with other systems;

      - Analyze the use of the CAS to ensure the execution of business processes.

    - Conduct a market analysis of similar IT tools and/or IT solutions (hereinafter – IT solutions) used in other organizations and by other TSOs:

      - When analyzing IT solutions, it must be taken into account that the evaluated CAS IT solutions must ensure compliance with ENTSO-E EDI standards, thereby ensuring seamless and standards-compliant data exchange between other systems and market participants.

      - The Supplier must analyze at least three CAS IT solutions used in the market, applied in other organizations or by TSOs.

      - When conducting the market analysis, the Supplier must assess CAS IT solution aspects to an extent that enables the preparation of a technical specification meeting the Client’s needs, as described in section 3.3 of this Technical Specification. This includes examining and providing information on each analyzed CAS IT solution used in the market:

        - User feedback;

        - Known risks and issues in the market;

        - A list of potential suppliers, including an assessment of their reliability, competence, and experience (both in developing/implementing IT solutions and in executing projects), their strengths and weaknesses, and their ability to provide 8×5 support;

        - The Supplier must provide information enabling the assessment of the quality of the proposed CAS IT solutions – whether appropriate technologies are used, whether the architecture is consistent and logical, as well as their reliability – whether the system operates stably under load, ensures data persistence, and is capable of quickly restoring operation after disruptions;

        - The advancement of the software (comparison of the modernity of the technologies used);

        - The flexibility of integrating DLMS meters from different manufacturers (how quickly the system can be adapted and extended with software code to connect a new meter);

        - The ability for users/administrators to create reports according to their own requirements (configurable without requiring work to be ordered from the contractor);

        - When conducting the market analysis, the CAS cybersecurity solutions and the security mechanisms applied by the manufacturer must be assessed, including but not limited to:

          - Authentication, authorization and access control mechanisms (RBAC, MS Entra ID, privileged access management);

          - Secure administration and user access capabilities, including the use of secure administrative and client access protocols (e.g. SSH, HTTPS, SFTP);

          - Event logging functionality and the ability to forward event logs to the Client’s existing security system (SIEM);

          - Secure integration with other systems (API security, input validation);

          - Vulnerability management processes and system support practices (functional and security patch updates, response times);

          - Data protection mechanisms, including encryption and protection against unauthorized modification;

          - Historical security incidents and long-term support strategy.

    - Based on the collected information (tasks performed in sections 3.2.1, 3.2.2, and 3.2.3), prepare recommendations regarding the replacement of the existing CAS:

      - The recommendations must be provided in writing, clearly structured according to the analyzed topics, and the arguments presented must be based on the conducted GAP analysis and the analysis of the CAS and IT solutions used in the market

      - The prepared recommendation must define at least three alternatives for replacing the CAS;

      - For each alternative, the following must be provided:

        - SWOT analysis;

        - Comparison of architectural solutions using clear and measurable criteria covering functional, informational, integration and technological architecture, as well as qualitative and analytical indicators (including reliability, performance, speed, and security). It must also include development, operation, and scalability aspects (including the ability to efficiently operate with increasing numbers of users, data volumes, and system load), providing quantitative estimates where possible and clearly identifying advantages and disadvantages in relation to the existing system.

        - A financial assessment must be provided for each alternative, including implementation costs, annual maintenance costs, and other expected financial commitments;

        - The Supplier must provide an implementation plan (roadmap) for each alternative, including but not limited to the transition steps from the current situation to the proposed alternative and the main activities.

        - The Supplier must provide a final conclusion indicating the recommended alternative, justify the selection arguments, and also provide the reasons for rejecting the non-recommended alternatives

      - The Client undertakes to:

        - Provide the Supplier with access to the business processes and their descriptions:

          - Veiklos  procesų dokumentų perdavimą tiekėjui savarankiškam susipažinimui. Veiklos procesų aprašymai yra paruošti naudojantis įrankiu Bizagi Modeler, metodika – pagal ISO 9001 standartą. Veiklos procesų schemos ir aprašymai bus pateikiami Lietuvių kalba. Esant poreikiui, Užsakovas suteiks pagalbą verčiant veiklos procesų aprašus į anglų kalbą;

          - Organize process presentations – at least 3 sessions (one session for each business process group).

        - Provide the Supplier with access to the Client’s currently used CAS and its documentation:

          - The Client will provide the available CAS documentation for independent review;

          - Upon the Supplier’s request, the Client will organize presentations of the CAS in use – at least 2 sessions (one for the presentation of the technical solution, and another for the presentation of the functionality used in operational activities).

  - Detailed scope of procurement. Tasks of the Technical Specification (procurement object in section 1.1.2)

    - Prepare the Technical Specification for public procurement procedures to be carried out in accordance with the Law of the Republic of Lithuania on Procurement by Entities Operating in the Fields of Water Management, Energy, Transport, or Postal Services.

    - Based on its own work and all Study results approved by the Client, the Supplier must prepare the technical specification for the CAS replacement solution.

    - Prepare and agree with the Client the functional, non-functional, data exchange, implementation, and other requirements listed below, but not limited to:

      - Functional requirements related to electricity metering data collection, processing, analysis, and correction, including: identification of missing data, data quality analysis, application of corrections, correction management, data storage, and traceability;

      - Requirements for report generation

      - Requirements for user interface and user experience;

      - Requirements for user authentication, authorization, and management;

      - Requirements for system performance, availability, data consistency, confidentiality, and logging;

      - Requirements for system architecture;

      - Requirements for data backups;

      - Requirements for data exchange between systems, market participants, and metering devices (data exchange channel/protocol, exchange frequency, data volumes, etc.);

      - Requirements for data migration from the legacy CAS system;

      - Requirements for cybersecurity;

      - Requirements for system administration and configuration capabilities;

      - Requirements for system testing (security, performance, etc.) and acceptance criteria;

      - Requirements for training and documentation;

      - Requirements for system deployment (methodology, deployment plan);

      - Requirements for system maintenance and development;

      - Requirements for warranty support;

      - Requirements for qualifications (Supplier and its specialists);

      - Requirements for economic evaluation criteria of offers and calculation methodology;

      - Requirements for project implementation (methodology, implementation schedule/sequence/stages, etc.)

  - Detailed scope of procurement. Additional consulting hours (procurement object in section 1.1.3)

    - Additional consulting hours shall be used only upon the actual need of the Client, and the Client does not undertake to use or pay for the full amount of additional consulting hours. Payment shall be made only for consulting hours actually ordered by the Client and provided by the Supplier.

    - Additional consulting hours may be used for the provision of the following services, including but not limited to:

      - After full completion of the Study – clarification of recommendations when they are applied in practice;

      - Consulting during the preparation, refinement, or implementation of public procurement documents;

      - Consulting during the CAS procurement process for the evaluation of candidates’ proposals, analyzing the compliance of candidates and their proposals with the requirements.

    - The scope, content, and delivery procedure of additional consulting hours shall be agreed separately with the Client in each case..

- CONTRACT IMPLEMENTATION

  - Planning phase.

    - Prepare and agree on a detailed implementation plan no later than 15 working days from the signing of the contract:

      - The plan shall include a list of tasks, their duration, and dependencies

      - The plan shall define and agree on the responsibilities of the Client and the Supplier and specify the allocation of responsibilities (project manager, experts, IT architects);

      - Together with the schedule, a communication plan shall be provided, specifying responsible persons, as well as the method and frequency of communication between them.

  - Implementation phase

    - The Study (procurement object in section 1.1.1) must be fully prepared and agreed with the Client no later than within 6 (six) months from the date of signing the Contract.

    - The Technical Specification (procurement object in section 1.1.2) must be fully prepared and agreed with the Client within 2 months from the approval of the selected alternative, unless the Parties agree otherwise.

    - The Client undertakes to review, approve, or provide comments on the documents submitted by the Supplier no later than within 7 (seven) working days from the date of receipt. Documents are considered “received” one day after they are sent by email.

    - Document approval shall be limited to up to 2 (two) iteration cycles, during which the Supplier shall submit revised versions according to the Client’s comments, unless the Parties agree otherwise.

    - Requests for additional consulting hours shall be coordinated by email. For each working week during which consulting hours were provided, the Supplier shall submit a timesheet specifying the amount of consulting hours provided and their purpose. Payment for consulting hours shall be made based on the agreed timesheet, but not more frequently than once per month.

    - Document templates and content must be agreed with the Client prior to the start of work. Final document versions must comply with the agreed templates and all requirements defined in this Technical Specification.

    - Documents must include, but are not limited to:

      - The full scope defined in this Technical Specification;

      - Sources and tools used to perform the tasks, including those not explicitly mentioned in the Technical Specification.

    - All document delivery shall be carried out via electronic channels – email, unless the Parties agree otherwise.

  - Requirements for deliverables

    - All document templates and content to be prepared must be agreed with the Client prior to the start of work. Final document versions must comply with the agreed templates and all requirements set out in this Technical Specification.

    - The Supplier must prepare one continuously developed analysis document (unless agreed otherwise), which shall be submitted to the Client in four stages. At each stage, the document must be supplemented with the relevant task defined in this Technical Specification:

      - First stage submission – result of the task described in section 3.2.1 of this document;

      - Second stage submission – result of the task described in section 3.2.2 of this document;

      - Third stage submission – result of the task described in section 3.2.3 of this document;

      - Fourth stage submission – result of the task described in section 3.2.4 of this document;

      - The final version of the fourth stage must include all the above parts and be considered the complete final version of the Study deliverable.

    - The technical specification for procurement, as defined in section 3.3, shall be prepared as a separate document, after prior agreement on the document template and required components

    - The final version of all documents shall be submitted in electronic format as PDF or equivalent and in an additional editable format – DOCX or equivalent. If calculations or data analysis are used in the deliverables, the corresponding data must be provided in an electronic format suitable for calculations or data analysis (XLSX or equivalent). The PDF version must be identical to the editable version. All documents must be provided in Lithuanian and/or English..

- ANNEXES

- Annex 1 – Minimum Information Security Requirements for Software Development

- Annex 2 – Minimum Information Security Requirements for Design and Implementation

- Annex 3 – Minimum Information Security Requirements for Service Provision