Annex to the SPC

TECHNICAL SPECIFICATION

- TERMS AND ABBREVIATIONS

  - Buyer – UAB Vilniaus kogeneracinė jėgainė.

  - Supplier – an economic entity – a natural person, a private legal entity, a public legal entity, other organisations and their subdivisions or a group of such persons with whom the Buyer concludes a contract.

  - Contract – a contract concluded between the Supplier and the Buyer regarding the Object of Procurement.

  - Goods – Filters, parts and consumables for the waste boiler flue gas cleaning station.

  - Order – a written document submitted to the Supplier based on the Contract via a text message, email, and/or through the information system specified by the Buyer, indicating the quantities of Goods, delivery addresses, and deadlines.

  - Related Goods – Goods not specified in the technical specification, but technically or functionally related to the object of procurement. The total price of such Related Goods shall not exceed 10% of the original value of the Contract.

- SUBJECT OF THE PURCHASE

  - Filters, parts, consumables and other related goods for the waste boiler flue gas cleaning station, intended to support the Buyer’s operations.

- SCOPE OF THE PURCHASE

  - The preliminary quantities of the Goods are set out in Table 1 of Annex 1 to the Technical Specifications.

  - During the term of the Contract, the Buyer shall have the right to adjust the quantity of Goods purchased, provided that the maximum Contract price specified in the Contract is not exceeded. The Buyer  is under no obligation to purchase the entire quantity of Goods or any part thereof.

- PLACE OF SERVICE PROVISION

  - The Goods must be delivered to: Paneriškių g. 25, Vilnius.

- REQUIREMENTS FOR THE PURCHASE OBJECT

Description of the subject of the purchase

  - Filters, parts, consumables and other goods for a waste boiler flue gas cleaning station, necessary to ensure the operation of the energy facilities, engineering systems and auxiliary processes operated by the Buyer .

  - The goods must be new, unused, of high quality, free from defects, fit for their intended purpose and comply with the requirements set out in the Technical Specification, the manufacturer’s documentation and applicable legislation.

  - The Supplier must supply the Goods at its own risk and expense, including loading, transport, unloading, packaging, labelling and other costs associated with the supply.

  - The Goods must be delivered in packaging that ensures their safety during transport, loading and storage.

  - Each batch of Goods must be clearly marked, indicating the manufacturer, product name, code, batch number, date of manufacture and other relevant information.

  - If special storage conditions are required for the use of the Goods, the Supplier must clearly indicate this in the delivery documents and on the packaging.

  - The Supplier must comply with the requirements regarding traffic, occupational safety, environmental protection, fire safety and internal regulations in force on the Buyer’s premises.

- PROCEDURE AND TERMS FOR THE SUPPLY OF GOODS

  - Goods shall be purchased as required and only in accordance with individual Orders placed by the Buyer  during the term of the Contract.

  - The Goods must be delivered no later than the deadline specified in the Supplier’s tender submitted at the time of purchase and recorded in the Contract, which in any event may not exceed 120 (one hundred and twenty) calendar days from the date the Order is submitted to the Supplier.

  - If the Buyer  determines that the delivered Goods do not comply with the requirements of the Order or the Technical Specification, the Buyer  shall have the right to refuse to accept such Goods.

  - A period of 5 working days is set within which the Buyer must accept the properly delivered Goods and sign the Goods delivery and acceptance documents.

- QUALITY AND REMEDY OF DEFECTS

  - Defects in the Goods shall be deemed to be non-conformities with the requirements of the Technical Specification, the Order, the manufacturer’s documentation and legislation.

  - The Buyer shall have the right to contact the Supplier regarding the rectification of defects in the Goods, the replacement of unsuitable Goods or the delivery of missing quantities no later than within 3 working days from the date on which the defects were recorded,

  - A period of 120 calendar days from the date of the Buyer’s notification of defective, substandard or faulty Goods shall be set for the rectification of defects identified during the handover-acceptance or warranty period.

- TERMS OF PAYMENT

  - The Buyer shall pay the Supplier for the high-quality Goods actually delivered in accordance with the Order, following the signing of the Goods handover-acceptance certificate by the parties, within 30 (thirty) calendar days from the date of receipt of the Invoice.

  - The Supplier shall, within 2 (two) working days of the signing of the Goods Delivery and Acceptance Certificate, submit a VAT invoice and the signed Goods Delivery and Acceptance Certificate to the Buyer.

- DOCUMENTS TO BE SUBMITTED WITH THE GOODS

  - Upon delivery of the Goods, the following documentation must be provided to the Buyer in Lithuanian or English:

    - Goods delivery and acceptance document;

    - Invoice;

    - Manufacturer’s technical documentation, where applicable;

    - Declarations of conformity, certificates, quality certificates, test reports, where applicable;

    - Safety data sheets, where applicable;

    - Instructions for use, installation, storage or operation, if applicable.

- DOCUMENTS TO BE SUBMITTED WITH THE GOODS

  - Annex 1 to the Technical Specifications – Quantities of Goods (information provided in the annex to the Tender Form, ‘Tender Price’).