TECHNICAL SPECIFICATION

- CONCEPTS

Buyer - the Customer – AB “Amber Grid”.

Supplier - an economic operator - a natural person, a private or public legal person, another organisation and their subdivisions, or a group of such persons, including temporary associations of economic operators, who proposes on the market to carry out works, supply goods or provide services.

Goods - parts for main gas pipeline cleaning equipment.

- PROCUREMENT OBJECT / PROCUREMENT VOLUME / CHARACTERISTICS /

Procurement object: Parts for pipeline cleaning equipment used in main gas pipelines (hereinafter - the Goods).

Standard sizes (DN):

- Calibration plate (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Support disc (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Sealing disc (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Plate(DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Round brush (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Standard magnet (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Spacer disc (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“));

- Casing (DN250 (10“), DN300 (12“), DN350 (14“), DN400 (16“), DN500 (20“), DN700 (28“), DN800 (32“), DN1000 (40“)).

Characteristics: The components of the equipment must ensure complete cleaning of the main gas pipeline, including general and heavy cleaning, removal of iron debris, and measurement of the internal diameter of the pipeline. Spare (replaceable) parts, i.e., cleaning discs, sealing discs, cleaning brushes, standard magnets, measuring plates, and casings.

- PLACE OF PERFORMANCE OF CONTRACTUAL OBLIGATIONS

Supplier must deliver the goods to the following address: Gudelių str. 49, Vilnius – as specified by the Buyer.

REQUIREMENTS FOR THE PROCUREMENT OBJECT

- GENERAL REQUIREMENTS FOR GOODS:

  - The delivered Goods must comply with the requirements regarding quality, assortment, configuration, quantity, and other specifications set forth in the Procurement Conditions, the Tender, and the Agreement, and must not have been restored, refurbished, or altered in any way.

  - The Goods must be new, unused, and free of physical or functional defects.

  - The Goods (including their manufacturers) must not pose a threat to national security, as specified in the Procurement documents.

  - The Supplier must provide a warranty of no less than 24 months from the date of signing the Goods Acceptance and Transfer Act.

  - All products must be approved for use in Lithuania or the European Union and must have certificates of approval for use in the EU or Lithuania.

  - The supplied Goods must comply with all safety requirements related to work on main gas pipelines and have the appropriate certificates (ATEX or equivalent).

  - An ATEX certificate or equivalent must be provided with the Goods.

  - The Goods must be certified for use in main gas pipelines with an operating pressure of at least 54 bar.

  - Cleaning discs and sealing discs must be supplied in different hardness grades—ranging from 70 to 95 Shore A (soft, medium, hard)—depending on the operating conditions, in accordance with the Buyer’s individual orders.

  - Equivalent solutions are permitted. The Supplier must substantiate equivalence by providing technical documentation or other evidence.

  - The Buyer has 4 casings: 10“ and 12“, 14“ and 16“, 20“, 28“ and 32“. The diagrams in Annex No. 1 specify the technical parameters of each casing, including the diameters of the discs and the number of mounting bolts, which must ensure the compatibility of the parts.

  - The parts of the cleaning device must be selected based on the diameters of the corresponding casings and the number of mounting bolts available to the Buyer (Annex No. 1).

- CONDITIONS OF THE ORDER:

  - The Buyer is not obligated to purchase the entire preliminary quantity of Goods. Purchases will be made as needed, and payment will be made based on the actual quantity of Goods purchased. Purchases will be made through separate orders over a 36-month period, not exceeding the maximum agreement value.

  - The delivery period for the Goods shall not exceed 60 calendar days from the date the order is placed.

- BASIC PIPELINE DATA:

- Dimensions of cleaning devices: 10"–40";

- Product transported via the main gas pipeline: natural gas;

- The minimum and maximum temperature range of the transported product is from +4°C to +17°C;

- Maximum operating pressure: 54 bar;

- Gas flow velocity ranges from 0.1 m/s to 10 m/s;

- The minimum bending radius of the main gas pipeline is 3 D.

7. GREEN PUBLIC PROCUREMENT REQUIREMENTS

7.1. The Agreement is subject to green public procurement requirements:

7.1.1. The Agreement shall be signed electronically;

7.1.2. In performing the Agreement, the Supplier undertakes to comply with the following environmental requirements: to reduce paper consumption, to refrain from unnecessary copying and printing of documents.

7.1.3. All information and/or documents necessary for the performance of the Agreement shall be submitted and agreed in electronic format by electronic means.

7.1.4. The Supplier must ensure that, during the term of the Agreement, the Goods are delivered outside of peak hours (Monday through Friday, 9:30 a.m. to 11:30 a.m. and 12:15 p.m. to 2:00 p.m.).

8. ANNEXES TO THE TECHNICAL SPECIFICATIONS

Annex 1 – Cleaning equipment.

Estimated quantity of goods for a 36-month period:

| 1 | PARTS |  |  |  |
| --- | --- | --- | --- | --- |
| 1.1 | Additional parts 10" |  |  |  |
| 1.1.1 | calibration plate 10" | pcs. | 3 | DN250(10") |
| 1.1.2 | support disc, 10" | pcs. | 20 | DN250(10") |
| 1.1.1 | sealing disc, 10" | pcs. | 40 | DN250(10") |
| 1.1.4 | plate, 10“ | pcs. | 20 | DN250(10") |
| 1.1.5 | round brush, 10" | Set | 4 | DN250(10") |
| 1.1.6 | standard magnet, 10" | Set | 4 | DN250(10") |
| 1.1.7 | spacer disc, 10" | pcs. | 5 | DN250(10") |
| 1.1.8 | casing 10" | pcs. | 1 | DN250(10") |
| 1.2 | Additional parts 12" |  |  |  |
| 1.2.1 | calibration plate 12" | pcs. | 3 | DN300(12") |
| 1.2.2 | support disc, 12" | pcs. | 20 | DN300(12") |
| 1.2.1. | sealing disc, 12" | pcs. | 40 | DN300(12") |
| 1.2.4 | plate, 12“ | pcs. | 20 | DN300(12") |
| 1.2.5 | round brush, 12" | Set | 4 | DN300(12") |
| 1.2.6 | standard magnet, 12" | Set | 4 | DN300(12") |
| 1.2.7 | spacer disc, 12" | pcs. | 5 | DN300(12") |
| 1.2.8 | casing 12" | pcs. | 1 | DN300(12") |
| 1.3 | Additional parts 14" |  |  |  |
| 1.3.1 | calibration plate 14" | pcs. | 3 | DN350(14") |
| 1.3.2 | support disc, 14" | pcs. | 20 | DN350(14") |
| 1.3.1 | sealing disc, 14" | pcs. | 40 | DN350(14") |
| 1.3.4 | plate, 14“ | pcs. | 20 | DN350(14") |
| 1.3.5 | round brush, 14" | Set | 4 | DN350(14") |
| 1.3.6 | standard magnet, 14" | Set | 4 | DN350(14") |
| 1.3.7 | spacer disc, 14" | pcs. | 5 | DN350(14") |
| 1.3.8 | casing 14" | pcs. | 1 | DN350(14") |
| 1.4 | Additional parts 16" |  |  |  |
| 1.4.1 | calibration plate 16" | pcs. | 3 | DN400(16") |
| 1.4.2 | support disc, 16" | pcs. | 20 | DN400(16") |
| 1.4.1 | sealing disc, 16" | pcs. | 40 | DN400(16") |
| 1.4.4 | plate, 16“ | pcs. | 20 | DN400(16") |
| 1.4.5 | round brush, 16" | Set | 4 | DN400(16") |
| 1.4.6 | standard magnet, 16" | Set | 4 | DN400(16") |
| 1.4.7 | spacer disc, 16" | pcs. | 5 | DN400(16") |
| 1.4.8 | casing 16" | pcs. | 1 | DN400(16") |
| 1.5 | Additional parts 20" |  |  |  |
| 1.5.1 | calibration plate 20" | pcs. | 3 | DN500(20") |
| 1.5.2 | support disc, 20" | pcs. | 20 | DN500(20") |
| 1.5.1 | sealing disc, 20" | pcs. | 40 | DN500(20") |
| 1.5.4 | plate, 20“ | pcs. | 20 | DN500(20") |
| 1.5.5 | round brush, 20" | Set | 4 | DN500(20") |
| 1.5.6 | standard magnet, 20" | Set | 4 | DN500(20") |
| 1.5.7 | spacer disc, 20" | pcs. | 5 | DN500(20") |
| 1.5.8 | casing 20" | pcs. | 1 | DN500(20") |
| 1.6 | Additional parts 28" |  |  |  |
| 1.6.1 | calibration plate 28" | pcs. | 3 | DN700(28") |
| 1.6.2 | support disc, 28" | pcs. | 20 | DN700(28") |
| 1.6.1 | sealing disc, 28" | pcs. | 40 | DN700(28") |
| 1.6.4 | plate, 28“ | pcs. | 20 | DN700(28") |
| 1.6.5 | round brush, 28" | Set | 4 | DN700(28") |
| 1.6.6 | standard magnet, 28" | Set | 4 | DN700(28") |
| 1.6.7 | spacer disc, 28" | pcs. | 5 | DN700(28") |
| 1.6.8 | casing 28" | pcs. | 1 | DN700(28") |
| 1.7 | Additional parts 32" |  |  |  |
| 1.7.1 | calibration plate 32" | pcs. | 3 | DN800(32") |
| 1.7.2 | support disc, 32" | pcs. | 20 | DN800(32") |
| 1.7.1 | sealing disc, 32" | pcs. | 40 | DN800(32") |
| 1.7.4 | plate, 32“ | pcs. | 20 | DN800(32") |
| 1.7.5 | round brush, 32" | Set | 4 | DN800(32") |
| 1.7.6 | standard magnet, 32" | Set | 4 | DN800(32") |
| 1.7.7 | spacer disc, 32" | pcs. | 5 | DN800(32") |
| 1.7.8 | casing 32" | pcs. | 1 | DN800(32") |
| 1.8 | Additional parts 40" |  |  |  |
| 1.8.1 | calibration plate 40" | pcs. | 3 | DN1000(40") |
| 1.8.2 | support disc, 40" | pcs. | 20 | DN1000(40") |
| 1.8.1 | sealing disc, 40" | pcs. | 40 | DN1000(40") |
| 1.8.4 | plate, 40“ | pcs. | 20 | DN1000(40") |
| 1.8.5 | round brush, 40" | Set | 4 | DN1000(40") |
| 1.8.6 | standard magnet, 40" | Set | 4 | DN1000(40") |
| 1.8.7 | spacer disc, 40" | pcs. | 5 | DN1000(40") |
| 1.8.8 | casing 40" | pcs. | 1 | DN1000(40") |

Note: The quantities specified are preliminary and are intended solely for the evaluation of bids and the selection of the successful bidder. The actual quantities purchased may vary and will be determined when specific orders are placed during the performance of the agreement.