DOCUMENT FOR THE LOW-VALUE PUBLIC PROCUREMENT

ACOUSTIC SIGNAL TRANSMMITTERS AND RECEIVERS

SPECIAL TERMS AND CONDITIONS

CONTENTS

1.	General	2

2.	Procurement object	2

3.	Grounds for exclusion of suppliers, qualification requirements and required quality management system and/or environmental management system standards	2

4.	Requirements related to national security	2

5.	Specific requirements for the preparation and submission of tenders	2

6. Tender security	3

7.	Evaluation of tenders	3

8. Time limits                                                                                                                                                           4

# General

1.1. The Contracting Authority is the State Scientific Research Institute National Research Center, reg. code 302470603, address Akademijos g. 2, Vilnius. The Contracting authority is a VAT payer.

  - The procurement is not made using the centralised procurement catalogue because as the catalogue does not contain the necessary service that meet the scientific objectives of the procurement.

1.3. There is no Procurement Commission.

1.4. The Procurement shall be considered as a green procurement in accordance with Article 4.4.3 of the Description of the Procedure for the Application of Environmental Criteria in Green Procurement, approved by the Order of the Minister of the Environment of the Republic of Lithuania No D1-508 of 28 June 2011 (the wording of the Order of the Minister of the Environment of the Republic of Lithuania No D1-17 of 16 January 2024).

  - The general tender T&Cs form an integral part of these special tender T&Cs.

# Procurement object

  - The Contracting Authority intends to procure acoustic signal transmitters and receivers with delivery (hereinafter – the goods). The requirements for the procurement object are set out in Annex 3 “Technical Specification” to the special tender T&Cs.

  - The procurement object is not divided into lots.

# Grounds for exclusion of suppliers, qualification requirements and required quality management system and/or environmental management system standards

3.1. No grounds for exclusion shall be imposed on suppliers.

3.2. There are no qualification requirements for suppliers, no requirements for compliance with quality management system and environmental management system standards. The supplier undertakes, when submitting a tender, that the contract will be performed only by persons qualified to carry out the activity in question.

# Requirements related to national security

  - The Contracting Authority does not apply any requirements relating to national security.

# Specific requirements for the preparation and submission of tenders

  - The “Enclosed documents” line of the CPP IS tender window shall contain:

5.1.1. completed and the supplier’s signed tender, drawn up in accordance with the tender form set out in Annex 4 to the special tender T&Cs “Tender Form” in the special tender T&Cs;

5.1.2. authorisation permitting to submit a tender and other documents (if the tender is not submitted by the head);

5.1.3. information and documents in accordance with the tender form set out Annex 4 in the special tender T&Cs (in the case of a tender submitted by a group of suppliers);

5.1.4. any other documents (copies thereof) that the supplier considers necessary.

5.2. The tender may be signed with a physical signature or with a qualified electronic signature. If the supplier certifies documents using an electronic signature rather than a physical signature, the electronic signature must comply with the requirements set out in Article 22(11)(2) and (3) of the Law on Public Procurement. If the contracting authority has doubts as to the authenticity of the documents, it has the right to request the original documents. These can be:

5.2.1. documents generated by electronic means and signed with a qualified electronic signature;

5.2.2. digital copies of documents (documents certified by a physical signature must be signed and scanned).

5.3. The tender must be drawn up in the Lithuanian or English language. If any of the documents submitted with the tender are not in the language requested, an accurate translation into the language requested must be provided.

5.4. The total price (cost) of the tender, must be expressed to two decimal places.

5.5. The prices quoted in the suppliers’ tenders will be evaluated and compared with all taxes, including VAT.

# 6. Tender security

6.1. The contracting authority does not require the validity of the tender to be guaranteed, but reserves the right to seek redress from the courts for damages caused by the supplier’s modification or cancellation of its tender or the successful tenderer’s refusal to award the contract during the period of validity of the tender.

# Evaluation of tenders

7.1. The contracting authority shall select the most economically advantageous tender on the basis of the price quoted in the supplier’s tender, which must be calculated and quoted as required in Annex 4 to the special tender T&Cs “Tender Form”.

7.2. The lowest price tender is considered the most economically advantageous tender.

7.3. Only the one (1) most economically advantageous tender at the top of the tender queue can be declared the successful tender.

# Contract conclusion

# 8.1. This procurement procedure is carried out with a view to awarding a contract to the supplier whose tender, in accordance with the procedure laid down in the special tender T&Cs or, in the case of a partial procurement, to the suppliers whose tenders are declared successful. The terms of the contract are set out in Annex 6 to the special tender T&Cs “Draft Contract” to the special T&Cs.

# Time limits

| Row No | ACTION | DATE/NUMBER OF DAYS/TIME (Lithuanian time) | NOTES |
| --- | --- | --- | --- |
| 1 | Deadline for submission of tenders | Will be provided in call to the tender. | The contracting authority has the right to extend the time limit for the submission of tenders. |
| 2 | The supplier must submit a proposal for revision of the contract documents or a request for clarification of the contract documents no later than: | 2 working days before the expiry of the time limit for the submission of tenders. |  |
| 3 | The contracting authority shall make the clarification or revision of the contract documents available to all tenderers: | at least 1 working day before the expiry of the time limit for the submission of tenders. | If the explanations or clarifications are submitted at the initiative of the contracting authority, the time limit for their submission shall remain unchanged. |
| 4 | Initial familiarisation with tenders received via CPP IS | Starting no earlier than 45 minutes after the expiry of the time limit for the submission of final tenders |  |
| 5 | Period of validity of the tender and of the security for the validity of the tender (if applicable) not less than | 90 (ninety) days after the deadline for submission of tenders. |  |
| 6 | The contracting authority shall reply to the tenderer as to whether it agrees to accept the tenderer’s proposed documentary evidence of tender security no later than | 3 (three) working days after receipt of the request | Not applicable if no request for a document proving the validity of the tender is made |
| 7 | The tender security shall be returned (or waived) to the tenderer within | 5 (five) working days after receipt of the request | Not applicable if no request for a document proving the validity of the tender is made |
| 8 | The contracting authority shall inform the tenderers of the results of the evaluation (if applicable) of the ESPD no later than | 3 (three) working days from the date of the decision |  |
| 9 | The contracting authority shall notify the tenderers of the decision made to identify the successful tender for the award of the contract no later than | 3 (three) working days from the date of the decision |  |
| 10 | The tenderer shall have the right to lodge a complaint with the contracting authority, make a request or bring an action before a court not later than | 5 (five) working days from the date of dispatch of the contracting authority’s written notification of its decision to the suppliers, or from the date of publication of the contracting authority’s decision, if the Law on Public Procurement does not provide for a requirement to inform the suppliers in writing of the contracting authority’s decision; 15 (fifteen) days from the date of dispatch of the notice to the suppliers, unless the notice was sent by electronic means. |  |
| 11 | The contracting authority must examine the tenderer’s complaint, make a reasoned decision and notify the complaining tenderer and the tenderers concerned in writing of the decision, as well as of any change in the time limits of the procurement procedure notified earlier, no later than within | 6 (six) working days after receipt of the claim |  |
| 12 | If the contracting authority does not deal with the claim submitted to it within the time limit, the tenderer has the right to apply to the courts for a declaration that the contract is void (except for an action for annulment) | within 15 (fifteen) days from the date on which the contracting authority was required to notify in writing the contracting entity’s decision |  |

Annex 1 “Grounds for Exclusion of Suppliers” to the special tender T&Cs

GROUNDS FOR EXCLUSION OF SUPPLIERS

- Suppliers are exempt from exclusion grounds.

Annex 2 “Qualification Requirements of Suppliers and Required Standards for Quality and Environmental Management Systems” to the special tender T&Cs

QUALIFICATION REQUIREMENTS OF SUPPLIERS AND REQUIRED STANDARTS FOR QUALITY AND ENVIRONMENTAL MANAGEMENT SYSTEMS

1.	There are no requirements on the supplier's qualifications.

2.	The contracting authority shall not require suppliers to comply with the standards of a quality management system and/or an environmental management system.

Annex 3 “Technical Specification” to the special tender T&Cs

TECHNICAL SPECIFICATION

ACOUSTIC SIGNAL TRANSMMITTERS AND RECEIVERS

50 pcs. Tags (transmitters) should work on 69kHz, max. diameter 7 mm, max. length 22 mm, max. weight in air 1.7 g, min. signal power output 137 dB, predation sensor must be based on stomach acid triggering, min. battery life 105 days, max. PPM delay 60 sec.

15 pcs. Tags should work on 69 kHz, max. diameter 9 mm, max. length 28 mm, max. weight in air 5 g, min. signal power output 146 dB, min. battery life 150 days, max. PPM delay 60 sec.

15 pcs. Receivers should work on 69kHz, have transponding capabilities with a surface unit & hydrophone, incorporate an internal transmitter, should record noise, tilt & temperature, min. battery life 12 months. Max. Lenght 310 mm., max. Diameter 75 mm., Depth Rating min. 700 meters

The supplied acoustic telemetry equipment (receivers, transmitters, and related components) must be fully compatible with the acoustic telemetry equipment currently owned by the Purchaser (Vemco/Innovasea VR2W receivers). The Supplier shall provide written confirmation from the equipment manufacturer (Vemco/Innovasea) confirming full interoperability and compatibility of the proposed equipment with the Contracting Authority existing system.

The goods must be delivered by September 15, 2026

Annex 4 “Tender Form” to the special tender T&Cs

TENDER

ACOUSTIC SIGNAL TRANSMMITTERS AND RECEIVERS

STATE SCIENTIFIC RESEARCH INSTITUTE NATURE RESEARCH CENTRE

Contracting Authority

Table 1. Contact and other information:

| Name of the supplier, legal form |  |
| --- | --- |
| Address of the supplier |  |
| Name, surname, position of the authorised representative |  |
| Telephone number |  |
| E-mail |  |

Note. In case the Service Provider intends to hire a subcontractor(s):

| Name(s) of the subcontractor(s) |  |
| --- | --- |
| Address(es) of the subcontractor(s) |  |
| Responsibility’s part implemented by the subcontractor (%) |  |

By submitting this tender, we hereby acknowledge that we agree to all conditions indicated in the Conditions of the Procurement and confirm that the information presented in this tender is correct and include everything that is necessary for proper fulfilment of the public procurement contract.

We offer the goods for which the price is indicated in Table 2:

Table 2.

| Row No | Name of the goods | Price, EUR excl. VAT |
| --- | --- | --- |
| 1. | Acoustic signal transmitters |  |
| 2. | Acoustic signal receivers |  |
| TOTAL (total price of tender in EUR excl. VAT) |  |  |
| VAT amount |  |  |
| TOTAL (total price of tender in EUR incl. VAT) |  |  |

Tender price incl. VAT EUR _________________________________________ and _____ ct.

(amount in words)

Notes:

a) the price in euro, including VAT, shall be indicated in the tender rounded, leaving no more than two decimal places;

b) in cases where the supplier is not required to pay the VAT under the effective legal acts, the supplier may omit lines, where the price is to be specified in EUR, VAT incl., but must state the reasons for not paying VAT;

c) if the amount in figures differs from the amount in words, the amount is words shall be considered correct.

When submitting this tender, we hereby certify that the price of the services we offer includes all costs and all taxes and that we take the risk of all costs that we were required to include in the tender price when submitting the tender and in accordance with the requirements set out in the procurement documents.

The following documents shall be submitted with the tender:

Table 3.

| Row No | Name of documents submitted | Number of pages in the document |
| --- | --- | --- |

This tender contains the following confidential information.

The price of the services, except for its components, contained in the tender shall not be considered as confidential information.

Table 4.

| Row No | Title of document submitted (it is recommended to use the word “Confidential” in the title) | The document is uploaded in this line of the CPP IS tender window |
| --- | --- | --- |

Note. If the supplier does not indicate which information is confidential, the tender shall be deemed not to contain confidential information.

The tender is valid for 3 (three) months from the expiry of the deadline for submission of tender.

| (Job title of the supplier or its authorised person) |  | (Signature) |  | (Full name) |
| --- | --- | --- | --- | --- |

Annex 5 “Criteria and conditions for examination of tender” to the special tender T&Cs

CRITERIA AND CONDITIONS FOR EXAMINATION OF TENDER

1. The Contracting Authority shall select the most economically advantageous tender according to the price indicated in the supplier's tender, which shall be calculated and indicated in the manner required by Annex 4 "Tender Form" to the special T&Cs.

2. The evaluation shall be based on the price in EUR including VAT indicated by the suppliers in their tender form.

3. The tenders shall be ranked in descending order of most economically advantageous tender, i.e. in ascending order of the prices offered. The supplier ranked first in the order of the bids will be considered the successful tender.