## Annex 4 to the Procurement Terms" Tender Form"

TENDER

FOR Off-Road capable ambulances PROCUREMENT

(date)

(location)

To the Public Institution Central Project Management Agency

- INFORMATION ABOUT THE SUPPLIER:

| Name of supplier (In the case of a group of suppliers, the names of all members of the group: Responsible partner: Partner No. 1: Partner No. 2, etc.:) |  |
| --- | --- |

- INFORMATION ON THE ECONOMIC OPERATORS ON WHOSE CAPACITY THE SUPPLIER RELIES TO MEET THE CONTRACTING AUTHORITY'S QUALIFICATION REQUIREMENTS

(to be completed if the supplier uses the capacities of other economic operators as specified in Chapter 9 of the General Part of the Procurement Conditions “Relying on the capacity of entities”)

| No. | Name, legal entity code, address of the economic operator | Description of the part of the subject-matter of the contract to be subcontracted |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |

- INFORMATION ON KNOWN SUBCONTRACTORS AND THE PARTS OF THE CONTRACT TO BE SUBCONTRACTED

(to be completed if the supplier uses sub-suppliers)

| No. | Name, legal entity code, address of the subcontractor | Description of the part of the subject-matter of the contract to be subcontracted |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |

- DETAILS OF THE MEMBERS OF THE SUPPLIER'S MANAGEMENT BOARD, SUPERVISORY BOARD

(To be completed if the supplier, which is a legal person, has a collegiate management or supervisory body member(s) or other person(s) with the right to represent or control the supplier, to take a decision on its behalf, to enter into a contract, or an accountant(s) or other person(s) with the right to draw up and sign the supplier's accounting documents (Article 46(2)(2) of the LPP).)*

| No. | Name, surname | Occupation |
| --- | --- | --- |
| 1 | 2 | 3 |

*This information does not need to be submitted with the proposal. The supplier will be obliged to provide this information on request of the contracting authority.

The Supplier will be required to provide documentation confirming that the persons (if any) referred to in this table do not have the grounds for exclusion provided for in Article 46(1) of the LPP.

- PRICE OF THE TENDER

| No. | Object of procurement | Quantity | Unit price EUR excl. VAT | Price EUR excl. VAT (3x4) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 5.1. | Off-Road capable ambulances | 2 |  |  |
| Tender price in EUR excluding VAT (sum of values in column 5) |  |  |  |  |
| VAT rate (to be completed if applicable) |  |  |  |  |
| Tender price EUR incl. VAT * |  |  |  |  |

* This price includes all costs and all taxes (excluding costs and/or taxes related to the importation of goods).

- proposed values for the quality criteria (T)

| No. | Criterion | Proposed value |
| --- | --- | --- |
| 6.1. | Delivery time (T) Supplier's proposed delivery time for the entire quantity* | ___ months** |

* The delivery time offered by the supplier cannot be longer than the term specified in Clause 1.9 of the Special Part of the Procurement Conditions. If the supplier offered a longer term, his tender would be rejected.

** The supplier must indicate the proposed delivery time in months, in whole numbers. If the supplier specifies months in non-integer numbers, they will be rounded off in accordance with the procedure laid down in the Procurement Conditions.

- Technical and other requirements of the Goods offered by the supplier

| No. | Feature | Technical specification requirement | The exact parameters of the offered product (if applicable, tick the relevant boxes and / or indicate the information requested) |
| --- | --- | --- | --- |
| Manufacturer's name and model of the goods offered by the Supplier: _________________________________. Please be aware that the supplier's selection of a manufacturer must evaluate the manufacturer's compliance with national security requirements, specifically whether the manufacturer has any cooperation with Russia, Belarus and other countries or territories referred to in article 92(15) of the Law on Public Procurement of the Republic of Lithuania. Additionally, once a potential winner is identified, the Contracting Authority will consult the competent authorities if the supplier or manufacturer have interests that may pose threat to national security. If a positive determination is made, the supplier will be excluded from the procurement process. For example, there have been instances where tenderers were excluded from procurement because they offered goods from Chinese manufacturers, who were deemed to have interests that may pose a threat to national security. |  |  |  |
| 1. | Object of procurement | Off-Road capable ambulances equipped with medical equipment, suitable for transporting medical personnel, patients and medical equipment. * the proposed vehicle is considered to meet the procurement object if it meets the following requirements |  |
| 2. | Place of delivery of goods | Yerevan, Republic of Armenia. Exact delivery address will be provided for the supplier in the execution of the contract. |  |
| 3. | Delivery term | No later than 8 months after the Contract enters into force |  |
| 4. | Vehicle‘s equipment | The vehicle must be equipped to be used in territory of the Republic of Armenia without additional measures. The gauges and read-outs of the instrument cluster must be in the metric system, and the vehicle must be designed for right-hand drive (left-hand steering wheel). |  |
| 5. | Vehicle‘s manufacturing | The vehicle must be new and unused (made no earlier than 2023 and with mileage of not more than 5000 km). |  |
| 6. | Vehicle‘s type | Off-road capable Sport utility vehicle (SUV) or Pickup-type vehicle manufactured as or modified/converted into an ambulance. |  |
| 7. | Quantity | 2 units |  |
| 8. | Number of passengers (with driver) | Not less than 3 (one in a cabin and 2 seats in patient compartment), additionally 1 patient on the stretcher and 1 driver seat. |  |
| 9. | Gearbox type | Manual or automatic gearbox with additional Low-range gear, selectable by the driver. |  |
| 10. | Engine | Diesel engine, equipped with forced induction system (Turbocharger) with emission standard not lower than EURO V |  |
| 11. | Drive system | 4-wheel drive system, selectable (4WD) or constant (AWD). |  |
| 12. | Requirements for the features of the vehicle | Vehicle must have following functionalities and features: - Not less than 1 blue priority lighting system (rotating or flashing), visible from all sides of the vehicle. - Audible siren, controlled from inside the vehicle. - Equipped with fire extinguisher weighing at least 2 kg. - Must be fitted with heating and air conditioning system for the driver compartment and medical compartment/superstructure (single system or separate systems for each compartment). |  |
| 13. | Requirements for the medical compartment/ ambulance superstructure | Medical compartment/ambulance superstructure must have following features: - The size of the superstructure must be able to carry one patient on a stretcher in a dedicated space, with additional 2 seats for seated patients/medical personnel and accommodate all medical equipment. - The width of the superstructure must not exceed the width of the vehicle. - The rear of the compartment/ superstructure must be fitted with 2 side-opening doors allowing for loading of wheeled stretcher. - If medical compartment/superstructure is fitted with windows, they must not be translucent (must be tinted or obscured in other ways). - 12V Electrical wiring for medical devices - at least 2 12V connectors must be installed. - Interior lighting with the ability to switch lights in patient area must be installed. - Shelves and compartments must be installed for the secure storage and transportation of medical equipment. Shelves and storage compartments must be designed and built with retention features to hold content secure during driving. |  |
| 14. | Medical equipment installed and supplied with the vehicle | Each vehicle must be fitted with following medical equipment: - Foldable mobile stretcher with wheeled base, mounted on stretcher base installed in the vehicle. - Pick-up (scoop) stretcher for carrying of the patient, with immobilization straps. - Rigid spinal board for patient lifting, with handles. - Oxygen supply system with no less than 10-liter oxygen cylinder and oxygen supply system for patient with oxygen control valve, regulator and humidifier and connection point for patient supply. |  |
| 15. | Bodywork color | Vehicles must have following paint scheme: - Base color of the vehicle and superstructure must be white. - Vehicle must have markings for the ambulance vehicle, corresponding to the requirements of Republic of Armenia. Exact marking scheme will be provided for the supplier in the execution of the contract. |  |
| 16. | Tires | The vehicle must be fitted with a set of tyres suitable for a wide range of on-road and off-road surfaces and meeting the following requirements: - Must comply with M+S (Mud+Snow) tyre category and be marked accordingly. - Must be suitable for road and off-road use (have All-Terrain or Mud-Terrain, or Hybrid-Terrain, or other comparable manufacturers marking). - Tyres must be non-studded. - The vehicle must be supplied with a spare wheel of the same size and with the same tyre as fitted to the vehicle and with all the necessary tools to replace the wheel including lifting device. |  |
| 17. | Warranty | The Seller or its authorized representative must ensure the warranty servicing of the vehicle at the service center specified by the Supplier or its representative in the territory of the Republic of Armenia, and if there are no service centers of the Supplier or its representative in the specified territory, the vehicle must be transported and returned by the Supplier at its own expense from the location of the Beneficiary's deployment to the Seller's or its representative's premises for service and maintenance. The vehicle must be covered by a warranty of at least 24 months or 100 000 km whichever comes first. Medical equipment must be covered by a warranty of at least 12 months. |  |
| 18. | Documentation | Printed vehicle maintenance and user manual with servicing instructions in English or Armenian must be provided with the vehicle. Maintenance and user manuals with servicing instructions in English or Armenian for the medical equipment, printed (one manual for each item of medical equipment, that requires manual to be used properly) should be provided with the vehicle. |  |

Notes:

The supplier will be required to submit with the tender documents (manufacturer's technical descriptions and/or other documents) confirming that the characteristics of the goods offered by the supplier comply with the requirements.

Where the technical specification indicates a specific model or source of supply, a specific process specific to the goods or services supplied by a particular supplier, or a trademark, patent, types, specific origin or manufacture, it shall be understood that these characteristics are indicative only and that the suppliers are free to offer an equivalent option. The supplier must demonstrate the equivalence referred to in this paragraph.

In the event that the technical specification specifies values/parameters for a particular technical characteristic, suppliers may offer goods whose values/parameters are not inferior to those specified (goods with no inferior characteristics may be offered).

- REQUIRED DOCUMENTS AND CONFIDENTIALITY INFORMATION

Unless otherwise specified, all documents shall be submitted with the tender by means of CPP IS:

| No. | Document | Does the document contain confidential information? (Yes / No) | Explanation of what specific information in the document is confidential and why |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1. | The joint operating agreement (in the case of a proposal submitted by a group of economic operators) |  |  |
| 2. | The power of attorney or other document authorising the submission and/or signing of the tender and other documents (if the tender is not submitted by the head of the supplier, or by the head of the members of a group of economic operators, or of subcontractors, or by the head of the economic operators on whose capacity the supplier relies) |  |  |
| 3. | If the supplier uses economic operators, evidence that these resources will be available for the entire duration of the contractual obligations |  |  |
| 4. | Signed ESPD in pdf format (Annex 3 "ESPD" to the Purchase Conditions). *A separate ESPD to be completed by: - supplier; - each member of the group of suppliers (in the case of a group of suppliers); - each economic operator on whose capacity the supplier relies in accordance with Article 49 of the LPP (if any) (excluding quasi-suppliers) |  |  |
| 5. | Technical and / or other documents confirming the compliance of the goods offered by the supplier with the requirements of the Technical Specification |  |  |
| 6. | Other documents, if required by the Procurement Terms |  |  |

- SUPPLIER’S DECLARATION

By signing this tender, I certify that:

- I am familiar with the procurement documents, as well as with the applicable laws of the Republic of Lithuania, sub-legislative legal acts, which regulate the procedure for conducting public procurements and which may have an impact on any relations between the contracting authority and the supplier, arising out of and/or related to this procurement;

- I accept the conditions and procedures set out in the Procurement Terms;

- The data and information provided in the tender documents are correct and include everything necessary for the proper performance of the contract;

- The contract will be carried out only by persons entitled to carry out the relevant activities;

- The tender shall be valid for the period specified in the relevant clause of Section 1 of the Special Conditions of Contract;

- In the event of a change in the declared circumstances, I undertake to inform the Contracting Authority immediately.

- SUPPLIER’S DECLARATION ON REQUIREMENTS RELATED TO SAFEGUARDING NATIONAL SECURITY INTERESTS

By signing this tender, I certify that:

- The supplier, its subcontractors, the economic entities whose capacities are relied upon, or persons controlling them, and the goods offered by the supplier (including their manufacturers) do not pose a threat to the national security of the beneficiary state;

- The supplier, the subcontractor, the economic entities whose capacities are relied upon, the manufacturer of the goods offered by the supplier (including their components, packaging) or the persons controlling them are legal persons who are not registered in the states or territories listed in paragraph 15 of Article 92 of the Law on Public Procurement;  the supplier, the subcontractor, the economic entities whose capacities are relied upon, the manufacturer of the goods offered by the supplier (including their components, packaging) or the persons controlling them are natural persons who are not permanently resident in the states or territories specified in the list provided for in paragraph 15 of Article 92 of the Law on Public Procurement or who hold citizenship of these states; the goods (including their components, packaging) do not originate or the services are not provided from the states or territories listed in paragraph 15 of Article 92 of the Law on Public Procurement; the specified entities do not have an interest likely to pose a threat to national security; I am not aware that the circumstances specified in clause 4-5 of paragraph 2 (1) of Article 45 of the Public Procurement Law exist in relation to the subjects specified in clause 1-2 of paragraph 2 (1) of Article 45 of the Law on Public Procurement. This item shall apply in the event of mobilisation, war, a state of emergency or when the Government of the Republic of Lithuania, having assessed the risk that the factors which led to the declaration of mobilisation, the imposition of martial law or a state of emergency, pose a threat to national security, has adopted a decision on the application of the provision of Paragraph 21 of Article 45 of the Law on Public Procurement; the supplier, its subcontractor, the economic operator whose capacities are relied upon, is not operating in the countries or territories referred to in the list referred to in paragraph 15 of Article 92 of the Law on Public Procurement and is not a member of, or the head of a group of economic operators any member of which operates in the countries or territories referred to in the list referred to in paragraph 15 of Article 92 of the Law on Public Procurement, another member of a management or supervisory body or any other person(s) having the right to represent or control the supplier, a subcontractor, an economic operator whose capabilities are relied upon, to take a decision on its behalf or to conclude a contract, and does not participate in the activities of groups of economic operators and/or economic operators as such.

- the supplier I represent does not have a Russian involvement exceeding the limits laid down in Article 5k of Council Regulation (EU) No 833/2014 of 31 July 2014 concerning restrictive measures in view of the actions of Russia to destabilise the situation in Ukraine, as amended by Council Regulation (EU) No 2022/576 of 8 April 2014 on Ukraine's sanctions against Ukraine. In particular, I confirm that:

(a) the supplier I represent (and none of the members of the supplier group) is not a Russian citizen or a natural or legal person, entity or body established in Russia;

(b) the supplier I represent (and none of the members of the supplier group) is not a legal person, entity or body which is owned, directly or indirectly, by more than 50 % by an entity referred to in point (a) of this paragraph;

(c) neither I nor the company I represent is a natural or legal person, entity or body acting on behalf of, or at the direction of, an entity referred to in paragraph (a) or (b);

(d) the entities listed in points (a) to (c) are not involved as subcontractors, suppliers or entities whose capacities are relied on by the supplier represented by me where they account for more than 10% of the contract value.

- The supplier, the sub-suppliers I have used or will use in the future, the entities whose capacities I rely on and/or will rely on, the manufacturers of goods (and their components) are not subject to international sanctions implemented in the Republic of Lithuania, as defined in the Law on International Sanctions of the Republic of Lithuania.

| (Title of the Supplier's or his authorised representative's position) |  | (Signature*) |  | (Name, surname) |
| --- | --- | --- | --- | --- |

The prices in the tender shall be rounded to two decimal places.

In cases where the supplier does not have to pay VAT according to the applicable legislation, the supplier does not fill in the relevant sections and indicates the reasons for not paying VAT. We note that, if the purchased goods will be exported to Lebanon, all export procedures and documents relating to the export of the purchased goods are handled and signed by the Supplier. In this respect, the Supplier will issue an invoice at a 0% VAT rate.

The maximum amount of funds available for procurement is specified in clause 1.16 of the Special part of the Procurement conditions. If a tender exceeds this maximum amount (240 000,00 EUR incl. VAT), the tender will be rejected.