## Fixed rates
Annex to tender
TENDER PRICE
No. | Category (according to Technical specification) | Preliminary quantity the duration of the Contract | Unit of measure | Manufacturerm model, type of the offered Goods | Rate of 1 unit in EUR, excluding VAT | Price in EUR, excluding VAT
A | B | C | D | F | G | H=C*G
1. | Year 2026 second half (6 months) • Ovation Product Support • Local Assistance • PWCS Support (only remote support) • Emergency on site in 48h • Spare Parts Management | 1 | vnt. |  |  | 0
2. | Year 2027 (12 months) • Ovation Product Support (GSC) • Local Assistance • PWCS Support (remote support + PWCS licenses) • Emergency on site in 48h • Spare Parts Management • Preventive Maintenance Visit (1* 3 days | 1 | vnt. |  |  | 0
3. | Year 2028 (12 months) • Ovation Product Support (GSC) • Local Assistance • PWCS Support (remote support + PWCS licenses) • Emergency on site in 48h • Spare Parts Management • Preventive Maintenance Visit (1* 3 days) | 1 | vnt.
4. | Emerson Ovation DCS certified engineer services. | 160 | val. |  |  | 0
5. | Emerson Ovation DCS Certified Expert Engineer services. | 40 | val. |  |  | 0
6. | Emerson Ovation DCS certified engineer services (overtime). | 25 | val. |  |  | 0
7. | Emerson Ovation DCS Certified Expert Engineer services (overtime). | 25 | val. |  |  | 0
8. | Travel time (by a certified engineer). | 40 | val. |  |  | 0
9. | Travel time (expert engineer). | 40 | val. |  |  | 0
10. | Emerson Ovation Profibus DP interface electronics module | 1 | vnt. |  |  | 0
11. | Emerson Ovation Profibus DP interface personality module Emerson Ovation Profibus DP interface personality module). | 1 | vnt. |  |  | 0
12. | Emerson Ovation 16 channel enhanced events input (24V differential w/wire break detection) electronics module. | 1 | vnt. |  |  | 0
13. | Emerson Ovation individual fused personality module (Emerson Ovation fuse module). | 1 | vnt. |  |  | 0
14. | Emerson Ovation digital output high side (24 VDC) electronics module (16 Channel). | 1 | vnt. |  |  | 0
15. | Emerson Ovation digital output high side (24 VDC) personality module (16 Channel). | 1 | vnt. |  |  | 0
16. | Emerson Ovation 4-20mA HART high performance analog input electronics module. | 1 | vnt. |  |  | 0
17. | Emerson Ovation 4-20mA HART high performance analogue input personality module. | 1 | vnt. |  |  | 0
18. | Emerson Ovation HART high performance analogue output electronics module. | 1 | vnt. |  |  | 0
19. | Cisco router ISR4321-K9 (Cisco router). | 1 | vnt. |  |  | 0
20. | ETHERWAN MEDIA CONVERTER, DIN RAIL MOUNTED, 24VDC, MULTI-MODE, ST CONNECTOR, REV 3 DESIGN | 1 | vnt. |  |  | 0
21. | CISCO INDUSTRIAL ETHERNET 2000 SERIES SWITCH, BASE SWITCH CONFIGURATION (W/ 1X00952H15) | 1 | vnt. |  |  | 0
Tender price in EUR, excluding VAT | [5 empty] | 0
VAT [1]
Tender price in EUR, including VAT
[1] Where VAT is not payable by the supplier under the legislation in force, then the line "VAT" shall be left blank, or "not subject to VAT" or "not applicable" shall be entered therein.