TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

  - Purchase Order (PO) – A written document issued to the Service Provider on the basis of the Contract via text message, e-mail, and/or through the information system designated by the Buyer, specifying the quantities of Services, delivery addresses, and the deadline.

  - Customer – UAB Kaunas CHP.

  - Provider – An economic entity (a natural person, a private legal entity, a public legal entity, other organizations and their branches, or a group of such persons) with whom the Client enters into the Contract.

  - Contract – The agreement concluded between the Client and the Provider regarding the Object of Procurement.

  - DCS – Emerson Ovation Distributed Control System.

  - Services – Maintenance and support services for the DCS system.

  - PWCS – Power and Water Cybersecurity Suite.

  - Materials / Goods – Spare parts and materials required for the repair of the DCS system.

  - Related Services – Services not explicitly specified in the Technical Specification but related to the Object of Procurement.

  - Related Materials / Goods – Related spare parts and materials not explicitly specified in the Technical Specification but related to the Object of Procurement.

  - An advanced engineer - a specialist with practical experience with the Emerson Ovation DCS system, who is able to independently create and modify technological process control logic (in the Control Builder environment), configure industrial communication interfaces (Profibus, Modbus), and perform in-depth diagnostics of non-standard system malfunctions.

  - Certified Engineer – a specialist who has officially completed authorized training from the equipment manufacturer and holds a valid certificate issued by Emerson confirming the competence to perform Ovation system configuration, programming, maintenance and database management according to the official manufacturer's standards.

  - A certified expert engineer - a highly qualified specialist capable of designing control system architecture, performing system migration and upgrades, programming and commissioning critical power plant components (such as protection and control systems), and resolving complex network and cybersecurity issues.

  - Urgent services – emergency services are provided in a more urgent manner.

- CHARACTERISTICS AND SCOPE OF THE OBJECT OF PROCUREMENT

  - DCS system services (DCS system services).

  - Service quantities are provided in the table below.

Table 1

| No. | Title of service (or equivalent services) | Unit of measure |  | Preliminary quantity1 during the validity period of the Contract |
| --- | --- | --- | --- | --- |
| Service package for the second half of 2026 (6 months): |  |  |  |  |
| 1. | - Ovation Product Support - Local Assistance - PWCS Support (only remote support). - Emergency on site described at Technical specification 3.1 in 48h - Spare Parts Management | pcs. |  | 1 |
| Service package for 2027 (12 months): |  |  |  |  |
| 2. | - Ovation Product Support (GSC) - Local Assistance - PWCS Support (remote support + PWCS licenses) - Emergency on site described at Technical specification 3.1 in 48h - Spare Parts Management - Preventive Maintenance Visit (1 time for 3 days) | pcs. |  | 1 |
| Service package for 2028 (12 months): |  |  |  |  |
| 3. | - Ovation Product Support (GSC) - Local Assistance - PWCS Support (remote support + PWCS licenses) - Emergency on site described at Technical specification 3.1 in 48h - Spare Parts Management - Preventive Maintenance Visit (1 time for 3 days) | pcs |  | 1 |
| Additional specialist (engineering) services |  |  |  |  |
| 4. | Emerson Ovation DCS certified engineer services. | hours |  | 160 |
| 5. | Emerson Ovation DCS Certified Expert Engineer services. | hours |  | 40 |
| 6. | Emerson Ovation DCS certified engineer services (overtime). | hours |  | 25 |
| 7. | Emerson Ovation DCS Certified Expert Engineer services (overtime). | hours |  | 25 |
| 8. | Travel time (by a certified engineer). | hours |  | 40 |
| 9. | Travel time (expert engineer). | hours |  | 40 |
| Spare parts |  |  |  |  |
| No. | Part name (or equivalent) | Part number (or equivalent) | Units of measurement | Preliminary Quantity of Goods for the duration of the Contract |
| 10. | Emerson Ovation Profibus DP interface electronics module | 5X00300G02 | pcs. | 1 |
| 11. | Emerson Ovation Profibus DP interface personality module Emerson Ovation Profibus DP interface personality module). | 5X00321G01 | pcs. | 1 |
| 12. | Emerson Ovation 16 channel enhanced events input (24V differential w/wire break detection) electronics module. | 5X00357G02 | pcs. | 1 |
| 13. | Emerson Ovation individual fused personality module (Emerson Ovation fuse module). | 5X00034G01 | pcs. | 1 |
| 14. | Emerson Ovation digital output high side (24 VDC) electronics module (16 Channel). | 5X00270G01 | pcs. | 1 |
| 15. | Emerson Ovation digital output high side (24 VDC) personality module (16 Channel). | 5X00273G01 | pcs. | 1 |
| 16. | Emerson Ovation 4-20mA HART high performance analog input electronics module. | 5X00106G02 | pcs. | 1 |
| 17. | Emerson Ovation 4-20mA HART high performance analogue input personality module. | 5X00109G02 | pcs. | 1 |
| 18. | Emerson Ovation HART high performance analogue output electronics module. | 5X00167G01 | pcs. | 1 |
| 19. | Cisco router ISR4321-K9 (Cisco router). | 1X00474G12 | pcs. | 1 |
| 20. | ETHERWAN MEDIA CONVERTER, DIN RAIL MOUNTED, 24VDC, MULTI-MODE, ST CONNECTOR, REV 3 DESIGN | 1X00484H10 | pcs. | 1 |
| 21. | CISCO INDUSTRIAL ETHERNET 2000 SERIES SWITCH, BASE SWITCH CONFIGURATION (W/ 1X00952H15) | 1X00952G297 | pcs. | 1 |

Description of the object of the procurement

  - The Provider will be required to provide maintenance services for the DCS system during the performance of the Contract, consisting of:

    - Expert support (consultation) by phone for Emerson Ovation DCS. This service should provide access to Emerson Ovation DCS certified engineers by telephone so that they can provide immediate assistance on the matter at hand, i.e. within 2 hours of the call. Consultations should be provided on the following matters:

      - Emerson Ovation DCS system troubleshooting;

      - Explanation or clarification of Emerson Ovation DCS features;

      - General help with finding technical information;

      - Advice, instructions or recommendations, which may be based on general knowledge of the control system.

    - Emerson Ovation DCS remote diagnostics ("Remote Desktop Connection"). The remote system diagnostic service should be based on a secure connection to the Customer's system, and therefore the Certified Engineer shall have access to the system as if physically in front of the system ("Remote Desktop Connection"). The remote connection shall be secured by a secure VPN protocol that can be set up as a permanent connection or on demand. The connection to the Provider’s VPN Server shall be initiated by the Customer, giving a control of its system.

    - Access to the "www.ovationusers.com" system environment for the duration of the Contract. The Customer shall be provided with an extended user account (ID) at www.ovationusers.com. The following benefits and features shall be available through this service:

      - Download system documentation online at no extra cost.

      - Emerson Ovation system problem reports and solutions.

      - A discussion area where questions to Emerson's technical experts can be posted in case of emergencies.

      - Technical advice from Emerson product development specialists.

      - Access to the latest patches for tested antivirus software.

      - Information about the latest Emerson Ovation software fixes.

    - Emerson Ovation Guardian support service. Ovation Guardian shall be a web page that displays data specific to the Customer. It shall contain data relevant to the Customer's system:

      - Online repair tracking status of returned Ovation system components for repair.

      - Online access to the status and history of incidents reported by the Customer.

      - Information on system configuration, installed components, operating systems.

      - 24/7/365 access to integrated global factory support to help mitigate risks and resolve system issues.

      - Regular access to the latest Ovation software platforms (software updates).

      - Automated lifecycle management of the entire system inventory.

      - Microsoft O/S cyber security management.

      - Automated alerts that identify specific actions needed to maintain the system or ensure reliability.

      - single portal where all relevant information about the system in operation can be found.

    - Emerson Ovation DCS system analyses, comprehensive annual report.

    - Ensuring delivery and deployment of Emerson Ovation DCS system updates;

    - Support and development of the Emerson PWCS (Power and Water Cybersecurity Suite). The Power & Water Cybersecurity Suite Support Module is an extension of the Emerson Ovation package. This includes access to technical support for all PWCS components and updates to the PWCS software content approved by Emerson. Updates include:

      - Patch Management Content Updates (Security Patches);

      - Updates to the AC (whitelisting) policy;

      - Antivirus signature updates;

      - The PWCS Support Module also includes the renewal of any required third-party licences (if applicable) and access to newer minor software updates for PWCS components on the current PWCS platform. These new minor updates can be installed by Emerson PWCS experts during PWCS maintenance visits.

      - PWCS support shall cover all PWCS components installed in the Customer's factory:

        - Antivirus.

        - Patch Management.

        - Application Control (AC).

    - Emerson Ovation DCS on-site maintenance. As part of the provision of these services, the Provider shall assign a certified engineer to carry out scheduled on-site maintenance visits to the Customer's Ovation system covered by this agreement at the Customer’s place, described in 3.1 clause of Technical specification. One (1) on-site maintenance visit, totaling three (3) working days of eight (8) working hours each, shall be performed once per year. The service shall include travel time for the Provider's engineer and travel and subsistence expenses to the Customer. The list and type of activities to be carried out will be mutually agreed prior to the engineer's arrival on site. The timing and duration of the visit shall be agreed with the Customer at least four weeks before the visit.

    - Rapid on-site response to emergency breakdowns. The on-site emergency response at Customers place described in Technical specification point No. 3.1 service shall cover only the preparation for the arrival at the time of an emergency breakdown, while the arrival itself and the hours worked by the technician shall be charged according to the rates specified in the Contract. This service shall be used with the assistance of a certified engineer if the remedial action required to resolve the problem affecting the operation of the Ovation system cannot be adequately determined by telephone or remote diagnostics. Terms of Service:

      - Rapid on-site response to emergency breakdowns shall be available 24/7;

      - The Provider's engineer shall arrive on site within 48 hours. This time shall be calculated from the Customer’s written request/confirmation (by email) until the arrival of the engineer at the location described in Technical specification point No. 3.1.

      - The Provider's engineer shall be assigned to provide technical support for the repair of hardware component failures (where possible) and software configurations when the system is not working or behaving as expected. The engineer shall be sent to the site on an emergency basis. The service is not intended for ongoing engineering upgrades or software development.

      - Emergency response must be designed to ensure the safety and reliability of the Customer's system.

  - The Provider shall be required to provide additional specialist (engineering) services (rows 4 to 10 of Table 1), i.e. services not covered by the Service Packages listed in rows 1 to 3 of Table 1, but necessary for the operation and development of the DSC System, on a Customer-by-Customer basis.

  - The Provider shall be required to supply spare parts on the basis of individual orders from the Customer (rows 10-21 of Table 1).

  - The scope of the Customer’s existing Emerson Ovation DCS system:

    - Emerson Ovation version - 3.6;

    - The number of Emerson Ovation controllers – 7;

    - The number of Emerson Ovation stations – 8;

    - The number of Emerson Ovation PWCS – 1.

  - General Emerson Ovation DCS Service Requirements:

    - Telephone service support should be available 24/7 on a dedicated telephone number, in English or Lithuanian;

    - Remote system diagnostics should be available 24/7;

    - The response time for incidents reported to the helpdesk should be 1 hour from the time the incident is reported by phone. Response is defined as the start of the incident resolution procedure;

    - Preparation and presentation of an annual report once a year;

    - The Provider shall be required to perform periodic backups and upgrades of the Emerson Ovation DCS system software;

    - All security updates to the Emerson Ovation DCS system software should be tested and approved in the Emerson Ovation DCS software environment;

    - All software updates for the Emerson Ovation DCS system should be supplied directly from the manufacturer of the system;

    - The Customer should be provided with the Emerson Ovation DCS system hardware and software documentation;

    - Documentation of software patches shall be provided to the Customer;

    - The Provider should be able to carry out a cybersecurity analysis, assess all critical points, provide a cybersecurity report and make recommendations to strengthen cybersecurity;

    - The Provider should be able to appoint an engineer who can visit the Customer within 48 hours of the Customer's PO to ensure smooth operation of the system;

    - The Provider should have the capability to repair Emerson Ovatio DCS components;

    - The Provider should be able to provide training on the Distributed Management System to the Customer's staff at agreed times, if required and requested by the Customer.

  - Description of the Customer’s responsibilities:

    - The Customer shall appoint staff to be the main contact persons for questions.

    - The Customer shall provide communication access (telephone line or VPN connection) for remote diagnostics of the system;

    - The Customer shall grant the Provider's key employees access to the DCS system and permissions during business hours.

    - The Customer's engineers knowledgeable in the manufacturing process in an attempt to resolve problems shall be designated for the Provider.

    - Provide on-the-job safety training - briefings as required and/or requested by the Provider.

    - Provide access to the system upgrades necessary to provide the Services.

- PLACE, PROCEDURE, AND TERMS OF SERVICE PROVISION

  - The Services shall be provided at and the Goods delivered to UAB Kauno kogeneracinė jėgainė, Jėgainės g. 6, Biruliškių km. Karmėlava sen. LT-54469, Kaunas district, during the Customer’s business hours (I-IV 7.30-16.30, V 7.30-15.15 (unless otherwise specified in the Order).

  - Depending on their nature, services may also be provided by remote means, i.e. by telephone, online means (e.g. MS Teams, Remote Desktop Connection, etc.).

  - The services specified in rows 1 to 3 of Table 1 in clause 2.2 of the Technical Specification shall be provided from the date of the submission of the Order to the Provider and shall be provided for the periods specified in Table 1 and within the time limits specified in sub-clauses 2.3 and 2.7 of Clause 2.3 and 2.7 of the Technical Specification.

  - The Services referred to in Clause 2.4 of the Technical Specification shall be provided under separate agreements depending on the scope of the Services to be ordered, but not later than within 30 (thirty) calendar days days from the date of the submission of the Order to the Provider.

  - The Goods shall be delivered within 60 (sixty) calendar days from the date of placing the Order with the Provider at the latest.

  - Documents accompanying the services and/or goods provided:

    - A deed of acceptance – transfer of the Services and/or Goods; description of the services;

    - A Service Report to be submitted by the Provider in digital format.

- OTHER REQUIREMENTS

  - Defects in the Services and/or the result of the Services and defects in the Goods shall be deemed to be non-conformities with the requirements of the Technical Specification and legal acts governing the quality of the Services and/or the Goods.

  - The Customer shall have the right to apply to the Provider for fixing defects in the Services, Goods and/or the result of the Services within 30 (thirty) calendar days at the latest days from the date of signing of a deed of transfer - acceptance of the Services and/or Goods or the date of recording of the defects.

  - A period of not more than 30 (thirty) calendar days shall be set to remedy any deficiencies in all the Services indicated in Table 1 and/or the results thereof.

  - The time limit for fixing defects in the quality of the Goods shall not exceed 60 (sixty) calendar days.

  - In the case of emergency services, a maximum of 5 (five) business days shall be allowed to fix any deficiencies identified.

  - The Goods shall be covered by the manufacturer's warranty; however, in any case, the warranty period shall not be less than 1 (one) year from the date of signing the Goods delivery and acceptance certificate.

  - The Customer shall pay the Provider for actually provided quality Services and/ or delivered Goods within 30 (thirty) days from the date of signing a deed of acceptance – transfer of Services and/or Goods and receipt of an Invoice.

  - Payments for the service packages specified in rows 1 to 3 of Table 1 shall be made in quarterly installments, with each quarterly payment due within 30 (thirty) calendar days from the date of submission of the invoice.

The total price of such Related Services shall not exceed 10% of the initial Contract value.