{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":4,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
[]
["Pirkimas: Reagentai Cl. difficile DNR tyrimams atlikti sistemai GeneXpert"]
["TECHNINĖ SPECIFIKACIJA"]
[]
["Nr.","Pavadinimas","Kiekis"]
[]
["1.1.","Reagentai C. difficile DNR nustatymui Genexpert IV sistema","950","tyr."]
["1.1.1.","kokybinis tyrimas skirtas greitam C. difficile tcdB, cdt ir tedC geno 117 pozicijos nukleotido delecijos nustatymui"]
["1.1.2.","mėginys - išmatos"]
["1.1.3.","tyrimo atlikimo laikas ne daugiau 60 min. "]
["1.1.4.","tyrimo jautrumas ne mažiau kaip 95 proc. "]
["1.1.5.","tyrimo specifiškumas ne mažiau kaip 95 proc. "]