TECHNICAL SPECIFICATION

- DEFINITIONS AND ABBREVIATIONS

1.1. Buyer, Customer - AB “Amber Grid”.

1.2. Supplier - an economic entity - natural person, private legal person, public legal person, other organisations and their subdivisions or a group of such persons, with which the Customer enters into an Agreement.

1.3. Agreement - the Agreement concluded between the Provider and the Customer in relation to the Procurement object.

1.4. Service - Conformity assessment of trunk gas pipeline connecting parts.

- PROCUREMENT OBJECT, QUANTITIES (VOLUMES) AND A DETAILED DESCRIPTION OF THE PROCUREMENT OBJECT

2.1. Procurement object - to establish procedures for the selection and marking of the Connecting parts and the conformity of the marking on the Connecting parts with the marking specified in the certificates and the conformity assessment procedures that will allow the assessment of the conformity of the Connecting parts with the certificates, that is, the conformity of the Connecting parts with the essential requirements of the GIPL TP for operation at the specified working pressure, to be carried out by the Service provider in accordance with the Procedure for Conformity Assessment of the Marking of the Connecting Parts of the GIPL Pipeline (hereinafter - the Procedure) (Annex 1).

2.2. The Service provider will need to be able to analyse the Customer's certificates for the Connecting parts, the actual markings of the Connecting parts, the technical and working designs of the pipeline and other documents.

2.3. The Service provider and the specialists it will use to provide the services will have to meet the qualification requirements of the procurement.

  - The Service provider will be required to visit the site on an as-needed basis to assess the Connecting parts in accordance with the Procedure.

  - The Service provider will be required to analyse the documentation provided by the Customer by email or otherwise within the specified time period, and to carry out the other necessary actions specified in the Procedure.

  - If required by the Service provider for the actual marking of the Connecting parts and assessment of the physical and chemical parameters, the unearthing, removal of the insulation and paint, and the post-assessment insulation, painting and burying of the pipeline will be carried out by the Customer.

  - The Agreement with the Service provider will be concluded only after the signing of the Agreement and the performance of the services have been approved by the National Energy Regulatory Council.

- PLACE OF PERFORMANCE OF CONTRACTUAL OBLIGATIONS

☐ Maksvytiškiai village, Verslo str. 11, Panevėžys district;

☐ Širvintos District Municipality, Širvintos eldership, Lipuvkos vs. 3;

☒ Other (All Lithuania);

☒ Services are provided remotely.

- GREEN PUBLIC PROCUREMENT (HEREINAFTER - GPP) REQUIREMENTS

  - The Agreement is subject to Green Public Procurement (GPP) requirements:

    - During the public procurement and the performance of the Agreement, communication between the Service provider and the Buyer will be carried out exclusively by electronic means (CPP IS, telephone, e-mail, etc.);

    - All documentation relating to the performance of the Agreement shall be provided to the Buyer and the Service provider by electronic means (email or otherwise);

    - The Agreement will be signed only by electronic means (electronic signature);

    - The Service provider undertakes to reduce the use of paper, to avoid unnecessary copying and printing of documents, and, if stationery is used, to use recycled or recyclable materials.

- PROCEDURES AND DEADLINES FOR FULFILLING CONTRACTUAL OBLIGATIONS

  - Services shall commence immediately upon signature of the Agreement. The list of the Customer's responsible persons will be agreed with the Service provider by email after the signature of the Agreement.

  - The Service provider shall submit the schedule for works to be carried out for coordination within 10 calendar days of the date of signature of the Agreement.

  - The team leader appointed by the Service provider shall hold a kick-off meeting with the Customer's representatives within 5 calendar days after the date of signature of the Agreement, to present the planned progress of the evaluation of the Connecting parts and to discuss any other issues related to the provision of services.

  - The Service provider will be responsible for ensuring that all Services are provided in a good and timely manner.

  - Correspondence between the Customer and the Service provider's contact persons shall be by e-mail. The Customer's and Service provider's contact persons are obliged to provide the above confirmations (reply that the information has been received) within 1 working day of receiving the information. If no confirmation is received within the specified time limit, the information will be deemed to have been received. In case of questions, the contact persons of the Customer and the Service provider may communicate by other means of communication.

  - At least twice a month, the Service provider shall, in agreement with the Customer, organise a meeting with the Customer on the progress and results of the interim assessment of the Connecting parts. The meeting may be conducted remotely or at the Customer's premises.

  - In the event that the Service provider, in order to assess the conformity of the Connecting parts in accordance with the Procedure, needs to contact the Contractor, the Designer or the manufacturer of the Connecting parts for additional documentation, information and explanations, or to carry out non-destructive testing of the Connecting parts, the assessment time limits may, at the Service provider's motivated request, be extended by written agreement between the parties, but not exceeding a period of 3 months.

  - The Service provider shall perform all works (services) on the natural gas transmission system facility or its protection zone only under the supervision of representatives of AB “Amber Grid”.

  - The Service provider shall carry out and submit to the Customer the assessment of the Connecting parts in accordance with the Procedure within 6 months after the signing of the Agreement, in digital form and in an editable format. The Customer will evaluate the assessment submitted by the Service provider within 14 calendar days.

  - Following the Customer's initial assessment of the Connecting parts, the final assessment of the Connecting parts shall be carried out by the Expert and submitted to the Customer within 14 calendar days.

  - After the final assessment of the Connecting parts has been prepared and submitted to the Customer and the National Pricing and Energy Regulatory Council, the Service provider shall arrange for the presentation of the results of the assessment of the Connecting Pieces, either remotely or at the Customer's premises, to the Customer and the National Pricing and Energy Regulatory Council no later than within 7 calendar days.

- DOCUMENTATION PROVIDED DURING THE PERFORMANCE OF THE AGREEMENT

  - Certificates (digital copies) for GIPL gas pipeline Connecting parts.

  - GIPL gas pipeline technical and working designs (as required).

6.2. Other documents required for the assessment of conformity of the marking of the Connecting parts of the GIPL trunk gas pipeline in accordance with the Procedure.

6.3. The Customer shall sign the transfer-acceptance act no later than within 5 working days from the date of submission of the final conclusions, which have been approved by the National Pricing and Energy Regulatory Council.

7. ANNEXES

7.1. Annex No.1 “Procedure for Assessing Conformity of Marking of GIPL Trunk Gas Pipeline Connecting Parts”.

____________________________