## Lapas1
2-os pirkimų dalies "Simatic atsarginės dalys" specifikacijos 1 priedas
[6 empty] | Pildo tiekėjas |  |  | Pildo tiekėjas | Pildo tiekėjas
Eilės nr. | Keičiamos detalės užsakymo kodas | Prekės tipas | Keičiamos detalės aprašymas | Pastabos | Pleliminarus kiekis, vnt. | Vieneto kaina, Eurai be PVM | Kaina iš viso, Eurų be PVM | Prekės tiekimo terminas, ne ilgiau nei | Tiekėjo siūlomos prekės modelis | Tiekėjo siūlomos prekės charakteristikos, gamintojas
1 | 6GK7343-1EX30-0XE0 | Ryšių modulis | Communications processor CP 343-1 for connection of SIMATIC S7-300 to Industrial Ethernet via ISO and TCP/IP, PROFINET IO controller or PROFINET IO device, integrated 2-port switch ERTEC 200, S7 communication, fetch/write, SEND/RECEIVE RFC1006, multicast, DHCP, NTC- CPU sync, with and without diagnostics, initialization via LAN, 2x RJ45 connection for LAN with 10/100 Mbit/s. |  | 5 |  | 0 | 7 savaitės
2 | 6GK7277-1AA10-0AA0 | Ryšių modulis | Compact Switch Module CSM 1277 for connecting SIMATIC S7-1200 and up to 3 further nodes to Industrial Ethernet with 10/100 Mbit/s; unmanaged switch, 4 RJ45 ports, ext. 24 V DC power supply LED diagnostics, S7-1200 module incl. electronic Equipment Manual on CD-ROM. | 6GK7277-1AA00-0AA0 pakeitimui | 10 |  | 0 | 7 savaitės
3 | 6ES7307-1KA02-0AA0 | Elektros maitinimo modulis | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V / 10 A DC | 6ES7307-1KA02-0AA0 pakeitimui | 1 |  | 0 | 7 savaitės
4 | 6ES7321-1BH02-0AA0 | Diskretinių signalų modulis | SIMATIC S7-300, Digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole |  | 1 |  | 0 | 2 savaitės
5 | 6ES7365-0BA01-0AA0 | Ryšių modulis | SIMATIC S7-300, Connection IM 365 for connection of an extension rack without C bus, 2 modules+ connecting cable 1 m |  | 1 |  | 0 | 2 savaitės
6 | 6ES7340-1AH02-0AE0 | Ryšių modulis | SIMATIC S7-300, CP 340 Communications processor with RS232C interface (RS-232-C) incl. configuration package on CD |  | 1 |  | 0 | 2 savaitės
7 | 6ES7322-1BH01-0AA0 | Diskretinių signalų modulis | SIMATIC S7-300, Digital output SM 322, isolated, 16 DO, 24 V DC, 0.5A, 1x 20-pole, Total current 4 A/group (8 A/module) |  | 1 |  | 0 | 2 savaitės
8 | 6ES7312-1AE14-0AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIMATIC S7-300, CPU 312 Central processing unit with MPI, Integr. power supply 24 V DC, Work memory 32 KB, Micro Memory Card required |  | 1 |  | 0 | 1 savaitą
9 | 6ES7314-1AG14-0AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIMATIC S7-300, CPU 314 Central processing unit with MPI, Integr. power supply 24 V DC, work memory 128 KB, Micro Memory Card required |  | 1 |  | 0 | 1 savaitą
10 | 6AG1321-1BH02-2AA0 | Diskretinių signalų modulis | SIPLUS S7-300 SM 321 20-pole based on 6ES7321-1BH02-0AA0 with conformal coating, -40…+70 °C, digital input isolated 16 DI, 24 V DC, 1x 20-pole | 6ES7321-1BH01-0AA0 pakeitimui | 1 |  | 0 | 7 savaitės
11 | 6AG1315-2EH14-7AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIPLUS S7-300 CPU 315-2PN/DP based on 6ES7315-2EH14-0AB0 with conformal coating, -25…+70 °C, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required |  | 1 |  | 0 | 7 savaitės
12 | 6AG1315-2AH14-7AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIPLUS S7-300 CPU 315-2DP based on 6ES7315-2AH14-0AB0 with conformal coating, -25…+70 °C, central processing unit with MPI integrated power supply 24 V DC work memory 256 KB 2nd interface DP master/ slave Micro Memory Card required |  | 1 |  | 0 | 7 savaitės
13 | 6AG1321-1BL00-2AA0 | Diskretinių signalų modulis | SIPLUS S7-300 SM 321 40-pole based on 6ES7321-1BL00-0AA0 with conformal coating, -40…+70 °C, digital input isolated 32 DI, 24 V DC, 1x 40-pole |  | 1 |  | 0 | 7 savaitės
14 | 6AG1343-1EX30-7XE0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIPLUS NET CP 343-1 based on 6GK7343-1EX30-0XE0 with conformal coating, -25…+70 °C, communications processor for connection of SIMATIC S7-300 to Industrial Ethernet via ISO and TCP/IP, PROFINET IO controller or PROFINET IO device, integrated 2-port switch ERTEC 200 S7 communication, fetch/write, send/receive with and without RFC1006, multicast DHCP, NTC-CPU sync, diagnostics, initialization via LAN, |  | 1 |  | 0 | 7 savaitės
15 | 6AG1342-5DA03-7XE0 | Ryšių modulis | SIPLUS NET CP 342-5 PROFIBUS based on 6GK7342-5DA03-0XE0 with conformal coating, -25…+70 °C, communications processor CP 342-5 for connecting SIMATIC S7-300 to PROFIBUS, DP, S5-compatible, PG/OP and S7 communication |  | 1 |  | 0 | 7 savaitės
16 | 6ES7953-8LJ31-0AA0 | Atminties kortelė | SIMATIC S7, Micro Memory Card for S7-300/C7/ET 200, 3, 3V Nflash, 512 KB | 6ES7953-8LJ20-0AA0 pakeitimui | 1 |  | 0 | 3 savaitės
17 | 6AG1340-1CH02-2AE0 | Ryšių modulis | SIPLUS S7-300 CP 340 RS-422/485 based on 6ES7340-1CH02-0AE0 with conformal coating, -25…+60 °C, communications processor with RS-422/485 interface incl. configuration package on CD-ROM |  | 1 |  | 0 | 7 savaitės
18 | 6AG1331-1KF02-7AB0 | Analoginių signalų modulis | SIPLUS S7-300 SM 331 8AI based on 6ES7331-1KF02-0AB0 with conformal coating, -25…+70 °C, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole |  | 1 |  | 0 | 7 savaitės
19 | 6ES7340-1CH02-0AE0 | Ryšių modulis | SIMATIC S7-300, CP 340 Communications processor with RS 422/485 interface incl. configuration package on CD | 6ES7340-1CH00-0AE0 pakeitimui | 4 |  | 0 | 1 savaitą
20 | 6ES7331-1KF02-0AB0 | Analoginių signalų modulis | SIMATIC S7-300, Analog input SM 331, Isolated 8 AI, resolution 13 bits U/I/resistor/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | 6ES7331-1KF01-0AB0 pakeitimui | 8 |  | 0 | 2 savaitės
21 | 6ES7331-7KF02-0AB0 | Analoginių signalų modulis | SIMATIC S7-300, Analog input SM 331, isolated, 8 AI, Resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole Removing/inserting with active backplane bus | 6ES7331-7KF01-0AB0 pakeitimui | 23 |  | 0 | 2 savaitės
22 | 6ES7151-1AA06-0AB0 | Ryšių modulis | SIMATIC DP, interface module IM 151-1 Standard for ET 200S; incl. termination module data volume of 244 bytes each for inputs and outputs; max. 63 I/O modules PROFIBUS DP V0 and V1 up to 2 m width can be connected; bus connection via 9-pin D-sub | 6ES7151-1AA05-0AB0 pakeitimui | 3 |  | 0 | 2 savaitės
23 | 6ES7315-2AH14-0AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIMATIC S7-300, CPU 315-2DP Central processing unit with MPI Integr. power supply 24 V DC Work memory 256 KB 2nd interface DP master/slave Micro Memory Card required | 6ES7315-2AG10-0AB0 pakeitimui | 1 |  | 0 | 2 savaitės
24 | 6ES7134-4GB01-0AB0 | Analoginių signalų modulis | SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) |  | 2 |  | 0 | 2 savaitės
25 | 6ES7131-4BD01-0AA0 | Diskretinių signalų modulis | SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit |  | 2 |  | 0 | 2 savaitės
26 | 6ES7132-4BD02-0AA0 | Diskretinių signalų modulis | SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit |  | 2 |  | 0 | 2 savaitės
27 | 6ES7 153-1AA03-0XB0 | Ryšių modulis | SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules |  | 1 |  | 0 | 2 savaitės
28 | 6ES7 135-4GB01-0AB0 | Analoginių signalų modulis | SIMATIC DP, Electronics module for ET 200S, 2 AO I 15 mm width, +/-20mA; 13 bit+sign, 4..20mA; 13 bit Cycle time less than 1 ms with SF LED (group fault) |  | 2 |  | 0 | 2 savaitės
29 | 6ES7414-3EM06-0AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIMATIC S7-400, CPU 414-3 PN/DP Central processing unit with: work memory 4 MB, (2 MB code, 2 MB data), Interfaces: 1st interface MPI/DP 12 Mbit/s, (X1), 2nd interface Ethernet/PROFINET (X5), 3rd interface IF 964-DP plug-in (IF1) |  | 1 |  | 0 | 2 savaitės
30 | 6ES7131-4BF00-0AA0 | Diskretinių signalų modulis | Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit |  | 2 |  | 0 | 2 savaitės
31 | 6ES7132-4HB01-0AB0 | Diskretinių signalų modulis | SIMATIC DP, 5 electronic modules for ET 200S, 2 DO relay 24 V DC-230 V AC/5 A, 15 mm width, Substitute value output with LED SF (group fault) 5 units per packing unit |  | 2 |  | 0 | 2 savaitės
32 | 6ES7 315-2EH14-0AB0 | Programuojamojo loginio valdiklio (PLV) centrinis procesorius | SIMATIC S7-300 CPU 315-2 PN/DP, Central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbit/s, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required |  | 1 |  | 0 | 2 savaitės
|  |  | 2-a pirkimo dalis. "Simatic atsarginės dalys" | Bendra pasiūlymo kaina pasiūlymų palyginimu, Eur be PVM |  |  | 0
|  |  |  | PVM |  |  | 0
|  |  |  | Bendra pasiūlymo kaina pasiūlymų palyginimui, Eur su PVM |  |  | 0